ANTARES-4  METADATA (updated 29.4.02)

1.  PROJECT TITLE:  Iron Distribution and Iron/Nutrient-Addition Experiments in the Indian Sector of the Southern Ocean

2.  NAME OF PRINCIPAL INVESTIGATOR:  Peter Sedwick

2.1  Address:	Bermuda Biological Station for Research

Ferry Reach

St. George’s

Bermuda GE01

2.2	Phone number:	 (1 441) 297-1880 ext 311

2.3	Fax number:	(1 441) 297-8143

2.4	Email address:	  psedwick@bbsr.edu

3.  BRIEF DESCRIPTION OF PROJECT

This investigation was carried out during the Antares-4 expedition in the region between 42-47°S latitude and 60-66°E longitude.  It forms part of the French Joint Global Ocean Flux Study (JGOFS) research, as well as a broader France-Australia collaboration within the Southern Ocean JGOFS program.  The project has two parts:

measurement of dissolved (<0.4 µm) and total-dissolvable iron in the upper water column of the study region, including an intercomparison of sampling and analytical methods in collaboration with Stéphane Blain and Eva Bucciarelli (Université de Bretagne Occidentale); and

shipboard iron- and nutrient-addition bottle-incubation experiments designed to examine the sufficiency of ambient iron, silicic acid and nitrate concentrations for phytoplankton growth within the study region, performed in collaboration with Stéphane Blain (Université de Bretagne Occidentale), Brian Griffiths (CSIRO), Bernard Quéguiner (Université de Marseille), Michel Fiala (OSU Banyuls), Michel Denis (Université de Marseille), and others.

4.  TITLES OF ANTICIPATED PUBLICATIONS

Sedwick et al., “Resource limitation of phytoplankton growth in the Crozet Basin, Subantarctic Southern Ocean”, Deep-Sea Research II, in press.

Blain et al., “Quantification of algal iron requirements in the Subantarctic Southern Ocean (Indian sector)”,  Deep-Sea Research II, in press.

Sedwick and Blain, “Iron distribution in the Australian and Indian sectors of the Subantarctic Southern Ocean: Inputs from Continental Shelves and Island Platforms”, manuscript in prep. for submission to Marine Chemistry.

5.  DESCRIPTION OF DATA

5.1  What did you measure and how did you do it (include references for analytical methods)?

Iron measurements were made in Hobart, Australia, following Sedwick et al. (2000) and in Brest following (bucciarelli et al. 2001).  In addition, chemical and biological measurements were made as part of the incubation experiments by collaborators following analytical protocols detailed in their individual cruise reports (e.g., nutrients, chlorophyll, primary production).  The experimental methods and results are presented in Sedwick et al. (in press) and Blain et al. (in press).

5.2  Sampling strategy.

Water column samples for iron were collected using trace-metal clean techniques using custom-built CSIRO-Helmond bottles on a Superbraid line (5 stations) or Go-Flo bottles on a Kevlar line (1 station), taken at depths of 15, 30, 45, 75, 150 and 300 m.  Clean water for the incubation experments was collected from ca. 20 m depth using a teflon-diaphragm pump and polyethylene tubing lowered on a Superbraid line.

5.3  Post-cruise data analysis/treatment required, and the time frame for this.

Iron measurements and data analysis were completed in late 2000.  Experimental results and data analysis from the incubation experiments were completed in early 2000.

5.4  Error estimates, precision and accuracy of the data?

FIA with colorimetric detection

As described in Sedwick et al. (2000), the dissolved iron analyses have an estimated analytical uncertainty of ~20% (at ≥ 0.3 nM Fe) to ~30% (at 0.1 nM Fe). The total-dissolvable iron analyses have an estimated analytical uncertainty of ~23% (at ≥ 1 nM Fe) to ~40% (at 0.2 nM Fe).  At present, no certified refrence materials are available for seawater within the relevant concentration range for iron (~0.05-0.5 nM), and the accuracy of the iron measurements have been evaluated from the consistency of the data with hydrographic measurements and existing Southern Ocean iron data.

FIA with chemiluminescence detection

As described by Bucciarelli et al. (2001), the precision was of 5 % for dissolved iron concentration bove 1nM and increases linearly to 30% around the detection limit. The detection limit (3 times the standard deviation on low iron seawater) was 0.11 nM.. the accuracy of the method was verified using NASS-4 certified reference material

6.  DATA DESCRIPTION

6.1  Data file name. Please use a sensible name including your name or the parameter measured, not "antares4" or such obvious non specific name.

SedwickAntares4FeData4/02

6.2  Explanation of headings, units used, and abbreviations in data file.  Abbreviations of sample types are foot-noted in the data base; other abbreviations for measured parameters are dFe (dissolved iron, in nM), TDFe (total-dissolvable iron, in nM).

6.3  Describe what data is required to allow you to complete your own data set for submission to the data base, and estimate when your data will be submitted to the data base.

None; data submitted April 2002.

7.  REFERENCES

P. N. Sedwick, G. R. DiTullio, and D. J. Mackey, Iron and manganese in the Ross Sea, Antarctica:  Seasonal iron limitation in Antarctic shelf waters, Journal of Geophysical Research, 105 (C5), 11,321-11,336, 2000.

P. N. Sedwick, S. Blain, B. Quéguiner, F. B. Griffiths, M. Fiala, E. Bucciarelli and M. Denis, Resource limitation of phytoplankton growth in the Crozet Basin, Subantarctic Southern Ocean, Deep-Sea Research II, 49, 3327-3349.

S. Blain, P. N. Sedwick, F. B. Griffiths, B. Quéguiner, E. Bucciarelli, M. Fiala, P. Pondaven, and P. Tréguer, Quantification of algal iron requirements in the Subantarctic Southern Ocean (indian sector), Deep-Sea Res. II, 49 3255-3275. 2002.

E. Bucciarelli, S. Blain, P. tréguer, iron and manganese in the wake of the Kerguelen islands (Southern Ocean). Marine Chemistry, 73, 21-36, 2001