Phytoplankton pigment results from the PROSOPE cruise

## Josephine Ras1, Hervé Claustre2 and Jean-Claude Marty3

Laboratoire de Physique et Chimie Marines

Quai de la Darse BP 08

06238 Villefranche sur Mer

France

Tel: +33 (0)4 93 76 37 29

Fax: +33 (0)4 93 76 37 39

1 : jras@obs-vlfr.fr

2 : claustre@obs-vlfr.fr

3 : marty@obs-vlfr.fr

## Sampling

Three types of sampling devices were used during the cruise (the codes correspond to the pigments file only):

- 12 l  rosette bottles (code: CTD samples).

- A diaphragm pump (code: PMP samples) collected water at different depths between CTD casts 10 and 11.

- During transit the outlet of the ship’s thermo-salinometer provided filtered water (200 µm) from a depth of 3 m (code: THERMO samples).

## Storage

Volumes ranging between 1 l and 5.6 l were collected, depending upon the concentration of particles. They were then filtered through 0.7 µm GF/F filters. These filters were either frozen in liquid nitrogen for analysis at the laboratory, or stored at -20°C until extraction and analysis on board (most samples collected at midday were stored in liquid nitrogen).

## Extraction and analysis

Extraction was done in 3 ml of methanol, according to the procedure described by Vidussi et al., 1996.

The HPLC system comprises

- a Hewlett Packard “Chemstation for LC” software (A.06.03)

- a Thermoquest Autosampler (AS 3000)

- a Hewlett Packard degasser (HP 1100)

- a Hewlett Packard binary pump (HP 1100)

- two detectors:

- A Hewlett Packard diode array detector (HP 1100) with measurements at 440 nm (for carotenoids and chlorophylls) and at 667 nm for pheopigments.

- A Thermoquest fluorimeter (AS 3000)

The analytical method, based on a gradient between a Methanol – Ammonium Acetate mixture (70:30) and a 100% Methanol solution (solvent A and solvent B respectively), is similar to that described by Vidussi et al. (1996). Nevertheless, there have been some modifications to this method in order to separate certain peaks and increase sensitivity:

- Flow rate = 0.5 ml/min

- Reverse phase chromatographic column (RP-C8), internal diameter: 3 mm (Reference: Hypersil MOS.3µm)

- Gradient (minutes; % solvent A; % solvent B) : (0; 80; 20), (4; 50; 50), (18; 0; 100), (22; 0; 100).

## Description of the data

- Column 2: Times are given in Universal Time (U.T)

- Column 3: Local Time is equal to the U.T. plus the figure given in this column.

- Station (Column 6) : see map

This column indicates the geographical situation of the sample

UPW#1 to UPW#4: Moroccan upwelling (long station)

MIO#1 to MIO#5: Ionian Sea (long station)

DYF#1 to DYF#5: DyFAMed site (long station)

ST#1 toST#9: short stations

- Column 7: CTD number, THERMO number or PMP number.

- Column 8: Bottle number (for CTD samples).

- Column 9: Sampling depths in metres.

- Flags (Column 10): This column indicates the analytical conditions, in particular concerning the configuration of the automatic sampler. Three cases are found:

- Thalassa : analysis at sea

- LABO1 : laboratory analysis 1

- LABO2 : laboratory analysis 2

For Thalassa and LABO1, a 250 µl preparation syringe was used. For LABO2, this was replaced by a 1 ml syringe, thus allowing an improvement of the detection limits of different pigments as compared to those for LABO1 and Thalassa (see Table 1):

Table 1: Detection limits (in mg.m-3) for different pigments according to the analytical conditions.

| ### Pigments | Thalassa and LABO1 | ### LABO2 |
| --- | --- | --- |
| Chlorophylls c | ~ 0.003 | ~ 0.001 |
| Carotenoids | ~ 0.002 | ~ 0.001 |
| Chlorophyll a | ~ 0.001 | < 0.001 |
| pheopigments | ~ 0.001 | ~ 0.001 |

Note that the detection of Chlorophylls c was not optimal for Thalassa and LABO1. Consequently, the concentrations of these compounds should only be considered as semi-quantitative.

# Calibration

Two calibrations were carried out according to the configuration of the automatic sampler. The first was applied to the Thalassa and LABO1 data (June 1999), the second to the LABO2 data (December 1999). These calibrations provided HPLC response factors for Peridinin, 19’-Butanoyloxyfucoxanthin, Fucoxanthin, 19’-Hexanoyloxyfucoxanthin, Alloxanthin, Zeaxanthin, Chlorophyll b and Chlorophyll a (standards provided by the International Agency for 14C Determination, Denmark).

The response factors for DV Chl a and DV Chl b were computed (i) knowing the specific extinction coefficients of Chl a (or Chl b), (ii) taking into account the absorption of Chl a and DV Chl a (or Chl b and DV Chl b) at 440 nm when the spectra of both pigments are normalised at their red maxima and (iii) considering that both pigments have the same molar absorption coefficient at this red maximum.

As for the remaining pigments, their specific extinction coefficients were either derived from previous calibrations or from literature (Jeffrey et al., 1997).

# Pigments

The following pigments, listed in the same order as their retention times, were identified spectrally and quantified in relation to the peak area. The concentrations are given in mg.m-3.

Mg-2,4 DVP	Mg 2,4- Divinyl Pheoporphyrin a5 monomethyl ester

Chl c-like1	Chlorophyll c –like:

Chl c3	Chlorophyll c3

Chl c1+c2	Chlorophyll c1+c21

Peri	Peridinin

19'-BF	19’-Butanoyloxyfucoxanthin

Fuco	Fucoxanthin

Prasino	Prasinoxanthin

19'-HF	19’-Hexanoyloxyfucoxanthin

Viola	Violaxanthin

Neo	Neoxanthin

Diadino	Diadinoxanthin

Allo	Alloxanthin

Diato	Diatoxanthin

Zea	Zeaxanthin

Lut	Lutein

Total Chl b	Sum of Chlorophyll b, Chlorophyll b-like and Divinyl Chlorophyll b 2

DV Chl a	Divinyl Chlorophyll a

Total Chl a allomers	Sum of Chlorophyll a allomers

Chl a	Chlorophyll a

Total Chl a epimers	Sum of Chlorophyll a epimers

a-Car	 Caroten

b-Car	 Caroten

Phide a	Pheophorbide a

1: Chl c1+c2: As Chlorophyll c1 and Chlorophyll c2 co-elute, they were first identified spectrally before being quantified then added up.

2: Total Chl b: As Chlorophyll b and Divinyl Chlorophyll b literally co-elute, they were first identified spectrally, then quantified with their respective extinction coefficients and finally added up.

- Remarks concerning the data processing:

- Use of internal standard (-apo-8’-carotenal): this allowed the pigment concentrations to be corrected relative to internal standard (IS) variations. A linear relationship was established between the uncorrected and the corrected values (excluding CTD002 data), and is characterised by the following equation:

y = 1.1218 x – 0.0097

with y : corrected concentrations and x : uncorrected concentrations

As CTD 002 data presented non-homogenous IS concentrations, its pigment concentrations were calculated by applying the above equation to the uncorrected concentrations.

- The fluorimeter being more sensitive than the DAD, a relationship between the two types of measurements was developed in order to provide chlorophyll a concentrations which were below the detection limits of the DAD 440 nm signal. The same procedure was carried out for the determination of Pheophorbide a concentrations

- In order to verify the order of the bottles, detect any analytical errors or confusions and validate the results, two comparisons were made:

- The Chlorophyll a + Divinyl Chlorophyll a concentrations were compared to absorbance measurements at 676 nm. These were performed, immediately after filtration, by a Li-Cor spectroradiometer (LI-1800) on the same filter as that used for pigment determination.

- The Chlorophyll a + Divinyl Chlorophyll a concentrations were compared to fluorescence values provided by the Chelsea fluorimeter mounted on the rosette.

- CTD 073 comprises results from both LABO1 conditions (bottles 7,13,15,17,21) and LABO2 conditions (bottles 1,3,5,9,11). CTD 069 also presents a composite between LABO2 (bottles 7,8,9,10,11,18,19,20,21) and LABO1 (bottle 16) results.

## References

Jeffrey S.W., Mantoura R.F.C. and Wright S.W., 1997. Phytoplankton pigments in oceanography: guidelines to modern methods. UNESCO publishing. 661 pp.

Vidussi F., Claustre H., Bustillos-Guzman J., Cailliau C. and Marty J.C., 1996. Determination of chlorophylls and carotenoids of marine phytoplankton: separation of chlorophyll a from divinyl-chlorophyll a and zeaxanthin from lutein. Journal of Plankton Research, 18(12), 2377-2382.