INSTRUMENT/METHOD ..... CTD sensors.. 	IDENTIFIER : (given by the data center)
NAME : SBE19	
 project:MTP II-MATER
Description of the main instruments/methods used at sea and in the laboratory during the project.
Examples : CTD, Current meter, salinometer, sediment trap, spectrometer ...

Laboratory (Owner of the instrument or who performs the method ):	
Laboratoire d’Océanographie Biologique et Ecologie du Plancton Marin (LOBEPM) 				 			

Address :		
Station Zoologique 
BP 28
06234 Villefranche sur mer	
Tel : 0493763816	Fax : 0493763834	
Email : Gorsky@ccrv.obs-vlfr.fr	
Contact Scientist :
Gabriel GORSKY
INSTRUMENT NAME (60) : SBE19	
MANUFACTURER (60) : SeaBird (http://www.seabird.com/)	
MANUFACTURING DATE (10) :	
SERIAL NUMBER (20) : CTD : S/N 1539, Fluorometer Chelsea 88/2615/123, Nephelometer Chelsea: 88/167	
DESCRIPTION  (240) : CTD, Fluorometer (E : 430 nm, R : 685 nm) and 
Nephelometer (E : 430 nm, R : 430 nm) probe	
	
TECHNICAL CHARACTERISTICS (240) :
See SBE for SBE9 probe characteristics (  http://www.seabird.com/  )
See Chelsea for Aquatracka Nephelometer & Fluorometer characteristics ( http://www.chelsea.co.uk / )	
COMMENTS (120) 
INSTRUMENT TYPE (circle the main type) :
In situ Sensor (default)	Transmitter/Receiver	On board recorder 
Drifter	Towed platform	Expendable sensor

OTHER ATTACHED EQUIPEMENT (in case of complex multi sensor:Paltform equipment) (10) :
DATE  (of updating this form) : 05-17-00

MEASURED PARAMETER 1	CALIBRATION DATE	CRUISES	COMMENTS	
Temperature S/N 1539	11-2-94		SBE Lab.	
	10-11-97		SBE Lab.	
	5-5-99		SBE Lab.	
	3-5-2000		SBE Lab.	

MEASURED PARAMETER 2	CALIBRATION DATE	CRUISES	COMMENTS	
Conductivity S/N 1539	11-2-94		SBE Lab.	
	10-11-97		SBE Lab.	
	5-5-99		SBE Lab.	
	3-5-2000		SBE Lab.	

MEASURED PARAMETER 3	CALIBRATION DATE	CRUISES	COMMENTS	
Pressure S/N 1539	11-2-94		SBE Lab.	
	10-11-97		SBE Lab.	
	5-5-99		SBE Lab.	
	3-5-2000		SBE Lab.	

MEASURED PARAMETER 4	CALIBRATION DATE	CRUISES	COMMENTS	
Nephelometer S/N 88/167	9-24-96		Chelsea Lab.	

MEASURED PARAMETER 5	CALIBRATION DATE	CRUISES	COMMENTS	
Fluorometer S/N 88/2615/123	1-5-95		Chelsea Lab.	
				
BIBLIOGRAPHICAL REFERENCES (METHODOLOGY) :