# PROSOPE flow cytometry data (SBR, Roscoff)

Responsible person : Dominique Marie (marie@sb-roscoff.fr)

Other scientits involved : Frédéric Partensky and Laurence Garczarek

Roscoff PROSOPE database management : Daniel Vaulot(vaulot@sb-roscoff.fr)

For protocols used : see

- Marie D., Simon N., Guillou, L., Partensky F. and Vaulot D. 2000. DNA, RNA analysis of phytoplankton by flow cytometry. In: Current Protocols in Cytometry. John Wiley & Sons, Inc.11.12.1-18 (Get reprint PDF)

- Marie D., Brussaard C., Partensky F. and Vaulot D. Flow cytometric analysis of phytoplankton, bacteria and viruses. 1999. In: Current Protocols in Cytometry. John Wiley & Sons, Inc. 11.11.1-11.11.15. (Get reprint PDF)

# Data description

# Populations

| Pro | Prochlorococcus |
| --- | --- |
| Syn | Synechococcus |
| Euk | Picoeucaryotes |
| Bact | Bacteria |
| VI | Virus de type I |
| VII | Virus de type II |

# Parameters for each population

| ml | Cell concentration per ml |
| --- | --- |
| Fit | Flag depending on the degree of merging into noise. If Fitting=2, the population is there but impossible to separate from the noise. If Fitting=1, the populations is close the noise, but it has been possible to estimate its actual concetration with a gaussian fit to the right part of the distribution |
| FSC | Forward scatter related to 0.95 um beads |
| SSC | Side scatter related to 0.95 um beads |
| FL1 | Green fluorescence related to 0.95 um beads (DNA for bact and viruses) |
| FL2 | Orange fluorescence related to 0.95 um beads (PE for cyanobacteria and cryptophytes) |
| FL3 | Red fluorescence related to 0.95 um beads (Chl) |

Other data

| FluoNat_File | Name of data file for photosynthetic populations |
| --- | --- |
| Sybr_File | Name of data file for bacteria |
| Virus_File | Name of data file for viruses |