## READ ME
On board 0,4 and 3 µm 47 mm polycarbonate filters were used. Nominal sample volume was 2 L. Filters were rinsed with milliQ water. A filter blank was stored every day for LD determination. Filters were stored in Eppendorfs and dried on board (60°C). Once dry, they were stored in cardboard boxes and sent to Marseille. Sample collection and filtrations were done on board by Véronique Cornet.
At the laboratory in Marseille : Samples were analyzed in February-April 2016. Filters were digested in TPX tubes following Ragueneau et al. 2005 , "A new method for the measurement of biogenic silica in suspended matter of coastal waters: using Si:Al ratios to correct for the mineral interference. Continental Shelf Research 25(5-6): 697-710". The triple extraction procedure was tested on the >3 µm size fraction, but aluminum measurements were incoherent because too close to DL. Hence BSi was computed as the result of the first alcaline extraction (NaOH) and LSi was the sum of the second alcaline extraction + the acid digestion (HF). For the 0,4-3 µm size fraction, only two digestion steps were made (BSi =alcaline extraction, LSi = HF extraction). The detection limit was 1 nmol L-1 for both BSi and LSi and quantification limits were 5 and 6 nmol L-1 for BSi and LSi respectively. A large number of data are below the LD due to an insufficient volume filtered compared to the method LD. Sample analyses were done by Camille Brunet and Karine Leblanc, and data validation by Karine Leblanc.
Contact person for question about data | Karine LEBLANC | karine.leblanc@univ-amu.fr

## concentrations
Station | CTD | Bottle | Z [m] | BSi 0,4-3 µm (nmol L-1) | BSi > 3 µm (nmol L-1) | BSi totale (nmol L-1) | % BSi 0,4-3 µm | LSi 0,4-3 µm (nmol L-1) | LSi > 3 µm (nmol L-1) | LSi totale (nmol L-1) | % LSi 0,4-3 µm
SD-01 | 5 | 21 | 9.069 | 33.07 | 87.53 | 120.6 | 27.43 | 9.01 | 5.51 | 14.52 | 62.08
SD-01 | 5 | 20 | 9.042 | 4.09 | 25.75 | 29.84 | 13.7 | 0.2 | 9.53 | 9.73 | 2.01
SD-01 | 5 | 15 | 24.193 | 1.98 | 15.66 | 17.64 | 11.23 | 2.91 | 8.32 | 11.23 | 25.93
SD-01 | 5 | 13 | 34.869 | 1.98 | 28.19 | 30.17 | 6.57 | 1.88 | 14.64 | 16.51 | 11.36
SD-01 | 5 | 11 | 52.432 | 5.55 | 20.68 | 26.22 | 21.15 | 3.6 | 11.31 | 14.9 | 24.15
SD-01 | 5 | 9 | 71.046 | 2.83 | 16.2 | 19.03 | 14.87 | 2.83 | 12.09 | 14.92 | 18.93
SD-01 | 5 | 5 | 105.794 | 20.48 | 2.24 | 22.71 | 90.15 | 38.51 | 6.6 | 45.1 | 85.38
SD-01 | 5 | 3 | 125.255 | 15.39 | 11.37 | 26.75 | 57.51 | 25.41 | 23.58 | 48.98 | 51.87
SD-02 | 9 | 23 | 5.363 | 2.66 | 36.6 | 39.26 | 6.78 | 4.21 | 18.23 | 22.43 | 18.74
SD-02 | 9 | 20 | 8.531 | 2.66 | 33.02 | 35.68 | 7.45 | 3.34 | 16.45 | 19.79 | 16.88
SD-02 | 9 | 15 | 23.871 | 2.83 | 34.28 | 37.11 | 7.63 | 5.15 | 51.67 | 56.82 | 9.07
SD-02 | 9 | 13 | 35.887 | 2.83 | 31.95 | 34.78 | 8.14 | 3.43 | 16.59 | 20.02 | 17.12
SD-02 | 9 | 11 | 53.686 | 5.21 | 17.99 | 23.19 | 22.44 | 4.72 | 11.56 | 16.28 | 29
SD-02 | 9 | 9 | 70.265 | 3.85 | 21.75 | 25.6 | 15.03 | 9.64 | 17.98 | 27.61 | 34.9
SD-02 | 9 | 5 | 105.451 | 1.98 | 34.64 | 36.61 | 5.41 | 1.36 | 193.38 | 194.74 | 0.7
SD-02 | 9 | 3 | 125.007 | 1.98 | 24.26 | 26.23 | 7.55 | 2.22 | 12.27 | 14.48 | 15.33
SD-03 | 18 | 23 | 5.842 | 2.27 | 18.24 | 20.5 | 11.04 | 1.81 | 14.23 | 16.03 | 11.26
SD-03 | 18 | 20 | 8.962 | 5.04 | 21.39 | 26.42 | 19.05 | 8 | 19.96 | 27.95 | 28.61
SD-03 | 18 | 15 | 24.76 | 4.7 | 17.1 | 21.79 | 21.55 | 7.05 | 26.06 | 33.11 | 21.29
SD-03 | 18 | 13 | 35.635 | 2.32 | 18.35 | 20.67 | 11.23 | 0.93 | 6.87 | 7.8 | 11.9
SD-03 | 18 | 11 | 53.377 | 1.81 | 18.17 | 19.98 | 9.06 | 2.57 | 5.63 | 8.19 | 31.32
SD-03 | 18 | 9 | 70.393 | 2.15 | 12.8 | 14.95 | 14.38 | 3.43 | 8.22 | 11.65 | 29.43
SD-03 | 18 | 5 | 106.105 | 3 | 11.91 | 14.9 | 20.12 | 5.07 | 8.44 | 13.51 | 37.51
SD-03 | 18 | 3 | 125.127 | 10.13 | 2.42 | 12.54 | 80.74 | 3.43 | 2.43 | 5.86 | 58.51
LD-A | 65 | 23 | 5.521 | 4.02 | 12.09 | 16.1 | 24.95 | 1.1 | 16.75 | 17.85 | 6.16
LD-A | 65 | 20 | 8.798 | 2.83 | 15.13 | 17.96 | 15.76 | 3.09 | 15.54 | 18.62 | 16.56
LD-A | 65 | 15 | 23.903 | 3.68 | 14.95 | 18.62 | 19.75 | 4.21 | 12.5 | 16.7 | 25.17
LD-A | 65 | 13 | 34.959 | 1.64 | 13.34 | 14.98 | 10.96 | 1.79 | 18.65 | 20.44 | 8.76
LD-A | 65 | 11 | 53.808 | 0.97 | 15.13 | 16.09 | 5.98 | 0.85 | 14.78 | 15.62 | 5.39
LD-A | 65 | 7 | 88.834 | 1.48 | 16.2 | 17.67 | 8.33 | 1.53 | 6.65 | 8.18 | 18.72
LD-A | 65 | 5 | 105.129 | 2.15 | 15.66 | 17.81 | 12.07 | 4.98 | 7.26 | 12.24 | 40.68
LD-A | 65 | 3 | 125.275 | 2.66 | 10.3 | 12.95 | 20.53 | 3.52 | 9.4 | 12.91 | 27.21
SD-04 | 69 | 23 | 4.384 | 42.39 | 3.47 | 45.86 | 92.45 | 9.48 | 1.58 | 11.06 | 85.76
SD-04 | 69 | 20 | 9.671 | 5.45 | 47.74 | 53.19 | 10.25 | 5.78 | 8.53 | 14.3 | 40.4
SD-04 | 69 | 15 | 24.743 | 9.24 | 23.75 | 32.98 | 28.01 | 4.4 | 7.67 | 12.06 | 36.45
SD-04 | 69 | 13 | 35.397 | 8.48 | 6.17 | 14.65 | 57.89 | 4.66 | 3.2 | 7.86 | 59.27
SD-04 | 69 | 11 | 53.102 | 2.42 | 20.2 | 22.61 | 10.69 | 5.95 | 24.88 | 30.83 | 19.3
SD-04 | 69 | 9 | 70.018 | 3.18 | 27.97 | 31.15 | 10.19 | 12.67 | 15.12 | 27.79 | 45.6
SD-04 | 69 | 5 | 106.483 | 10.19 | 6.85 | 17.03 | 59.81 | 7.85 | 5.88 | 13.73 | 57.16
SD-04 | 69 | 3 | 124.762 | 6.59 | 6.34 | 12.93 | 50.96 | 6.9 | 8.4 | 15.29 | 45.1
SD-05 | 73 | 23 | 5.09 | 3.37 | 20.37 | 23.73 | 14.18 | 2.85 | 3.9 | 6.74 | 42.22
SD-05 | 73 | 20 | 9.813 | 4.69 | 26.45 | 31.14 | 15.06 | 6.47 | 9.25 | 15.71 | 41.16
SD-05 | 73 | 15 | 24.986 | 2.99 | 19.19 | 22.17 | 13.47 | 3.62 | 3.86 | 7.48 | 48.42
SD-05 | 73 | 13 | 35.832 | 1.66 | 21.04 | 22.7 | 7.31 | 2.25 | 2.63 | 4.87 | 46.1
SD-05 | 73 | 11 | 53.741 | 3.56 | 22.23 | 25.78 | 13.79 | 5.09 | 5.66 | 10.74 | 47.36
SD-05 | 73 | 9 | 70.403 | 8.1 | 61.26 | 69.36 | 11.68 | 5.35 | 14.96 | 20.3 | 26.33
SD-05 | 73 | 5 | 104.772 | 2.8 | 20.03 | 22.82 | 12.25 | 6.55 | 33.87 | 40.42 | 16.21
SD-05 | 73 | 3 | 126.811 | 2.23 | 11.07 | 13.3 | 16.75 | 5.18 | 5.68 | 10.86 | 47.66
SD-06 | 77 | 23 | 5.306 | 4.95 | 26.48 | 31.43 | 15.75 | 5.18 | 3.86 | 9.03 | 57.27
SD-06 | 77 | 20 | 11.385 | 6.79 | 18.65 | 25.43 | 26.68 | 4.56 | 7.33 | 11.89 | 38.36
SD-06 | 77 | 15 | 28.397 | 16.06 | 17.66 | 33.72 | 47.63 | 28.44 | 7.65 | 36.09 | 78.82
SD-06 | 77 | 13 | 39.831 | 10 | 13.78 | 23.77 | 42.05 | 8.36 | 15.65 | 24.01 | 34.84
SD-06 | 77 | 11 | 60.536 | 2.23 | 12.09 | 14.31 | 15.56 | 4.83 | 7.12 | 11.94 | 40.43
SD-06 | 77 | 9 | 79.711 | 2.61 | 12.43 | 15.03 | 17.34 | 4.83 | 11.4 | 16.23 | 29.75
SD-06 | 77 | 5 | 119.437 | 3.37 | 14.12 | 17.48 | 19.25 | 8.11 | 57.76 | 65.86 | 12.31
SD-06 | 77 | 3 | 135.442 | 1.28 | 12.09 | 13.37 | 9.58 | 3.28 | 10.71 | 13.98 | 23.43
SD-07 | 81 | 23 | 5.296 | 3.56 | 22.4 | 25.95 | 13.7 | 2.59 | 17.93 | 20.52 | 12.61
SD-07 | 81 | 20 | 12.54 | 2.23 | 22.23 | 24.45 | 9.11 | 1.99 | 4.78 | 6.76 | 29.33
SD-07 | 81 | 15 | 32.594 | 3.56 | 20.71 | 24.26 | 14.65 | 3.45 | 2.45 | 5.9 | 58.47
SD-07 | 81 | 13 | 45.985 | 5.64 | 17.5 | 23.13 | 24.37 | 4.14 | 4.58 | 8.72 | 47.47
SD-07 | 81 | 11 | 70.21 | 2.23 | 11.92 | 14.14 | 15.75 | 4.49 | 11.07 | 15.55 | 28.83
SD-07 | 81 | 9 | 90.842 | 2.8 | 12.43 | 15.22 | 18.37 | 6.64 | 15.26 | 21.9 | 30.31
SD-07 | 81 | 5 | 135.282 | 2.23 | 8.54 | 10.76 | 20.69 | 3.97 | 10.18 | 14.14 | 28.05
SD-07 | 81 | 3 | 150.279 | 2.04 | 6.51 | 8.55 | 23.84 | 3.45 | 6.05 | 9.49 | 36.34
SD-08 | 85 | 23 | 5.408 | 5.52 | 7.15 | 12.67 | 43.59 | 6.21 | 4.01 | 10.21 | 60.8
SD-08 | 85 | 20 | 12.02 | 2.1 | 12.76 | 14.85 | 14.1 | 2.68 | 19.66 | 22.33 | 11.97
SD-08 | 85 | 15 | 32.074 | 5.71 | 9.02 | 14.73 | 38.78 | 2.85 | 4.19 | 7.04 | 40.45
SD-08 | 85 | 13 | 45.774 | 3.81 | 3.07 | 6.87 | 55.43 | 1.3 | 2.7 | 3.99 | 32.41
SD-08 | 85 | 11 | 69.543 | 2.67 | 12.59 | 15.25 | 17.48 | 2.5 | 10.15 | 12.64 | 19.78
SD-08 | 85 | 9 | 89.475 | 1.34 | 10.89 | 12.22 | 10.91 | 1.38 | 10.5 | 11.88 | 11.61
SD-08 | 85 | 5 | 135.214 | 3.24 | 4.09 | 7.32 | 44.22 | 6.12 | 4.75 | 10.87 | 56.32
SD-08 | 85 | 3 | 150.173 | 6.29 | 1.88 | 8.16 | 77.05 | 8.88 | 3.62 | 12.5 | 71.07
SD-09 | 89 | 23 | 5.401 | 17.32 | 3.07 | 20.39 | 84.98 | 4.57 | 1.4 | 5.96 | 76.66
SD-09 | 89 | 20 | 12.224 | 3.43 | 21.77 | 25.2 | 13.6 | 3.54 | 5.11 | 8.64 | 40.9
SD-09 | 89 | 15 | 31.732 | 2.48 | 14.12 | 16.59 | 14.92 | 3.62 | 4.75 | 8.37 | 43.27
SD-09 | 89 | 13 | 45.213 | 1.91 | 16.84 | 18.75 | 10.16 | 1.9 | 4.94 | 6.83 | 27.76
SD-09 | 89 | 11 | 68.931 | 1.91 | 13.27 | 15.17 | 12.55 | 2.33 | 4.74 | 7.07 | 32.96
SD-09 | 89 | 9 | 89.864 | 1.34 | 9.02 | 10.35 | 12.88 | 1.73 | 1.96 | 3.68 | 46.91
SD-09 | 89 | 5 | 131.475 | 9.9 | 1.37 | 11.26 | 87.92 | 21.89 | 1.4 | 23.29 | 94.03
SD-09 | 89 | 3 | 151.945 | 2.54 | 7.19 | 9.72 | 26.12 | 2.69 | 7.53 | 10.21 | 26.28
SD-10 | 93 | 23 | 5.533 | 2.1 | 3.58 | 5.67 | 36.96 | 2.16 | 4.75 | 6.91 | 31.22
SD-10 | 93 | 20 | 11.924 | 1.72 | 4.94 | 6.65 | 25.78 | 2.85 | 5.48 | 8.33 | 34.17
SD-10 | 93 | 15 | 31.605 | 1.72 | 4.94 | 6.65 | 25.78 | 1.81 | 6.23 | 8.04 | 22.53
SD-10 | 93 | 13 | 46.741 | 1.53 | 7.66 | 9.18 | 16.6 | 2.25 | 1.96 | 4.2 | 53.46
SD-10 | 93 | 11 | 69.36 | 1.72 | 13.61 | 15.32 | 11.19 | 1.38 | 5.33 | 6.7 | 20.59
SD-10 | 93 | 9 | 91.28 | 19.42 | 6.98 | 26.39 | 73.58 | 7.68 | 2.73 | 10.4 | 73.79
SD-10 | 93 | 5 | 133.114 | 2.1 | 10.04 | 12.13 | 17.27 | 3.37 | 17.06 | 20.42 | 16.47
SD-10 | 93 | 3 | 149.82 | 1.53 | 8.51 | 10.03 | 15.19 | 1.56 | 6.62 | 8.17 | 19.01
SD-11 | 97 | 23 | 5.533 | 8.43 | 0.49 | 8.92 | 94.55 | 5.05 | 1.21 | 6.26 | 80.69
SD-11 | 97 | 20 | 12.844 | 1.91 | 8 | 9.9 | 19.24 | 1.9 | 10.65 | 12.54 | 15.13
SD-11 | 97 | 15 | 32.145 | 1.34 | 6.47 | 7.8 | 17.1 | 1.3 | 1.02 | 2.32 | 55.94
SD-11 | 97 | 13 | 44.042 | 1.91 | 8 | 9.9 | 19.24 | 2.42 | 4.92 | 7.34 | 32.91
SD-11 | 97 | 11 | 70.012 | 0.77 | 8.17 | 8.93 | 8.54 | 0.61 | 1.04 | 1.64 | 36.88
SD-11 | 97 | 9 | 91.241 | 1.34 | 9.53 | 10.86 | 12.28 | 1.04 | 3.07 | 4.11 | 25.21
SD-11 | 97 | 5 | 135.92 | 1.72 | 11.06 | 12.77 | 13.42 | 2.85 | 9.93 | 12.77 | 22.28
SD-11 | 97 | 3 | 149.874 | 1.15 | 10.72 | 11.86 | 9.64 | 2.33 | 15.91 | 18.24 | 12.77
SD-12 | 101 | 23 | 5.059 | 0.85 | 3.42 | 4.26 | 19.73 | 2.35 | 4.06 | 6.4 | 36.61
SD-12 | 101 | 20 | 11.539 | 1.01 | 4.28 | 5.29 | 19.1 | 5.1 | 13.05 | 18.15 | 28.07
SD-12 | 101 | 15 | 30.217 | 0.34 | 6.67 | 7.01 | 4.8 | 0.92 | 5.31 | 6.23 | 14.74
SD-12 | 101 | 13 | 44.02 | 1.52 | 9.24 | 10.75 | 14.08 | 7.13 | 5.14 | 12.27 | 58.15
SD-12 | 101 | 11 | 65.861 | 0.51 | 10.26 | 10.77 | 4.69 | 1.02 | 7.98 | 9 | 11.33
SD-12 | 101 | 9 | 85.529 | 2.69 | 16.59 | 19.28 | 13.96 | 4.59 | 22.17 | 26.76 | 17.14
SD-12 | 101 | 5 | 127.921 | 1.01 | 9.92 | 10.93 | 9.24 | 3.47 | 10.84 | 14.31 | 24.22
SD-12 | 101 | 3 | 150.791 | 0.17 | 8.21 | 8.38 | 2.01 | 1.13 | 9.97 | 11.09 | 10.11
LD-B | 149 | 23 | 5.465 | 0.68 | 22.06 | 22.73 | 2.96 | 1.02 | 3.35 | 4.37 | 23.36
LD-B | 149 | 20 | 7.026 | 0.68 | 24.62 | 25.29 | 2.66 | 1.94 | 5.85 | 7.79 | 24.87
LD-B | 149 | 15 | 19.007 | 1.52 | 20.18 | 21.69 | 6.98 | 1.94 | 6.54 | 8.48 | 22.84
LD-B | 149 | 13 | 27.1 | 1.01 | 12.48 | 13.49 | 7.48 | 2.86 | 1.93 | 4.79 | 59.64
LD-B | 149 | 11 | 41.64 | 1.85 | 15.9 | 17.75 | 10.42 | 5.2 | 4.07 | 9.26 | 56.1
LD-B | 149 | 9 | 55.952 | 12.78 | 1.71 | 14.49 | 88.2 | 6.12 | 5.71 | 11.82 | 51.73
LD-B | 149 | 7 | 68.916 | 1.35 | 15.05 | 16.39 | 8.21 | 2.96 | 35.6 | 38.56 | 7.67
LD-B | 149 | 5 | 82.469 | 1.35 | 11.46 | 12.8 | 10.51 | 2.96 | 4.24 | 7.2 | 41.08
LD-B | 149 | 3 | 124.3 | 0.34 | 8.55 | 8.89 | 3.79 | 1.02 | 2.96 | 3.98 | 25.66
SD-13 | 152 | 23 | 5.101 | 1.01 | 2.91 | 3.92 | 25.77 | 2.45 | 51 | 53.44 | 4.58
SD-13 | 152 | 21 | 15.303 | 0.17 | 4.62 | 4.79 | 3.52 | 2.14 | 6.78 | 8.92 | 24.01
SD-13 | 152 | 17 | 35.323 | 0.51 | 4.96 | 5.47 | 9.24 | 1.23 | 5.85 | 7.07 | 17.29
SD-13 | 152 | 14 | 55.306 | 0.68 | 4.96 | 5.63 | 11.95 | 1.23 | 2.27 | 3.5 | 35.02
SD-13 | 152 | 9 | 75.374 | 2.02 | 7.01 | 9.03 | 22.35 | 6.83 | 4.61 | 11.44 | 59.71
SD-13 | 152 | 6 | 125.906 | 2.53 | 16.42 | 18.94 | 13.32 | 2.35 | 13.42 | 15.77 | 14.87
SD-13 | 152 | 3 | 299.286 | 2.69 | 0.35 | 3.04 | 88.72 | 5.91 | 0.48 | 6.39 | 92.51
SD-13 | 152 | 1 | 500.68 | 0 | 2.4 | 2.4 | 0 | 2.86 | 5.67 | 8.52 | 33.48
LD-C | 158 | 23 | 6.608 | 3.53 | 3.67 | 7.2 | 49.04 | 3.04 | 3.98 | 7.01 | 43.31
LD-C | 158 | 19 | 26.919 | 3.7 | 2.64 | 6.34 | 58.41 | 7.32 | 3.66 | 10.97 | 66.68
LD-C | 158 | 15 | 60.056 | 0.51 | 5.23 | 5.73 | 8.81 | 0.19 | 2.9 | 3.08 | 5.96
LD-C | 158 | 13 | 92.455 | 5.21 | 1.77 | 6.98 | 74.65 | 4.26 | 2.65 | 6.9 | 61.72
LD-C | 158 | 11 | 121.101 | 1.52 | 6.61 | 8.12 | 18.64 | 0.39 | 2.17 | 2.56 | 15.18
LD-C | 158 | 9 | 135.453 | 1.52 | 6.26 | 7.78 | 19.47 | 1.1 | 1.62 | 2.72 | 40.48
LD-C | 158 | 7 | 150.922 | 2.69 | 6.78 | 9.47 | 28.41 | 4.47 | 6.39 | 10.85 | 41.14
LD-C | 158 | 5 | 199.699 | 1.01 | 5.05 | 6.06 | 16.65 | 2.02 | 6.46 | 8.47 | 23.82
LD-C | 197 | 23 | 8.642 | 2.36 | 5.23 | 7.58 | 31.06 | 3.96 | 10.24 | 14.19 | 27.87
LD-C | 197 | 20 | 18.203 | 2.86 | 5.75 | 8.6 | 33.24 | 0.8 | 15.39 | 16.18 | 4.92
LD-C | 197 | 15 | 44.152 | 2.53 | 3.67 | 6.19 | 40.73 | 2.02 | 1.22 | 3.24 | 62.36
LD-C | 197 | 13 | 61.429 | 3.2 | 3.67 | 6.87 | 46.54 | 1.1 | 1.98 | 3.08 | 35.75
LD-C | 197 | 11 | 91.924 | 2.86 | 5.05 | 7.91 | 36.14 | 1.21 | 1.8 | 3 | 40.17
LD-C | 197 | 9 | 120.872 | 3.37 | 6.26 | 9.62 | 34.95 | 0.49 | 6.59 | 7.08 | 6.92
LD-C | 197 | 7 | 152.186 | 3.37 | 6.61 | 9.97 | 33.74 | 2.23 | 0 | 2.23 | 100
LD-C | 197 | 3 | 196.07 | 2.86 | 4.54 | 7.39 | 38.67 | 1.1 | 44.68 | 45.78 | 2.41
SD-14 | 208 | 23 | 5.987 | 4.37 | 1.26 | 5.63 | 77.74 | 3.45 | 1.78 | 5.22 | 65.96
SD-14 | 208 | 19 | 15.993 | 5.55 | 0.91 | 6.46 | 85.96 | 4.06 | 1.62 | 5.68 | 71.48
SD-14 | 208 | 15 | 40.456 | 3.03 | 4.88 | 7.91 | 38.29 | 1.41 | 1.44 | 2.84 | 49.55
SD-14 | 208 | 13 | 56.423 | 2.86 | 4.88 | 7.74 | 36.95 | 1.31 | 4.38 | 5.68 | 22.97
SD-14 | 208 | 11 | 84.728 | 4.04 | 5.75 | 9.78 | 41.27 | 4.36 | 4.75 | 9.11 | 47.88
SD-14 | 208 | 9 | 110.755 | 2.36 | 5.75 | 8.1 | 29.08 | 1.31 | 0.7 | 2.01 | 65.1
SD-14 | 208 | 5 | 165.262 | 3.03 | 6.78 | 9.81 | 30.87 | 3.65 | 3.1 | 6.75 | 54.09
SD-14 | 208 | 3 | 200.336 | 4.21 | 5.4 | 9.6 | 43.79 | 6.1 | 7.02 | 13.11 | 46.49
SD-15 | 211 | 23 | 6.047 | 3.7 | 4.19 | 7.89 | 46.9 | 2.12 | 3.81 | 5.92 | 35.79
SD-15 | 211 | 20 | 15.292 | 2.53 | 4.54 | 7.06 | 35.75 | 1.41 | 9.6 | 11 | 12.79
SD-15 | 211 | 16 | 26.965 | 3.53 | 4.71 | 8.24 | 42.87 | 2.33 | 5.48 | 7.81 | 29.77
SD-15 | 211 | 13 | 58.459 | 4.04 | 5.23 | 9.26 | 43.58 | 1.72 | 5.24 | 6.95 | 24.63
SD-15 | 211 | 11 | 87.907 | 4.54 | 6.95 | 11.49 | 39.51 | 3.65 | 4.17 | 7.81 | 46.71
SD-15 | 211 | 9 | 116.912 | 5.21 | 9.03 | 14.24 | 36.62 | 2.73 | 6.39 | 9.12 | 29.96
SD-15 | 211 | 7 | 146.307 | 3.7 | 11.79 | 15.48 | 23.89 | 2.84 | 8.04 | 10.87 | 26.06
SD-15 | 211 | 5 | 174.287 | 2.53 | 5.75 | 8.27 | 30.52 | 0.7 | 6.26 | 6.95 | 9.98
SD-15 | 211 | 3 | 199.74 | 3.03 | 5.4 | 8.43 | 35.93 | 2.12 | 6.73 | 8.85 | 23.95

## stocks calculations
Station | CTD | Bottle | Z [m] | BSi 0,4-3 µm (nmol L-1) | BSi > 3 µm (nmol L-1) | BSi totale (nmol L-1) | LSi 0,4-3 µm (nmol L-1) | LSi > 3 µm (nmol L-1) | LSi totale (nmol L-1) |  | BSi 0,4-3 µm (mmol m-2) | BSi > 3 µm (mmol L-2) | BSi totale (mmol L-2) | LSi 0,4-3 µm (mmol L-2) | LSi > 3 µm (mmol L-2) | LSi totale (mmol L-2) |  | 0-125 m | BSi 0,4-3 µm (mmol m-2) | BSi > 3 µm (mmol L-2) | BSi totale (mmol L-2) | LSi 0,4-3 µm (mmol L-2) | LSi > 3 µm (mmol L-2) | LSi totale (mmol L-2) | 0-200 m | BSi 0,4-3 µm (mmol m-2) | BSi > 3 µm (mmol L-2) | BSi totale (mmol L-2) | LSi 0,4-3 µm (mmol L-2) | LSi > 3 µm (mmol L-2) | LSi totale (mmol L-2)
SD-01 | 5 | 20 | 9.042 | 18.58 | 56.64 | 75.22 | 4.605 | 7.52 | 12.125 | SD1 (0-125m) | 1.243 | 2.5191 | 3.7616 | 1.5723 | 1.3746 | 2.9462 |  | 1 | 1.243 | 2.5191 | 3.7616 | 1.5723 | 1.3746 | 2.9462
SD-01 | 5 | 15 | 24.193 | 1.98 | 15.66 | 17.64 | 2.91 | 8.32 | 11.23 |  | 1.075 | 2.007 | 3.0815 | 1.5307 | 1.3066 | 2.8366 |  | 2 | 0.38675 | 3.5625 | 3.9487 | 0.5713 | 7.31 | 7.8809
SD-01 | 5 | 13 | 34.869 | 1.98 | 28.19 | 30.17 | 1.88 | 14.64 | 16.51 |  | 0.91928 | 1.4593 | 2.378 | 1.4738 | 1.1866 | 2.6597 |  | 3 | 0.42694 | 1.8301 | 2.2564 | 0.50286 | 1.3086 | 1.8111
SD-01 | 5 | 11 | 52.432 | 5.55 | 20.68 | 26.22 | 3.6 | 11.31 | 14.9 |  | 0.89814 | 1.2252 | 2.1228 | 1.4482 | 1.0641 | 2.5116 |  | A | 0.25753 | 1.833 | 2.0897 | 0.30646 | 1.5009 | 1.8067
SD-01 | 5 | 9 | 71.046 | 2.83 | 16.2 | 19.03 | 2.83 | 12.09 | 14.92 |  | 0.83201 | 0.79605 | 1.6276 | 1.4001 | 0.83617 | 2.2358 |  | 4 | 1.0584 | 2.245 | 3.3028 | 0.96723 | 1.3139 | 2.2808
SD-01 | 5 | 5 | 105.794 | 20.48 | 2.24 | 22.71 | 38.51 | 6.6 | 45.1 |  | 0.75402 | 0.45281 | 1.2065 | 1.3402 | 0.61839 | 1.9582 |  | 5 | 0.50629 | 3.6013 | 4.1069 | 0.63135 | 1.7065 | 2.3371
SD-01 | 5 | 3 | 125.255 | 15.39 | 11.37 | 26.75 | 25.41 | 23.58 | 48.98 |  | 0.34903 | 0.13243 | 0.48127 | 0.62197 | 0.29367 | 0.91545 |  | 6 | 0.69709 | 1.7965 | 2.4927 | 1.0344 | 2.1021 | 3.136
SD-02 | 9 | 23 | 5.363 | 2.66 | 36.6 | 39.26 | 4.21 | 18.23 | 22.43 | SD2 (0-125m) | 0.38675 | 3.5625 | 3.9487 | 0.5713 | 7.31 | 7.8809 |  | 7 | 0.39485 | 1.9477 | 2.3413 | 0.54678 | 1.2125 | 1.7588
SD-02 | 9 | 20 | 8.531 | 2.66 | 33.02 | 35.68 | 3.34 | 16.45 | 19.79 |  | 0.37248 | 3.3662 | 3.7382 | 0.54872 | 7.2122 | 7.7606 |  | 8 | 0.38936 | 1.1189 | 1.5072 | 0.3451 | 1.0385 | 1.383
SD-02 | 9 | 15 | 23.871 | 2.83 | 34.28 | 37.11 | 5.15 | 51.67 | 56.82 |  | 0.36406 | 3.256 | 3.6195 | 0.53676 | 7.1573 | 7.6937 |  | 9 | 0.50495 | 1.4539 | 1.958 | 0.6119 | 0.43674 | 1.0479
SD-02 | 9 | 13 | 35.887 | 2.83 | 31.95 | 34.78 | 3.43 | 16.59 | 20.02 |  | 0.32195 | 2.7398 | 3.0612 | 0.47165 | 6.6348 | 7.1061 |  | 10 | 0.77019 | 0.98278 | 1.7517 | 0.44529 | 0.69377 | 1.1382
SD-02 | 9 | 11 | 53.686 | 5.21 | 17.99 | 23.19 | 4.72 | 11.56 | 16.28 |  | 0.28794 | 2.3419 | 2.6293 | 0.4201 | 6.2247 | 6.6444 |  | 11 | 0.24242 | 0.99854 | 1.2398 | 0.22141 | 0.51015 | 0.73107
SD-02 | 9 | 9 | 70.265 | 3.85 | 21.75 | 25.6 | 9.64 | 17.98 | 27.61 |  | 0.21639 | 1.8974 | 2.1134 | 0.34757 | 5.9742 | 6.3214 |  | 12 | 0.16783 | 1.2932 | 1.4608 | 0.46282 | 1.459 | 1.9217
SD-02 | 9 | 5 | 105.451 | 1.98 | 34.64 | 36.61 | 1.36 | 193.38 | 194.74 |  | 0.14129 | 1.568 | 1.7089 | 0.22853 | 5.7293 | 5.9576 |  | B | 0.29891 | 1.5967 | 1.8949 | 0.37237 | 0.93593 | 1.308
SD-02 | 9 | 3 | 125.007 | 1.98 | 24.26 | 26.23 | 2.22 | 12.27 | 14.48 |  | 0.038721 | 0.57592 | 0.61445 | 0.035005 | 2.0108 | 2.0458 |  | 13 | 0.17192 | 0.96036 | 1.1318 | 0.40704 | 1.287 | 1.6938
SD-03 | 18 | 23 | 5.842 | 2.27 | 18.24 | 20.5 | 1.81 | 14.23 | 16.03 | SD3 (0-125m) | 0.42694 | 1.8301 | 2.2564 | 0.50286 | 1.3086 | 1.8111 |  | C | 0.35556 | 0.45215 | 0.80724 | 0.38842 | 0.37152 | 0.75887 | LD-C (0-200m) | 0.50017 | 0.93388 | 1.4335 | 0.60047 | 0.77406 | 1.3729
SD-03 | 18 | 20 | 8.962 | 5.04 | 21.39 | 26.42 | 8 | 19.96 | 27.95 |  | 0.41368 | 1.7236 | 2.1367 | 0.49229 | 1.2255 | 1.7175 |  | C | 0.34735 | 0.57997 | 0.92665 | 0.18035 | 0.63324 | 0.81298 | LD-C (0-200m) | 0.58958 | 1.0261 | 1.6143 | 0.296 | 1.7168 | 2.0122
SD-03 | 18 | 15 | 24.76 | 4.7 | 17.1 | 21.79 | 7.05 | 26.06 | 33.11 |  | 0.40227 | 1.6618 | 2.0635 | 0.47699 | 1.1722 | 1.6489 |  | 14 | 0.44357 | 0.55106 | 0.9941 | 0.3239 | 0.32613 | 0.6495 | SD-14 (0-200m) | 0.68256 | 1.0223 | 1.704 | 0.60704 | 0.59273 | 1.1991
SD-03 | 18 | 13 | 35.635 | 2.32 | 18.35 | 20.67 | 0.93 | 6.87 | 7.8 |  | 0.32534 | 1.3577 | 1.6827 | 0.35811 | 0.80865 | 1.1666 |  | 15 | 0.51394 | 0.7634 | 1.2769 | 0.30854 | 0.68707 | 0.99478 | SD-15 (0-200m) | 0.76235 | 1.3806 | 2.142 | 0.45361 | 1.211 | 1.6633
SD-03 | 18 | 11 | 53.377 | 1.81 | 18.17 | 19.98 | 2.57 | 5.63 | 8.19 |  | 0.28717 | 1.165 | 1.4518 | 0.31472 | 0.62959 | 0.94413
SD-03 | 18 | 9 | 70.393 | 2.15 | 12.8 | 14.95 | 3.43 | 8.22 | 11.65 |  | 0.25053 | 0.84101 | 1.0912 | 0.28367 | 0.5187 | 0.80228
SD-03 | 18 | 5 | 106.105 | 3 | 11.91 | 14.9 | 5.07 | 8.44 | 13.51 |  | 0.21684 | 0.57751 | 0.79398 | 0.23262 | 0.40087 | 0.63349
SD-03 | 18 | 3 | 125.127 | 10.13 | 2.42 | 12.54 | 3.43 | 2.43 | 5.86 |  | 0.12488 | 0.13629 | 0.26098 | 0.080843 | 0.10338 | 0.18423
LD-A | 65 | 23 | 5.521 | 4.02 | 12.09 | 16.1 | 1.1 | 16.75 | 17.85 | LD-A (0-125m) | 0.25753 | 1.833 | 2.0897 | 0.30646 | 1.5009 | 1.8067
LD-A | 65 | 20 | 8.798 | 2.83 | 15.13 | 17.96 | 3.09 | 15.54 | 18.62 |  | 0.23533 | 1.7662 | 2.0008 | 0.30039 | 1.4084 | 1.7082
LD-A | 65 | 15 | 23.903 | 3.68 | 14.95 | 18.62 | 4.21 | 12.5 | 16.7 |  | 0.22411 | 1.7216 | 1.945 | 0.29352 | 1.3555 | 1.6484
LD-A | 65 | 13 | 34.959 | 1.64 | 13.34 | 14.98 | 1.79 | 18.65 | 20.44 |  | 0.17494 | 1.4945 | 1.6687 | 0.23839 | 1.1437 | 1.3817
LD-A | 65 | 11 | 53.808 | 0.97 | 15.13 | 16.09 | 0.85 | 14.78 | 15.62 |  | 0.14553 | 1.3381 | 1.483 | 0.20522 | 0.97151 | 1.1764
LD-A | 65 | 7 | 88.834 | 1.48 | 16.2 | 17.67 | 1.53 | 6.65 | 8.18 |  | 0.12093 | 1.0698 | 1.1902 | 0.18034 | 0.65645 | 0.83652
LD-A | 65 | 5 | 105.129 | 2.15 | 15.66 | 17.81 | 4.98 | 7.26 | 12.24 |  | 0.078027 | 0.52107 | 0.59892 | 0.13866 | 0.28115 | 0.41971
LD-A | 65 | 3 | 125.275 | 2.66 | 10.3 | 12.95 | 3.52 | 9.4 | 12.91 |  | 0.048451 | 0.2615 | 0.30985 | 0.085621 | 0.16782 | 0.25334
SD-04 | 69 | 23 | 4.384 | 42.39 | 3.47 | 45.86 | 9.48 | 1.58 | 11.06 | SD-4 (0-125m) | 1.0584 | 2.245 | 3.3028 | 0.96723 | 1.3139 | 2.2808
SD-04 | 69 | 20 | 9.671 | 5.45 | 47.74 | 53.19 | 5.78 | 8.53 | 14.3 |  | 0.87255 | 2.2298 | 3.1017 | 0.92567 | 1.307 | 2.2324
SD-04 | 69 | 15 | 24.743 | 9.24 | 23.75 | 32.98 | 4.4 | 7.67 | 12.06 |  | 0.74608 | 2.0944 | 2.8399 | 0.88533 | 1.2803 | 2.1653
SD-04 | 69 | 13 | 35.397 | 8.48 | 6.17 | 14.65 | 4.66 | 3.2 | 7.86 |  | 0.63538 | 1.5557 | 2.1905 | 0.80861 | 1.1582 | 1.9667
SD-04 | 69 | 11 | 53.102 | 2.42 | 20.2 | 22.61 | 5.95 | 24.88 | 30.83 |  | 0.54099 | 1.3963 | 1.9368 | 0.76035 | 1.1003 | 1.8606
SD-04 | 69 | 9 | 70.018 | 3.18 | 27.97 | 31.15 | 12.67 | 15.12 | 27.79 |  | 0.44449 | 1.1628 | 1.607 | 0.66643 | 0.85171 | 1.518
SD-04 | 69 | 5 | 106.483 | 10.19 | 6.85 | 17.03 | 7.85 | 5.88 | 13.73 |  | 0.39713 | 0.75541 | 1.1523 | 0.50894 | 0.51339 | 1.0222
SD-04 | 69 | 3 | 124.762 | 6.59 | 6.34 | 12.93 | 6.9 | 8.4 | 15.29 |  | 0.15336 | 0.12055 | 0.27382 | 0.13481 | 0.13051 | 0.26523
SD-05 | 73 | 23 | 5.09 | 3.37 | 20.37 | 23.73 | 2.85 | 3.9 | 6.74 | SD-5 (0-125m) | 0.50629 | 3.6013 | 4.1069 | 0.63135 | 1.7065 | 2.3371
SD-05 | 73 | 20 | 9.813 | 4.69 | 26.45 | 31.14 | 6.47 | 9.25 | 15.71 |  | 0.48914 | 3.4976 | 3.9862 | 0.61685 | 1.6867 | 2.3028
SD-05 | 73 | 15 | 24.986 | 2.99 | 19.19 | 22.17 | 3.62 | 3.86 | 7.48 |  | 0.4701 | 3.3871 | 3.8566 | 0.59484 | 1.6556 | 2.2498
SD-05 | 73 | 13 | 35.832 | 1.66 | 21.04 | 22.7 | 2.25 | 2.63 | 4.87 |  | 0.41184 | 3.0408 | 3.4521 | 0.51829 | 1.5562 | 2.0739
SD-05 | 73 | 11 | 53.741 | 3.56 | 22.23 | 25.78 | 5.09 | 5.66 | 10.74 |  | 0.38662 | 2.8227 | 3.2088 | 0.48646 | 1.521 | 2.0069
SD-05 | 73 | 9 | 70.403 | 8.1 | 61.26 | 69.36 | 5.35 | 14.96 | 20.3 |  | 0.33988 | 2.4352 | 2.7747 | 0.42073 | 1.4467 | 1.8671
SD-05 | 73 | 5 | 104.772 | 2.8 | 20.03 | 22.82 | 6.55 | 33.87 | 40.42 |  | 0.24274 | 1.7396 | 1.9821 | 0.33375 | 1.2749 | 1.6085
SD-05 | 73 | 3 | 126.811 | 2.23 | 11.07 | 13.3 | 5.18 | 5.68 | 10.86 |  | 0.055428 | 0.34271 | 0.39802 | 0.12926 | 0.43582 | 0.56508
SD-06 | 77 | 23 | 5.306 | 4.95 | 26.48 | 31.43 | 5.18 | 3.86 | 9.03 | SD-6 (0-125m) | 0.69709 | 1.7965 | 2.4927 | 1.0344 | 2.1021 | 3.136
SD-06 | 77 | 20 | 11.385 | 6.79 | 18.65 | 25.43 | 4.56 | 7.33 | 11.89 |  | 0.67083 | 1.656 | 2.3259 | 1.0069 | 2.0816 | 3.0881
SD-06 | 77 | 15 | 28.397 | 16.06 | 17.66 | 33.72 | 28.44 | 7.65 | 36.09 |  | 0.63514 | 1.5189 | 2.1531 | 0.97728 | 2.0476 | 3.0245
SD-06 | 77 | 13 | 39.831 | 10 | 13.78 | 23.77 | 8.36 | 15.65 | 24.01 |  | 0.44078 | 1.21 | 1.6499 | 0.69658 | 1.9202 | 2.6164
SD-06 | 77 | 11 | 60.536 | 2.23 | 12.09 | 14.31 | 4.83 | 7.12 | 11.94 |  | 0.2918 | 1.0303 | 1.3213 | 0.48619 | 1.787 | 2.2728
SD-06 | 77 | 9 | 79.711 | 2.61 | 12.43 | 15.03 | 4.83 | 11.4 | 16.23 |  | 0.16518 | 0.76245 | 0.92704 | 0.34964 | 1.5513 | 1.9006
SD-06 | 77 | 5 | 119.437 | 3.37 | 14.12 | 17.48 | 8.11 | 57.76 | 65.86 |  | 0.11878 | 0.52736 | 0.64575 | 0.25703 | 1.3737 | 1.6306
interpolated |  |  | 125 | 2.6436 | 13.4144 | 16.0515 | 6.4312 | 41.4064 | 47.8276 |  | 0.016727 | 0.076587 | 0.093268 | 0.040446 | 0.27583 | 0.31622
SD-06 | 77 | 3 | 135.442 | 1.28 | 12.09 | 13.37 | 3.28 | 10.71 | 13.98
SD-07 | 81 | 23 | 5.296 | 3.56 | 22.4 | 25.95 | 2.59 | 17.93 | 20.52 | SD-7 (0-125m) | 0.39485 | 1.9477 | 2.3413 | 0.54678 | 1.2125 | 1.7588
SD-07 | 81 | 20 | 12.54 | 2.23 | 22.23 | 24.45 | 1.99 | 4.78 | 6.76 |  | 0.376 | 1.8291 | 2.2039 | 0.53306 | 1.1176 | 1.6501
SD-07 | 81 | 15 | 32.594 | 3.56 | 20.71 | 24.26 | 3.45 | 2.45 | 5.9 |  | 0.35503 | 1.6675 | 2.0214 | 0.51647 | 1.0353 | 1.5513
SD-07 | 81 | 13 | 45.985 | 5.64 | 17.5 | 23.13 | 4.14 | 4.58 | 8.72 |  | 0.29697 | 1.2369 | 1.5329 | 0.46193 | 0.96281 | 1.4244
SD-07 | 81 | 11 | 70.21 | 2.23 | 11.92 | 14.14 | 4.49 | 11.07 | 15.55 |  | 0.23537 | 0.98106 | 1.2156 | 0.41111 | 0.91574 | 1.3265
SD-07 | 81 | 9 | 90.842 | 2.8 | 12.43 | 15.22 | 6.64 | 15.26 | 21.9 |  | 0.14005 | 0.62471 | 0.76421 | 0.30658 | 0.72618 | 1.0325
interpolated |  |  | 125 | 2.3619 | 9.44 | 11.7919 | 4.5878 | 11.3554 | 15.9354 |  | 0.08816 | 0.37352 | 0.46134 | 0.19176 | 0.45456 | 0.64619
SD-07 | 81 | 5 | 135.282 | 2.23 | 8.54 | 10.76 | 3.97 | 10.18 | 14.14 |  | 0.023607 | 0.092435 | 0.11594 | 0.043995 | 0.11071 | 0.15462
SD-07 | 81 | 3 | 150.279 | 2.04 | 6.51 | 8.55 | 3.45 | 6.05 | 9.49
SD-08 | 85 | 23 | 5.408 | 5.52 | 7.15 | 12.67 | 6.21 | 4.01 | 10.21 | SD-8 (0-125m) | 0.38936 | 1.1189 | 1.5072 | 0.3451 | 1.0385 | 1.383
SD-08 | 85 | 20 | 12.02 | 2.1 | 12.76 | 14.85 | 2.68 | 19.66 | 22.33 |  | 0.35951 | 1.0802 | 1.4387 | 0.31151 | 1.0168 | 1.3277
SD-08 | 85 | 15 | 32.074 | 5.71 | 9.02 | 14.73 | 2.85 | 4.19 | 7.04 |  | 0.33431 | 1.0144 | 1.3477 | 0.28212 | 0.93854 | 1.2202
SD-08 | 85 | 13 | 45.774 | 3.81 | 3.07 | 6.87 | 1.3 | 2.7 | 3.99 |  | 0.256 | 0.79598 | 1.0511 | 0.22667 | 0.6994 | 0.92566
SD-08 | 85 | 11 | 69.543 | 2.67 | 12.59 | 15.25 | 2.5 | 10.15 | 12.64 |  | 0.19079 | 0.71317 | 0.90317 | 0.19825 | 0.6522 | 0.85011
SD-08 | 85 | 9 | 89.475 | 1.34 | 10.89 | 12.22 | 1.38 | 10.5 | 11.88 |  | 0.11378 | 0.52706 | 0.64028 | 0.15309 | 0.49948 | 0.65247
interpolated |  |  | 125 | 2.8157 | 5.6085 | 8.4142 | 5.0615 | 6.034 | 11.0955 |  | 0.073816 | 0.29305 | 0.36652 | 0.11442 | 0.29369 | 0.4081
SD-08 | 85 | 5 | 135.214 | 3.24 | 4.09 | 7.32 | 6.12 | 4.75 | 10.87
SD-08 | 85 | 3 | 150.173 | 6.29 | 1.88 | 8.16 | 8.88 | 3.62 | 12.5
SD-09 | 89 | 23 | 5.401 | 17.32 | 3.07 | 20.39 | 4.57 | 1.4 | 5.96 | SD-9 (0-125m) | 0.50495 | 1.4539 | 1.958 | 0.6119 | 0.43674 | 1.0479
SD-09 | 89 | 20 | 12.224 | 3.43 | 21.77 | 25.2 | 3.54 | 5.11 | 8.64 |  | 0.41141 | 1.4373 | 1.8479 | 0.58722 | 0.42918 | 1.0157
SD-09 | 89 | 15 | 31.732 | 2.48 | 14.12 | 16.59 | 3.62 | 4.75 | 8.37 |  | 0.34062 | 1.3526 | 1.6923 | 0.55955 | 0.40697 | 0.96593
SD-09 | 89 | 13 | 45.213 | 1.91 | 16.84 | 18.75 | 1.9 | 4.94 | 6.83 |  | 0.28297 | 1.0025 | 1.2847 | 0.48971 | 0.3108 | 0.80001
SD-09 | 89 | 11 | 68.931 | 1.91 | 13.27 | 15.17 | 2.33 | 4.74 | 7.07 |  | 0.25338 | 0.79382 | 1.0465 | 0.4525 | 0.24548 | 0.69756
SD-09 | 89 | 9 | 89.864 | 1.34 | 9.02 | 10.35 | 1.73 | 1.96 | 3.68 |  | 0.20808 | 0.43674 | 0.64426 | 0.40234 | 0.13068 | 0.53272
interpolated |  |  | 125 | 8.568 | 2.5604 | 11.1184 | 18.7529 | 1.4871 | 20.2385 |  | 0.17406 | 0.20344 | 0.37716 | 0.35984 | 0.060559 | 0.4202
SD-09 | 89 | 5 | 131.475 | 9.9 | 1.37 | 11.26 | 21.89 | 1.4 | 23.29
SD-09 | 89 | 3 | 151.945 | 2.54 | 7.19 | 9.72 | 2.69 | 7.53 | 10.21
SD-10 | 93 | 23 | 5.533 | 2.1 | 3.58 | 5.67 | 2.16 | 4.75 | 6.91 | SD-10 (0-125m) | 0.77019 | 0.98278 | 1.7517 | 0.44529 | 0.69377 | 1.1382
SD-10 | 93 | 20 | 11.924 | 1.72 | 4.94 | 6.65 | 2.85 | 5.48 | 8.33 |  | 0.75857 | 0.96298 | 1.7204 | 0.43334 | 0.66749 | 1.1
SD-10 | 93 | 15 | 31.605 | 1.72 | 4.94 | 6.65 | 1.81 | 6.23 | 8.04 |  | 0.74636 | 0.93575 | 1.681 | 0.41733 | 0.6348 | 1.0513
SD-10 | 93 | 13 | 46.741 | 1.53 | 7.66 | 9.18 | 2.25 | 1.96 | 4.2 |  | 0.71251 | 0.83853 | 1.5501 | 0.37147 | 0.51956 | 0.89018
SD-10 | 93 | 11 | 69.36 | 1.72 | 13.61 | 15.32 | 1.38 | 5.33 | 6.7 |  | 0.68792 | 0.74317 | 1.4303 | 0.34075 | 0.45758 | 0.79755
SD-10 | 93 | 9 | 91.28 | 19.42 | 6.98 | 26.39 | 7.68 | 2.73 | 10.4 |  | 0.65116 | 0.50262 | 1.1532 | 0.29969 | 0.37514 | 0.67427
interpolated |  |  | 125 | 5.4593 | 9.4465 | 14.8958 | 4.206 | 14.2806 | 18.4766 |  | 0.41947 | 0.27695 | 0.69608 | 0.2004 | 0.2868 | 0.48686
SD-10 | 93 | 5 | 133.114 | 2.1 | 10.04 | 12.13 | 3.37 | 17.06 | 20.42
SD-10 | 93 | 3 | 149.82 | 1.53 | 8.51 | 10.03 | 1.56 | 6.62 | 8.17
SD-11 | 97 | 23 | 5.533 | 8.43 | 0.49 | 8.92 | 5.05 | 1.21 | 6.26 | SD-11 (0-125m) | 0.24242 | 0.99854 | 1.2398 | 0.22141 | 0.51015 | 0.73107
SD-11 | 97 | 20 | 12.844 | 1.91 | 8 | 9.9 | 1.9 | 10.65 | 12.54 |  | 0.19577 | 0.99583 | 1.1905 | 0.19347 | 0.50346 | 0.69643
SD-11 | 97 | 15 | 32.145 | 1.34 | 6.47 | 7.8 | 1.3 | 1.02 | 2.32 |  | 0.15798 | 0.9648 | 1.1217 | 0.16806 | 0.4601 | 0.62771
SD-11 | 97 | 13 | 44.042 | 1.91 | 8 | 9.9 | 2.42 | 4.92 | 7.34 |  | 0.12661 | 0.82516 | 0.95084 | 0.13718 | 0.34748 | 0.4843
SD-11 | 97 | 11 | 70.012 | 0.77 | 8.17 | 8.93 | 0.61 | 1.04 | 1.64 |  | 0.10728 | 0.73908 | 0.84555 | 0.11505 | 0.31215 | 0.42684
SD-11 | 97 | 9 | 91.241 | 1.34 | 9.53 | 10.86 | 1.04 | 3.07 | 4.11 |  | 0.07248 | 0.52911 | 0.60104 | 0.075708 | 0.23476 | 0.31023
interpolated |  |  | 125 | 1.6271 | 10.6861 | 12.3032 | 2.4076 | 8.2533 | 10.6534 |  | 0.050084 | 0.34124 | 0.39098 | 0.058194 | 0.19113 | 0.2492
SD-11 | 97 | 5 | 135.92 | 1.72 | 11.06 | 12.77 | 2.85 | 9.93 | 12.77
SD-11 | 97 | 3 | 149.874 | 1.15 | 10.72 | 11.86 | 2.33 | 15.91 | 18.24
SD-12 | 101 | 23 | 5.059 | 0.85 | 3.42 | 4.26 | 2.35 | 4.06 | 6.4 | SD-12 (0-125m) | 0.16783 | 1.2932 | 1.4608 | 0.46282 | 1.459 | 1.9217
SD-12 | 101 | 20 | 11.539 | 1.01 | 4.28 | 5.29 | 5.1 | 13.05 | 18.15 |  | 0.16353 | 1.2759 | 1.4392 | 0.45093 | 1.4385 | 1.8894
SD-12 | 101 | 15 | 30.217 | 0.34 | 6.67 | 7.01 | 0.92 | 5.31 | 6.23 |  | 0.15751 | 1.251 | 1.4083 | 0.42679 | 1.383 | 1.8098
SD-12 | 101 | 13 | 44.02 | 1.52 | 9.24 | 10.75 | 7.13 | 5.14 | 12.27 |  | 0.1449 | 1.1487 | 1.2934 | 0.37057 | 1.2116 | 1.5821
SD-12 | 101 | 11 | 65.861 | 0.51 | 10.26 | 10.77 | 1.02 | 7.98 | 9 |  | 0.13206 | 1.0389 | 1.1709 | 0.31501 | 1.1395 | 1.4545
SD-12 | 101 | 9 | 85.529 | 2.69 | 16.59 | 19.28 | 4.59 | 22.17 | 26.76 |  | 0.10989 | 0.82595 | 0.93584 | 0.22601 | 0.99618 | 1.2222
SD-12 | 101 | 5 | 127.921 | 1.01 | 9.92 | 10.93 | 3.47 | 10.84 | 14.31 |  | 0.078425 | 0.56191 | 0.64033 | 0.17084 | 0.69968 | 0.87052
SD-12 | 101 | 3 | 150.791 | 0.17 | 8.21 | 8.38 | 1.13 | 9.97 | 11.09
LD-B | 149 | 23 | 5.465 | 0.68 | 22.06 | 22.73 | 1.02 | 3.35 | 4.37 | LD-B (0-125m) | 0.29891 | 1.5967 | 1.8949 | 0.37237 | 0.93593 | 1.308
LD-B | 149 | 20 | 7.026 | 0.68 | 24.62 | 25.29 | 1.94 | 5.85 | 7.79 |  | 0.2952 | 1.4761 | 1.7707 | 0.3668 | 0.91762 | 1.2841
LD-B | 149 | 15 | 19.007 | 1.52 | 20.18 | 21.69 | 1.94 | 6.54 | 8.48 |  | 0.29414 | 1.4397 | 1.7332 | 0.36449 | 0.91044 | 1.2746
LD-B | 149 | 13 | 27.1 | 1.01 | 12.48 | 13.49 | 2.86 | 1.93 | 4.79 |  | 0.28096 | 1.1713 | 1.4518 | 0.34124 | 0.83622 | 1.1772
LD-B | 149 | 11 | 41.64 | 1.85 | 15.9 | 17.75 | 5.2 | 4.07 | 9.26 |  | 0.27072 | 1.0391 | 1.3095 | 0.32182 | 0.80194 | 1.1235
LD-B | 149 | 9 | 55.952 | 12.78 | 1.71 | 14.49 | 6.12 | 5.71 | 11.82 |  | 0.24993 | 0.83282 | 1.0823 | 0.26322 | 0.75832 | 1.0213
LD-B | 149 | 7 | 68.916 | 1.35 | 15.05 | 16.39 | 2.96 | 35.6 | 38.56 |  | 0.14523 | 0.7068 | 0.85163 | 0.18222 | 0.68834 | 0.87049
LD-B | 149 | 5 | 82.469 | 1.35 | 11.46 | 12.8 | 2.96 | 4.24 | 7.2 |  | 0.053644 | 0.59816 | 0.65146 | 0.12336 | 0.42057 | 0.54393
LD-B | 149 | 3 | 124.3 | 0.34 | 8.55 | 8.89 | 1.02 | 2.96 | 3.98 |  | 0.035347 | 0.41852 | 0.45366 | 0.083244 | 0.15059 | 0.23384
SD-13 | 152 | 23 | 5.101 | 1.01 | 2.91 | 3.92 | 2.45 | 51 | 53.44 | SD-13 (0-125m) | 0.17192 | 0.96036 | 1.1318 | 0.40704 | 1.287 | 1.6938
SD-13 | 152 | 21 | 15.303 | 0.17 | 4.62 | 4.79 | 2.14 | 6.78 | 8.92 |  | 0.16677 | 0.94551 | 1.1118 | 0.39454 | 1.0269 | 1.4212
SD-13 | 152 | 17 | 35.323 | 0.51 | 4.96 | 5.47 | 1.23 | 5.85 | 7.07 |  | 0.16075 | 0.9071 | 1.0674 | 0.37113 | 0.73214 | 1.1031
SD-13 | 152 | 14 | 55.306 | 0.68 | 4.96 | 5.63 | 1.23 | 2.27 | 3.5 |  | 0.15394 | 0.81121 | 0.96469 | 0.3374 | 0.60571 | 0.94301
SD-13 | 152 | 9 | 75.374 | 2.02 | 7.01 | 9.03 | 6.83 | 4.61 | 11.44 |  | 0.14205 | 0.71209 | 0.85379 | 0.31282 | 0.52458 | 0.8374
SD-13 | 152 | 6 | 125.906 | 2.53 | 16.42 | 18.94 | 2.35 | 13.42 | 15.77 |  | 0.11496 | 0.59198 | 0.70669 | 0.23194 | 0.45555 | 0.68749
SD-13 | 152 | 3 | 299.286 | 2.69 | 0.35 | 3.04 | 5.91 | 0.48 | 6.39
SD-13 | 152 | 1 | 500.68 | 0 | 2.4 | 2.4 | 2.86 | 5.67 | 8.52
LD-C | 158 | 23 | 6.608 | 3.53 | 3.67 | 7.2 | 3.04 | 3.98 | 7.01 | LD-C (0-125m) | 0.35556 | 0.45215 | 0.80724 | 0.38842 | 0.37152 | 0.75887 | LD-C (0-200m) | 0.50017 | 0.93388 | 1.4335 | 0.60047 | 0.77406 | 1.3729
LD-C | 158 | 19 | 26.919 | 3.7 | 2.64 | 6.34 | 7.32 | 3.66 | 10.97 |  | 0.33223 | 0.4279 | 0.75966 | 0.36833 | 0.34522 | 0.71255 |  | 0.47685 | 0.90963 | 1.3859 | 0.58038 | 0.74776 | 1.3266
LD-C | 158 | 15 | 60.056 | 0.51 | 5.23 | 5.73 | 0.19 | 2.9 | 3.08 |  | 0.25881 | 0.36382 | 0.62215 | 0.26312 | 0.26763 | 0.52995 |  | 0.40342 | 0.84555 | 1.2484 | 0.47517 | 0.67018 | 1.144
LD-C | 158 | 13 | 92.455 | 5.21 | 1.77 | 6.98 | 4.26 | 2.65 | 6.9 |  | 0.18905 | 0.23342 | 0.42217 | 0.13869 | 0.15894 | 0.29717 |  | 0.33367 | 0.71515 | 1.0484 | 0.35074 | 0.56149 | 0.9112
LD-C | 158 | 11 | 121.101 | 1.52 | 6.61 | 8.12 | 0.39 | 2.17 | 2.56 |  | 0.096394 | 0.12003 | 0.21628 | 0.066602 | 0.069037 | 0.1355 |  | 0.24101 | 0.60176 | 0.84255 | 0.27866 | 0.47158 | 0.74953
LD-C | 158 | 9 | 135.453 | 1.52 | 6.26 | 7.78 | 1.1 | 1.62 | 2.72 | [8 empty] | 0.14461 | 0.48173 | 0.62627 | 0.21205 | 0.40254 | 0.61403
LD-C | 158 | 7 | 150.922 | 2.69 | 6.78 | 9.47 | 4.47 | 6.39 | 10.85 | [8 empty] | 0.1228 | 0.38937 | 0.51217 | 0.20136 | 0.37535 | 0.57614
LD-C | 158 | 5 | 199.699 | 1.01 | 5.05 | 6.06 | 2.02 | 6.46 | 8.47 | [8 empty] | 0.090237 | 0.28852 | 0.37875 | 0.15828 | 0.31339 | 0.47119
LD-C | 197 | 23 | 8.642 | 2.36 | 5.23 | 7.58 | 3.96 | 10.24 | 14.19 | LD-C (0-125m) | 0.34735 | 0.57997 | 0.92665 | 0.18035 | 0.63324 | 0.81298 | LD-C (0-200m) | 0.58958 | 1.0261 | 1.6143 | 0.296 | 1.7168 | 2.0122
LD-C | 197 | 20 | 18.203 | 2.86 | 5.75 | 8.6 | 0.8 | 15.39 | 16.18 |  | 0.32696 | 0.53478 | 0.86115 | 0.14612 | 0.54475 | 0.69035 |  | 0.56919 | 0.98093 | 1.5488 | 0.26178 | 1.6283 | 1.8895
LD-C | 197 | 15 | 44.152 | 2.53 | 3.67 | 6.19 | 2.02 | 1.22 | 3.24 |  | 0.302 | 0.48229 | 0.7838 | 0.12337 | 0.42222 | 0.54516 |  | 0.54423 | 0.92844 | 1.4714 | 0.23902 | 1.5058 | 1.7444
LD-C | 197 | 13 | 61.429 | 3.2 | 3.67 | 6.87 | 1.1 | 1.98 | 3.08 |  | 0.23207 | 0.36007 | 0.59191 | 0.08678 | 0.20672 | 0.2932 |  | 0.4743 | 0.80622 | 1.2795 | 0.20243 | 1.2903 | 1.4924
LD-C | 197 | 11 | 91.924 | 2.86 | 5.05 | 7.91 | 1.21 | 1.8 | 3 |  | 0.18257 | 0.29666 | 0.47909 | 0.059828 | 0.17907 | 0.2386 |  | 0.4248 | 0.74282 | 1.1667 | 0.17548 | 1.2626 | 1.4378
LD-C | 197 | 9 | 120.872 | 3.37 | 6.26 | 9.62 | 0.49 | 6.59 | 7.08 |  | 0.090173 | 0.1637 | 0.25373 | 0.024606 | 0.12144 | 0.1459 |  | 0.3324 | 0.60986 | 0.94136 | 0.14026 | 1.205 | 1.3451
LD-C | 197 | 7 | 152.186 | 3.37 | 6.61 | 9.97 | 2.23 | 0 | 2.23 | [8 empty] | 0.24223 | 0.44616 | 0.68763 | 0.11565 | 1.0835 | 1.1992
LD-C | 197 | 3 | 196.07 | 2.86 | 4.54 | 7.39 | 1.1 | 44.68 | 45.78 | [8 empty] | 0.1367 | 0.24465 | 0.38091 | 0.073067 | 0.98037 | 1.0534
SD-14 | 208 | 23 | 5.987 | 4.37 | 1.26 | 5.63 | 3.45 | 1.78 | 5.22 | SD-14 (0-125m) | 0.44357 | 0.55106 | 0.9941 | 0.3239 | 0.32613 | 0.6495 | SD-14 (0-200m) | 0.68256 | 1.0223 | 1.704 | 0.60704 | 0.59273 | 1.1991
SD-14 | 208 | 19 | 15.993 | 5.55 | 0.91 | 6.46 | 4.06 | 1.62 | 5.68 |  | 0.4174 | 0.54352 | 0.9604 | 0.30324 | 0.31548 | 0.61825 |  | 0.6564 | 1.0148 | 1.6703 | 0.58639 | 0.58208 | 1.1678
SD-14 | 208 | 15 | 40.456 | 3.03 | 4.88 | 7.91 | 1.41 | 1.44 | 2.84 |  | 0.36777 | 0.53266 | 0.89991 | 0.26567 | 0.29847 | 0.56371 |  | 0.60677 | 1.0039 | 1.6098 | 0.54882 | 0.56507 | 1.1133
SD-14 | 208 | 13 | 56.423 | 2.86 | 4.88 | 7.74 | 1.31 | 4.38 | 5.68 |  | 0.26283 | 0.46184 | 0.72414 | 0.19876 | 0.26104 | 0.4595 |  | 0.50183 | 0.9331 | 1.4341 | 0.48191 | 0.52764 | 1.0091
SD-14 | 208 | 11 | 84.728 | 4.04 | 5.75 | 9.78 | 4.36 | 4.75 | 9.11 |  | 0.2158 | 0.38392 | 0.5992 | 0.17705 | 0.21457 | 0.39148 |  | 0.4548 | 0.85518 | 1.3091 | 0.46019 | 0.48117 | 0.94105
SD-14 | 208 | 9 | 110.755 | 2.36 | 5.75 | 8.1 | 1.31 | 0.7 | 2.01 |  | 0.11815 | 0.23348 | 0.35125 | 0.096803 | 0.085362 | 0.18217 |  | 0.35715 | 0.70474 | 1.0612 | 0.37995 | 0.35196 | 0.73174
interpolated |  |  | 125 | 2.5351 | 6.0192 | 8.5469 | 1.9215 | 1.3272 | 3.2488 |  | 0.034865 | 0.083826 | 0.11857 | 0.023017 | 0.014439 | 0.037456 |  | 0.27386 | 0.55509 | 0.8285 | 0.30616 | 0.28104 | 0.58703
SD-14 | 208 | 5 | 165.262 | 3.03 | 6.78 | 9.81 | 3.65 | 3.1 | 6.75 | [8 empty] | 0.12697 | 0.2136 | 0.34039 | 0.17099 | 0.17747 | 0.34828
SD-14 | 208 | 3 | 200.336 | 4.21 | 5.4 | 9.6 | 6.1 | 7.02 | 13.11
SD-15 | 211 | 23 | 6.047 | 3.7 | 4.19 | 7.89 | 2.12 | 3.81 | 5.92 | SD-15 (0-125m) | 0.51394 | 0.7634 | 1.2769 | 0.30854 | 0.68707 | 0.99478 | SD-15 (0-200m) | 0.76235 | 1.3806 | 2.142 | 0.45361 | 1.211 | 1.6633
SD-15 | 211 | 20 | 15.292 | 2.53 | 4.54 | 7.06 | 1.41 | 9.6 | 11 |  | 0.49156 | 0.73806 | 1.2292 | 0.29572 | 0.66403 | 0.95899 |  | 0.73998 | 1.3552 | 2.0943 | 0.44079 | 1.188 | 1.6275
SD-15 | 211 | 16 | 26.965 | 3.53 | 4.71 | 8.24 | 2.33 | 5.48 | 7.81 |  | 0.46276 | 0.69771 | 1.1601 | 0.2794 | 0.60204 | 0.88077 |  | 0.71118 | 1.3149 | 2.0251 | 0.42448 | 1.126 | 1.5492
SD-15 | 211 | 13 | 58.459 | 4.04 | 5.23 | 9.26 | 1.72 | 5.24 | 6.95 |  | 0.42739 | 0.64372 | 1.0708 | 0.25757 | 0.51403 | 0.77099 |  | 0.67581 | 1.2609 | 1.9358 | 0.40265 | 1.038 | 1.4395
SD-15 | 211 | 11 | 87.907 | 4.54 | 6.95 | 11.49 | 3.65 | 4.17 | 7.81 |  | 0.30819 | 0.48719 | 0.79523 | 0.1938 | 0.34522 | 0.53856 |  | 0.5566 | 1.1044 | 1.6603 | 0.33887 | 0.86916 | 1.207
SD-15 | 211 | 9 | 116.912 | 5.21 | 9.03 | 14.24 | 2.73 | 6.39 | 9.12 |  | 0.18186 | 0.30786 | 0.4897 | 0.11473 | 0.20666 | 0.32124 |  | 0.43027 | 0.92504 | 1.3548 | 0.2598 | 0.73061 | 0.98971
interpolated |  |  | 125 | 4.7945 | 9.7894 | 14.5812 | 2.7603 | 6.844 | 9.6015 |  | 0.040458 | 0.076106 | 0.11655 | 0.022203 | 0.053518 | 0.07571 |  | 0.28887 | 0.69329 | 0.9816 | 0.16728 | 0.57746 | 0.74418
SD-15 | 211 | 7 | 146.307 | 3.7 | 11.79 | 15.48 | 2.84 | 8.04 | 10.87 | [8 empty] | 0.15792 | 0.38729 | 0.5448 | 0.085413 | 0.36537 | 0.45038
SD-15 | 211 | 5 | 174.287 | 2.53 | 5.75 | 8.27 | 0.7 | 6.26 | 6.95 | [8 empty] | 0.070759 | 0.1419 | 0.21253 | 0.035889 | 0.16532 | 0.20108
SD-15 | 211 | 3 | 199.74 | 3.03 | 5.4 | 8.43 | 2.12 | 6.73 | 8.85
Note on D2: Karine LEBLANC: average of both 9 m concentratuions