## READ ME
QUALITY FLAG (ODV flags)
0 | GOOD QUALITY
1 | UNKNOWN QUALITY
4 | QUESTIONABLE QUALITY
8 | BAD QUALITY
On board pre-combusted (4h at 450°C) 25 mm GFF filters were used. They were combusted <2 month before the cruise, and stored by groups of X20 in combusted aluminum foil in seperate ziplock bags. Nominal volume was 2 L. Filters were rinsed with daily filtered 0,22 µm seawater. A filter blank was stored every day for LD determination. Filters were stored on Eppendorfs. They were stored frozen on board (-20°C), then oven dried (60°C) in Nouméa before shipment to Marseille. Sample collection and filtrations were done on board by Valentina Paz Valdes Castro.
At the laboratory in Marseille : Samples were analyzed in February 2016. Upon pelletizing for CHN analyses, it was observed that many filters (but not all) were still wet, hence they were oven dried again (60°C) for several days before analyses. Samples were pelletized in tin cups and analyzed for total carbon and nitrogen (no acidification steps) on a Perkin Elmer 2400 CHN analyzer. Calibration curves were made using at least 10 concentrations of diluted glycine, directly pipetted onto combusted GFF filters. Detection limit for total carbon was 1,35 µM and 0,04 µM for total nitrogen. A large number of carbon data are below the LD due to an insufficient volume filtered compared to the instrument LD. Sample analyses by Alain Fumenia and data validation by Karine Leblanc.

## final data
CTD | Station | Prof | Niskin | Vol filtré (L) | Tot PC in µM | Qflag C | Tot PN in µM | Qflag N | C/N | Qflag C/N | Comments | LD = 1,35 µM C; LD = 0,04 µM N
6 | SD1 | 5 | 23 | 2 | 4.94 | 0 | 0.77 | 0 | 6.4191 | 0
6 | SD1 | 9 | 19 | 2 | 3.51 | 0 | 0.6 | 0 | 5.9185 | 0
6 | SD1 | 16 | 18 | 2 | 5 | 0 | 0.68 | 0 | 7.4551 | 0 |  |  | 0 | GOOD QUALITY
6 | SD1 | 24 | 15 | 2 | 4.73 | 0 | 0.66 | 0 | 7.2646 | 0 |  |  | 1 | UNKNOWN QUALITY | All data < LD is categorized as 1
6 | SD1 | 36 | 13 | 2 | 2.61 | 0 | 0.43 | 0 | 6.1037 | 0 |  |  | 4 | QUESTIONABLE QUALITY
6 | SD1 | 54 | 11 | 2 | 1.28 | 1 | 0.26 | 1 | 4.9922 | 1 |  |  | 8 | BAD QUALITY
6 | SD1 | 70 | 9 | 2 | 2.26 | 0 | 0.35 | 0 | 6.4691 | 0
6 | SD1 | 88 | 7 | 1 | 2.4 | 0 | 0.31 | 0 | 7.9327 | 0 |  |  |  | 0 & 1 are used for profiles and stock calculations
6 | SD1 | 105 | 6 | 1.2 | 1.48 | 0 | 0.24 | 0 | 6.3947 | 0 |  |  |  | 4 & 8 should be excluded
6 | SD1 | 125 | 3 | 2 | - | 8 | 0.03 | 8 | - | 8 | deleted data (negative after blank substraction)
6 | SD1 | 150 | 2 | 2 | 0.82 | 1 | 0.12 | 1 | 7.251 | 1
6 | SD1 | 200 | 1 | 2 | 0.71 | 1 | 0.12 | 1 | 6.2906 | 1
10 | SD2 | 5 | 23 | 2 | 3.38 | 0 | 0.5 | 0 | 6.8442 | 0
10 | SD2 | 9 | 19 | 1.9 | 4.67 | 0 | 0.67 | 0 | 7.019 | 0
10 | SD2 | 16 | 18 | 2 | 3.88 | 0 | 0.54 | 0 | 7.1989 | 0
10 | SD2 | 24 | 15 | 2 | 3.64 | 0 | 0.54 | 0 | 6.7518 | 0
10 | SD2 | 36 | 13 | 2 | 2.33 | 0 | 0.39 | 0 | 6.1039 | 0
10 | SD2 | 54 | 11 | 2 | 2.34 | 0 | 0.37 | 0 | 6.3364 | 0
10 | SD2 | 70 | 9 | 2 | 1.21 | 1 | 0.27 | 1 | 4.5832 | 1
10 | SD2 | 88 | 7 | 2 | 1.55 | 0 | 0.26 | 0 | 6.0169 | 0
10 | SD2 | 105 | 6 | 2 | 0.78 | 1 | 0.16 | 1 | 4.8887 | 1
10 | SD2 | 125 | 3 | 2 | 0.15 | 1 | 0.08 | 1 | 1.8672 | 1
10 | SD2 | 150 | 2 | 2 | 0.88 | 1 | 0.12 | 1 | 7.3557 | 1
10 | SD2 | 199 | 1 | 2 | 0.56 | 1 | 0.1 | 1 | 6.0818 | 1
19 | SD3 | 9 | 19 | 2 | 6.61 | 0 | 0.71 | 0 | 9.3891 | 0
19 | SD3 | 16 | 18 | 2 | 2.55 | 0 | 0.41 | 0 | 6.2423 | 0
19 | SD3 | 25 | 15 | 2 | 3.86 | 0 | 0.47 | 0 | 8.2569 | 0
19 | SD3 | 35 | 13 | 2 | 2.09 | 0 | 0.34 | 0 | 6.2147 | 0
19 | SD3 | 54 | 11 | 2 | 1.47 | 1 | 0.31 | 1 | 4.8621 | 1
19 | SD3 | 70 | 9 | 2 | 1.29 | 1 | 0.29 | 1 | 4.5571 | 1
19 | SD3 | 88 | 7 | 2 | 0.36 | 1 | 0.13 | 1 | 2.8303 | 1
19 | SD3 | 105 | 6 | 2 | 0.41 | 1 | 0.14 | 1 | 3.0758 | 1
19 | SD3 | 126 | 3 | 2 | 1.11 | 1 | 0.15 | 1 | 7.6664 | 1
19 | SD3 | 150 | 2 | 2 | 0.55 | 1 | 0.16 | 1 | 3.4628 | 1
19 | SD3 | 200 | 1 | 2 | 0.44 | 1 | 0.12 | 1 | 3.6665 | 1
66 | LDA | 5 | 23 | 2 | 4.93 | 0 | 0.76 | 0 | 6.5369 | 0
66 | LDA | 9 | 19 | 2 | 4.06 | 0 | 0.6 | 0 | 6.8373 | 0
66 | LDA | 16 | 18 | 2 | 3.69 | 0 | 0.51 | 0 | 7.25 | 0
66 | LDA | 24 | 15 | 2 | 2.89 | 0 | 0.4 | 0 | 7.3532 | 0
66 | LDA | 35 | 13 | 2 | 2.64 | 0 | 0.28 | 0 | 9.5397 | 0
66 | LDA | 54 | 11 | 2 | 4 | 0 | 0.47 | 0 | 8.6177 | 0
66 | LDA | 70 | 9 | 2 | 1.81 | 0 | 0.25 | 0 | 7.391 | 0
66 | LDA | 88 | 7 | 2 | 1.26 | 1 | 0.15 | 0 | 8.4704 | 1
66 | LDA | 105 | 6 | 2 | 1.76 | 0 | 0.17 | 0 | 10.4771 | 0
66 | LDA | 125 | 3 | 2 | 0.95 | 1 | 0.13 | 0 | 7.7446 | 1
66 | LDA | 180 | 2 | 2 | 0.21 | 8 | 0.09 | 0 | 2.497 | 8
66 | LDA | 200 | 1 | 2 | 0.02 | 8 | 0.03 | 0 | - | - | lost sample
67 | LDA | 250 | 20 | 2 | 3.16 | 8 | 0.35 | 8 | 9.0363 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 300 | 19 | 2 | 2.01 | 8 | 0.24 | 8 | 8.515 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 400 | 18 | 2 | 1.62 | 8 | 0.17 | 8 | 9.6154 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 502 | 17 | 2 | 1.96 | 8 | 0.19 | 8 | 10.8399 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 652 | 13 | 2 | 2.24 | 8 | 0.24 | 8 | 9.4937 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 801 | 9 | 2 | 1.99 | 8 | 0.22 | 8 | 9.1408 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 1000 | 5 | 2 | 2.33 | 8 | 0.23 | 8 | 10.4506 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 1251 | 4 | 2 | 5.49 | 8 | 0.57 | 8 | 9.6448 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 1500 | 3 | 2 | 2.17 | 8 | 0.24 | 8 | 9.2334 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 1754 | 2 | 2 | 2.45 | 8 | 0.25 | 8 | 10.1475 | 8 | CHN PN 5 times on average Sandra's PON values
67 | LDA | 2000 | 1 | 2 | 2.18 | 8 | 0.22 | 8 | 10.0438 | 8 | CHN PN 5 times on average Sandra's PON values
70 | SD4 | 5 | 23 | 2 | 4.2 | 0 | 0.8 | 0 | 5.2792 | 0
70 | SD4 | 9 | 19 | 2 | 4.25 | 0 | 0.75 | 0 | 5.6607 | 0
70 | SD4 | 16 | 18 | 2 | 4.36 | 0 | 0.56 | 0 | 7.7985 | 0
70 | SD4 | 26 | 15 | 2 | 2.96 | 0 | 0.54 | 0 | 5.5582 | 0
70 | SD4 | 35 | 13 | 2 | 2.58 | 0 | 0.43 | 0 | 6.1162 | 0
70 | SD4 | 53 | 11 | 2 | 2.46 | 0 | 0.21 | 4 | 12.074 | 4
70 | SD4 | 70 | 9 | 2 | 2.93 | 0 | 0.41 | 0 | 7.1693 | 0
70 | SD4 | 88 | 7 | 2 | 1.42 | 0 | 0.22 | 0 | 6.7221 | 0
70 | SD4 | 105 | 6 | 2 | 2.19 | 0 | 0.29 | 0 | 7.5512 | 0
70 | SD4 | 126 | 3 | 2 | 0.43 | 1 | 0.13 | 0 | 3.4157 | 1
70 | SD4 | 151 | 2 | 2 | 1.1 | 1 | 0.22 | 0 | 5.0341 | 1
70 | SD4 | 200 | 1 | 2 | 2.09 | 0 | 0.24 | 0 | 9.0497 | 0
74 | SD5 | 5 | 23 | 2 | 4.53 | 0 | 0.72 | 0 | 6.3125 | 0
74 | SD5 | 9 | 19 | 2 | 3.88 | 0 | 0.66 | 0 | 5.9643 | 0
74 | SD5 | 15 | 18 | 2 | 3.51 | 0 | 0.57 | 0 | 6.1997 | 0
74 | SD5 | 25 | 15 | 2 | 3.06 | 0 | 0.56 | 0 | 5.4575 | 0
74 | SD5 | 35 | 13 | 2 | 3.59 | 0 | 0.75 | 0 | 4.8415 | 0
74 | SD5 | 53 | 11 | 2 | 3.2 | 0 | 0.52 | 0 | 6.1864 | 0
74 | SD5 | 71 | 9 | 2 | 2.35 | 0 | 0.43 | 0 | 5.5046 | 0
74 | SD5 | 87 | 7 | 2 | 2.39 | 0 | 0.39 | 0 | 6.1213 | 0
74 | SD5 | 106 | 6 | 2 | 1.65 | 0 | 0.27 | 0 | 6.283 | 0
74 | SD5 | 125 | 3 | 2 | 1.69 | 0 | 0.3 | 0 | 5.6451 | 0
74 | SD5 | 150 | 2 | 2 | 1.45 | 0 | 0.24 | 0 | 6.262 | 0
74 | SD5 | 200 | 1 | 2 | 0.49 | 1 | 0.1 | 0 | 5.3416 | 1
78 | SD6 | 5 | 23 | 2 | 6.26 | 0 | 0.86 | 0 | 7.3093 | 0
78 | SD6 | 11 | 19 | 2 | 5.27 | 0 | 0.79 | 0 | 6.718 | 0
78 | SD6 | 18 | 18 | 2 | 3.79 | 0 | 0.53 | 0 | 7.1894 | 0
78 | SD6 | 28 | 15 | 2 | 3.33 | 0 | 0.43 | 0 | 7.8625 | 0
78 | SD6 | 41 | 13 | 2 | 2.69 | 0 | 0.33 | 0 | 8.2206 | 0
78 | SD6 | 60 | 11 | 2 | 2.18 | 0 | 0.27 | 0 | 8.2769 | 0
78 | SD6 | 79 | 9 | 2 | 1.86 | 0 | 0.16 | 0 | 11.6268 | 0
78 | SD6 | 100 | 7 | 2 | 2.52 | 0 | 0.24 | 0 | 10.6456 | 0
78 | SD6 | 119 | 6 | 2 | 2.49 | 0 | 0.36 | 0 | 7.0593 | 0
78 | SD6 | 135 | 3 | 2 | 2.22 | 0 | 0.3 | 0 | 7.5163 | 0
78 | SD6 | 150 | 2 | 2 | 2.71 | 0 | 0.32 | 0 | 8.6177 | 0
78 | SD6 | 200 | 1 | 2 | 1.71 | 0 | 0.19 | 0 | 9.2418 | 0
82 | SD7 | 5 | 23 | 2 | 5 | 0 | 0.62 | 0 | 8.1545 | 0
82 | SD7 | 15 | 19 | 2 | 4.35 | 0 | 0.6 | 0 | 7.3313 | 0
82 | SD7 | 21 | 18 | 2 | 3.35 | 0 | 0.47 | 0 | 7.2056 | 0
82 | SD7 | 32 | 15 | 2 | 3.11 | 0 | 0.41 | 0 | 7.6566 | 0
82 | SD7 | 45 | 13 | 2 | 2.91 | 0 | 0.43 | 0 | 6.8255 | 0
82 | SD7 | 69 | 11 | 2 | 2.06 | 0 | 0.28 | 0 | 7.5909 | 0
82 | SD7 | 80 | 9 | 2 | 2.12 | 0 | 0.28 | 0 | 7.6262 | 0
82 | SD7 | 114 | 7 | 2 | 1.58 | 0 | 0.23 | 0 | 6.9915 | 0
82 | SD7 | 134 | 6 | 2 | 2.25 | 0 | 0.2 | 0 | 11.6347 | 0
82 | SD7 | 150 | 3 | 2 | 0.91 | 1 | 0.15 | 0 | 6.3989 | 1
82 | SD7 | 175 | 2 | 2 | 1.02 | 1 | 0.17 | 0 | 6.0515 | 1
82 | SD7 | 200 | 1 | 2 | 1.58 | 0 | 0.15 | 0 | 10.6392 | 0
86 | SD8 | 5 | 23 | 2 | 3.76 | 0 | 0.51 | 0 | 7.477 | 0
86 | SD8 | 12 | 19 | 2 | 2.87 | 0 | 0.43 | 0 | 6.7411 | 0
86 | SD8 | 21 | 18 | 2 | 6.17 | 4 | 1.35 | 4 | 4.5974 | 4 | PON bigger than Sandra's PON (0,37 µM) in wet oxydation
86 | SD8 | 32 | 15 | 2 | 3.05 | 0 | 0.44 | 0 | 6.9568 | 0
86 | SD8 | 45 | 13 | 2 | 2.49 | 0 | 0.39 | 0 | 6.4146 | 0
86 | SD8 | 69 | 11 | 2 | 1.95 | 0 | 0.35 | 0 | 5.6993 | 0
86 | SD8 | 90 | 9 | 2 | 2.82 | 0 | 0.31 | 0 | 9.0965 | 0
86 | SD8 | 113 | 7 | 2 | 2.38 | 0 | 0.37 | 0 | 6.4543 | 0
86 | SD8 | 134 | 6 | 2 | 1.77 | 0 | 0.24 | 0 | 7.5971 | 0
86 | SD8 | 150 | 3 | 2 | 1.25 | 1 | 0.19 | 0 | 6.6753 | 1
86 | SD8 | 175 | 2 | 2 | 1.21 | 1 | 0.14 | 0 | 8.8831 | 1
86 | SD8 | 200 | 1 | 2 | 0.87 | 1 | 0.14 | 0 | 6.3988 | 1
TMC12 | SD9 | 5 | 23 | 2 | 3.75 | 0 | 0.56 | 0 | 6.7249 | 0
TMC12 | SD9 | 12 | 19 | 1.8 | 5.18 | 0 | 0.72 | 0 | 7.2367 | 0
TMC12 | SD9 | 21 | 18 | 2 | 3.22 | 0 | 0.54 | 0 | 5.9815 | 0
TMC12 | SD9 | 32 | 15 | 2 | 2.42 | 0 | 0.42 | 0 | 5.7786 | 0
TMC12 | SD9 | 45 | 13 | 2 | 2.38 | 0 | 0.48 | 0 | 5.0334 | 0
TMC12 | SD9 | 70 | 11 | 2 | 2.61 | 0 | 0.4 | 0 | 6.6663 | 0
TMC12 | SD9 | 90 | 9 | 2 | 1.85 | 0 | 0.28 | 0 | 6.7706 | 0
TMC12 | SD9 | 114 | 7 | 2 | 1.05 | 1 | 0.23 | 0 | 4.6259 | 1
TMC12 | SD9 | 135 | 6 | 2 | 1.85 | 0 | 0.22 | 0 | 8.4203 | 0
TMC12 | SD9 | 149 | 3 | 2 | 1.16 | 1 | 0.2 | 0 | 6.0076 | 1
TMC12 | SD9 | 175 | 2 | 2 | 1.25 | 1 | 0.2 | 0 | 6.2691 | 1
TMC12 | SD9 | 201 | 1 | 2 | 1.12 | 1 | 0.22 | 0 | 5.248 | 1
94 | SD10 | 5 | 23 | 2 | 3.52 | 0 | 0.53 | 0 | 6.6705 | 0
94 | SD10 | 12 | 19 | 2 | 2.91 | 0 | 0.45 | 0 | 6.5802 | 0
94 | SD10 | 21 | 18 | 2 | 1.33 | 8 | 0.18 | 8 | 7.4924 | 8
94 | SD10 | 32 | 15 | 2 | 2.72 | 0 | 0.43 | 0 | 6.4419 | 0
94 | SD10 | 45 | 13 | 2 | 2.65 | 0 | 0.37 | 0 | 7.1908 | 0
94 | SD10 | 69 | 11 | 2 | 2.69 | 0 | 0.43 | 0 | 6.2624 | 0
94 | SD10 | 90 | 9 | 2 | 3.16 | 0 | 0.45 | 0 | 7.1574 | 0
94 | SD10 | 114 | 7 | 2 | 3.05 | 0 | 0.41 | 0 | 7.5915 | 0
94 | SD10 | 135 | 6 | 2 | 1.82 | 0 | 0.26 | 0 | 7.0828 | 0
94 | SD10 | 150 | 3 | 2 | 1.31 | 1 | 0.19 | 0 | 7.1203 | 0
94 | SD10 | 175 | 2 | 2 | 0.43 | 1 | 0.09 | 0 | 5.1225 | 0
94 | SD10 | 200 | 1 | 2 | 2.95 | 8 | 0.28 | 8 | 10.688 | 8
98 | SD11 | 5 | 23 | 2 | 3.01 | 0 | 0.55 | 0 | 5.5108 | 0
98 | SD11 | 12 | 19 | 2 | 2.89 | 0 | 0.49 | 0 | 5.9257 | 0
98 | SD11 | 21 | 18 | 2 | 3.86 | 0 | 0.59 | 0 | 6.6012 | 0
98 | SD11 | 32 | 15 | 2 | 3.09 | 0 | 0.43 | 0 | 7.2123 | 0
98 | SD11 | 45 | 13 | 1.8 | 2.39 | 0 | 0.32 | 0 | 7.5446 | 0
98 | SD11 | 70 | 11 | 2 | 3 | 0 | 0.39 | 0 | 7.8508 | 0
98 | SD11 | 90 | 9 | 2 | 2.95 | 0 | 0.47 | 0 | 6.3913 | 0
98 | SD11 | 114 | 7 | 2 | 1.92 | 0 | 0.28 | 0 | 7.0566 | 0
98 | SD11 | 136 | 6 | 2 | 1.32 | 1 | 0.23 | 0 | 5.8413 | 1
98 | SD11 | 151 | 3 | 2 | 1.08 | 1 | 0.19 | 0 | 5.747 | 1
98 | SD11 | 175 | 2 | 2 | 1.18 | 1 | 0.16 | 0 | 7.6261 | 1
98 | SD11 | 200 | 1 | 2 | 1.32 | 1 | 0.18 | 0 | 7.6023 | 1
102 | SD12 | 5 | 24 | 2 | 2.21 | 0 | 0.42 | 0 | 5.3535 | 0
102 | SD12 | 11 | 19 | 2 | 1.95 | 0 | 0.35 | 0 | 5.6141 | 0
102 | SD12 | 19 | 18 | 2 | 2.42 | 0 | 0.46 | 0 | 5.3716 | 0
102 | SD12 | 30 | 15 | 2 | 2.41 | 0 | 0.44 | 0 | 5.4904 | 0
102 | SD12 | 43 | 13 | 2 | 2.66 | 0 | 0.51 | 0 | 5.2933 | 0
102 | SD12 | 65 | 11 | 2 | 1.95 | 0 | 0.42 | 0 | 4.6554 | 0
102 | SD12 | 85 | 9 | 2 | 1.95 | 0 | 0.34 | 0 | 5.8498 | 0
102 | SD12 | 108 | 7 | 2 | 2.32 | 0 | 0.39 | 0 | 6.0127 | 0
102 | SD12 | 128 | 6 | 2 | 1.17 | 1 | 0.2 | 0 | 5.9589 | 1
102 | SD12 | 150 | 3 | 2 | 1.55 | 0 | 0.21 | 0 | 7.6248 | 0
102 | SD12 | 175 | 2 | 2 | 0.99 | 1 | 0.18 | 0 | 5.591 | 1
102 | SD12 | 200 | 1 | 2 | 1.48 | 0 | 0.19 | 0 | 7.8082 | 0
150 | LDB | 5 | 23 | 2 | 6.3 | 0 | 1.01 | 0 | 6.2527 | 0
150 | LDB | 7 | 19 | 2 | 8.48 | 0 | 1.03 | 0 | 8.2504 | 0
150 | LDB | 12 | 18 | 2 | 5.58 | 0 | 0.9 | 0 | 6.2073 | 0
150 | LDB | 19 | 15 | 2 | 1.87 | 0 | 0.37 | 0 | 5.1774 | 0
150 | LDB | 42 | 11 | 2 | 2.27 | 0 | 0.38 | 0 | 5.9671 | 0
150 | LDB | 56 | 9 | 2 | 2.33 | 0 | 0.38 | 0 | 6.11 | 0
150 | LDB | 69 | 7 | 2 | 2.96 | 0 | 0.45 | 0 | 6.6503 | 0
150 | LDB | 84 | 5 | 2.3 | 2.43 | 0 | 0.39 | 0 | 6.3593 | 0
150 | LDB | 126 | 3 | 2 | 1.29 | 1 | 0.17 | 0 | 7.71 | 1
150 | LDB | 153 | 2 | 2 | 2.66 | 0 | 0.23 | 0 | 11.8089 | 0
150 | LDB | 205 | 1 | 2.3 | 1.35 | 0 | 0.24 | 0 | 0.17778 | 0
151 | LDB | 250 | 20 | 2 | 0.58 | 1 | 0.12 | 0 | 5.0588 | 1
151 | LDB | 297 | 19 | 2 | 1.06 | 1 | 0.08 | 0 | 13.9332 | 1
151 | LDB | 396 | 18 | 2 | 2 | 0 | 0.13 | 0 | 15.6324 | 0
151 | LDB | 497 | 17 | 1.7 | 8.87 | 8 | 0.35 | 8 | 25.4796 | 8
151 | LDB | 656 | 11 | 2 | 0.98 | 1 | 0.08 | 0 | 12.8752 | 0
151 | LDB | 798 | 7 | 2 | 0.44 | 1 | 0.12 | 4 | 3.8406 | 4 | 2-3 X Sandra's PON values
151 | LDB | 1001 | 5 | 2 | 1.52 | 0 | 0.16 | 4 | 9.877 | 4 | 2-3 X Sandra's PON values
151 | LDB | 1251 | 4 | 2 | 1.3 | 1 | 0.08 | 4 | 17.1413 | 4 | 2-3 X Sandra's PON values
151 | LDB | 1500 | 3 | 2 | 1.25 | 1 | 0.09 | 4 | 15.1312 | 4 | 2-3 X Sandra's PON values
151 | LDB | 1744 | 2 | 2 | 1.13 | 1 | 0.09 | 4 | 13.7163 | 4 | 2-3 X Sandra's PON values
151 | LDB | 1997 | 1 | 2 | 1.66 | 0 | 0.13 | 4 | 13.6711 | 4 | 2-3 X Sandra's PON values
152 | SD13 | 5 | 23 | 2 | 1.19 | 1 | 0.18 | 0 | 6.7338 | 1
152 | SD13 | 25 | 19 | 2 | 1.18 | 1 | 0.19 | 0 | 6.4081 | 1
152 | SD13 | 45 | 15 | 2 | 1.22 | 1 | 0.18 | 0 | 6.9103 | 1
152 | SD13 | 55 | 13 | 2 | 1.61 | 0 | 0.21 | 0 | 7.9409 | 0
152 | SD13 | 65 | 11 | 2 | 1.32 | 1 | 0.19 | 0 | 6.968 | 1
152 | SD13 | 75 | 9 | 2 | 1.33 | 1 | 0.2 | 0 | 6.7754 | 1
152 | SD13 | 100 | 7 | 2 | 1.69 | 0 | 0.2 | 0 | 8.6161 | 0
152 | SD13 | 150 | 5 | 2 | 1.13 | 1 | 0.17 | 0 | 6.6413 | 1
152 | SD13 | 201 | 4 | 2 | 0.88 | 1 | 0.1 | 0 | 9.5815 | 1
198 | LDC | 7 | 23 | 2 | 0.86 | 1 | 0.15 | 0 | 6.0134 | 1
198 | LDC | 17 | 19 | 2 | 1.02 | 1 | 0.16 | 0 | 6.5437 | 1
198 | LDC | 27 | 18 | 2 | 1.04 | 1 | 0.16 | 0 | 6.6934 | 1
198 | LDC | 42 | 15 | 2 | 1.39 | 0 | 0.24 | 0 | 5.7877 | 0
198 | LDC | 60 | 13 | 2 | 1.46 | 0 | 0.22 | 0 | 6.7918 | 0
198 | LDC | 91 | 11 | 2 | 1.13 | 1 | 0.2 | 0 | 5.8073 | 1
198 | LDC | 120 | 9 | 2 | 1.45 | 0 | 0.25 | 0 | 5.8771 | 0
198 | LDC | 136 | 7 | 2 | 1.42 | 0 | 0.21 | 0 | 6.8418 | 0
198 | LDC | 150 | 6 | 2 | 1.61 | 0 | 0.23 | 0 | 7.2849 | 0
198 | LDC | 180 | 5 | 2 | 1 | 1 | 0.15 | 0 | 6.9571 | 1
198 | LDC | 200 | 3 | 2 | 0.54 | 1 | 0.1 | 0 | 5.9416 | 1
199 | LDC | 250 | 20 | 2 | - | 8 | 0.13 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 300 | 19 | 2 | - | 8 | 0.14 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 401 | 18 | 2 | - | 8 | 0.11 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 501 | 17 | 2 | - | 8 | 0.13 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 650 | 13 | 2 | - | 8 | 0.11 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 800 | 9 | 2 | - | 8 | 0.11 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 1000 | 5 | 2 | - | 8 | 0.13 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 1248 | 4 | 2 | - | 8 | 0.11 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 1501 | 3 | 1.8 | - | 8 | 0.13 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 1751 | 2 | 2 | - | 8 | 0.13 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
199 | LDC | 1903 | 1 | 2 | - | 8 | 0.14 | 4 | - | 8 | deleted C data (negative after blank substraction); 2-3 X Sandra's PON values
209 | SD14 | 6 | 23 | 2 | 1.41 | 0 | 0.17 | 0 | 8.5635 | 0
209 | SD14 | 15 | 19 | 2 | 1.47 | 0 | 0.17 | 0 | 8.9417 | 0
209 | SD14 | 26 | 18 | 2 | 1.55 | 0 | 0.18 | 0 | 8.7549 | 0
209 | SD14 | 40 | 15 | 2 | 1.36 | 1 | 0.18 | 0 | 7.9502 | 1
209 | SD14 | 55 | 13 | 2 | 1.65 | 0 | 0.19 | 0 | 8.6888 | 0
209 | SD14 | 85 | 11 | 2 | 1.74 | 0 | 0.22 | 0 | 8.0534 | 0
209 | SD14 | 110 | 9 | 2 | 1.97 | 0 | 0.19 | 0 | 10.3767 | 0
209 | SD14 | 139 | 7 | 2 | 2.07 | 0 | 0.19 | 0 | 10.8939 | 0
209 | SD14 | 165 | 6 | 2 | 1.52 | 1 | 0.16 | 0 | 10.0162 | 1
209 | SD14 | 200 | 3 | 1.8 | 1.02 | 1 | 0.09 | 0 | 12.4833 | 1
212 | SD15 | 6 | 23 | 2 | 1.07 | 1 | 0.12 | 0 | 9.3491 | 1
212 | SD15 | 16 | 20 | 2 | 1.27 | 1 | 0.13 | 0 | 10.4739 | 1
212 | SD15 | 26 | 18 | 2 | 0.96 | 1 | 0.13 | 0 | 7.9071 | 1
212 | SD15 | 41 | 15 | 2 | 1.27 | 1 | 0.16 | 0 | 7.9424 | 1
212 | SD15 | 58 | 13 | 2 | 1.19 | 1 | 0.2 | 0 | 5.9848 | 1
212 | SD15 | 88 | 11 | 2 | 1.43 | 0 | 0.17 | 0 | 8.5974 | 0
212 | SD15 | 116 | 9 | 1.7 | 1.11 | 1 | 0.15 | 0 | 7.4036 | 1
212 | SD15 | 148 | 7 | 2 | 1.47 | 0 | 0.18 | 0 | 8.1635 | 0
212 | SD15 | 174 | 6 | 2 | 1.5 | 0 | 0.13 | 0 | 11.7482 | 0
212 | SD15 | 199 | 3 | 2 | 0.46 | 1 | 0.04 | 1 | 15.2011 | 1

## stock calculations
CTD | Station | Prof | Niskin | Tot PC in µM | Tot PN in µM |  | Stot PC (mmol m-2) | Stot PN (mmol m-2) | Station | Stot PC (mmol m-2) | Stot PN (mmol m-2) | Stot PC/Stot PN (mol:mol)
6 | SD1 | 5 | 23 | 4.94 | 0.77 | SD1 (0-200m) | 382.595 | 58.775 | 1 | 382.595 | 58.775 | 6.5095
6 | SD1 | 9 | 19 | 3.51 | 0.6 |  | 357.895 | 54.925 | 2 | 301.355 | 49.565 | 6.08
6 | SD1 | 16 | 18 | 5 | 0.68 |  | 340.995 | 52.185 | 3 | 288.07 | 49.135 | 5.8628
6 | SD1 | 24 | 15 | 4.73 | 0.66 |  | 311.21 | 47.705 | A | 352.55 | 47.24 | 7.463
6 | SD1 | 36 | 13 | 2.61 | 0.43 |  | 272.29 | 42.345 | 4 | 414.1587 | 36.91 | 11.2208
6 | SD1 | 54 | 11 | 1.28 | 0.26 |  | 228.25 | 35.805 | 5 | 433.3051 | 75.725 | 5.7221
6 | SD1 | 70 | 9 | 2.26 | 0.35 |  | 193.24 | 29.595 | 6 | 534.9153 | 65.975 | 8.1078
6 | SD1 | 88 | 7 | 2.4 | 0.31 |  | 164.92 | 24.715 | 7 | 434.441 | 58.08 | 7.48
6 | SD1 | 105 | 6 | 1.48 | 0.24 |  | 122.98 | 18.775 | 8 | 423.8478 | 61.035 | 6.9443
6 | SD1 | 150 | 2 | 0.82 | 0.12 |  | 90 | 14.1 | 9 | 404.6052 | 66.325 | 6.1003
6 | SD1 | 200 | 1 | 0.71 | 0.12 |  | 38.25 | 6 | 10 | 426.8789 | 63.15 | 6.7598
10 | SD2 | 5 | 23 | 3.38 | 0.5 | SD2 (0-200m) | 301.355 | 49.565 | 11 | 435.9374 | 65.42 | 6.6637
10 | SD2 | 9 | 19 | 4.67 | 0.67 |  | 284.455 | 47.065 | 12 | 365.7851 | 64.91 | 5.6353
10 | SD2 | 16 | 18 | 3.88 | 0.54 |  | 268.355 | 44.725 | B | 496.4252 | 71.38 | 6.9547
10 | SD2 | 24 | 15 | 3.64 | 0.54 |  | 238.43 | 40.49 | 13 | 254.3873 | 34.5163 | 7.3701
10 | SD2 | 36 | 13 | 2.33 | 0.39 |  | 208.35 | 36.17 | C | 244.8213 | 38.1532 | 6.4168
10 | SD2 | 54 | 11 | 2.34 | 0.37 |  | 172.53 | 30.59 | 14 | 327.2542 | 34.6214 | 9.4524
10 | SD2 | 70 | 9 | 1.21 | 0.27 |  | 130.5 | 23.75 | 15 | 245.4546 | 29.3156 | 8.3728
10 | SD2 | 88 | 7 | 1.55 | 0.26 |  | 102.1 | 18.63
10 | SD2 | 105 | 6 | 0.78 | 0.16 |  | 77.26 | 13.86
10 | SD2 | 125 | 3 | 0.15 | 0.08 |  | 57.455 | 10.29
10 | SD2 | 150 | 2 | 0.88 | 0.12 |  | 48.155 | 7.89
10 | SD2 | 199 | 1 | 0.56 | 0.1 |  | 35.28 | 5.39
19 | SD3 | 9 | 19 | 6.61 | 0.71 | SD3 (0-200m) | 288.07 | 49.135
19 | SD3 | 16 | 18 | 2.55 | 0.41 |  | 228.58 | 42.745
19 | SD3 | 25 | 15 | 3.86 | 0.47 |  | 196.52 | 38.825
19 | SD3 | 35 | 13 | 2.09 | 0.34 |  | 167.675 | 34.865
19 | SD3 | 54 | 11 | 1.47 | 0.31 |  | 137.925 | 30.815
19 | SD3 | 70 | 9 | 1.29 | 0.29 |  | 104.105 | 24.64
19 | SD3 | 88 | 7 | 0.36 | 0.13 |  | 82.025 | 19.84
19 | SD3 | 105 | 6 | 0.41 | 0.14 |  | 67.175 | 16.06
19 | SD3 | 126 | 3 | 1.11 | 0.15 |  | 60.63 | 13.765
19 | SD3 | 150 | 2 | 0.55 | 0.16 |  | 44.67 | 10.72
19 | SD3 | 200 | 1 | 0.44 | 0.12 |  | 24.75 | 7
66 | LDA | 5 | 23 | 4.93 | 0.76 | LD-A (0-200 m) | 352.55 | 47.24
66 | LDA | 9 | 19 | 4.06 | 0.6 |  | 327.9 | 43.44
66 | LDA | 16 | 18 | 3.69 | 0.51 |  | 309.92 | 40.72
66 | LDA | 24 | 15 | 2.89 | 0.4 |  | 282.795 | 36.835
66 | LDA | 35 | 13 | 2.64 | 0.28 |  | 256.475 | 33.195
66 | LDA | 54 | 11 | 4 | 0.47 |  | 226.06 | 29.455
66 | LDA | 70 | 9 | 1.81 | 0.25 |  | 162.98 | 22.33
66 | LDA | 88 | 7 | 1.26 | 0.15 |  | 116.5 | 16.57
66 | LDA | 105 | 6 | 1.76 | 0.17 |  | 88.87 | 12.97
66 | LDA | 125 | 3 | 0.95 | 0.13 |  | 63.2 | 10.25
66 | LDA | 180 | 2 | 0.21 | 0.09 |  | 36.1 | 7.25
66 | LDA | 200 | 1 |  | 0.03 |  | 4.2 | 1.2
70 | SD4 | 5 | 23 | 4.1979 | 0.8 | SD4 (0-200m) | 414.1587 | 36.91
70 | SD4 | 9 | 19 | 4.2408 | 0.75 |  | 393.1692 | 32.91
70 | SD4 | 16 | 18 | 4.3561 | 0.56 |  | 376.2918 | 29.81
70 | SD4 | 26 | 15 | 2.9586 | 0.54 |  | 346.2025 | 25.225
70 | SD4 | 35 | 13 | 2.5724 | 0.43 |  | 309.6285 | 19.725
70 | SD4 | 53 | 11 | 2.4597 |  |  | 284.7389 | 15.36
70 | SD4 | 70 | 9 | 2.9211 | 0.41 |  | 239.45 | 30.06
70 | SD4 | 88 | 7 | 1.4136 | 0.22 |  | 193.7131 | -
70 | SD4 | 105 | 6 | 2.1834 | 0.29 |  | 154.7009 | 24.39
70 | SD4 | 126 | 3 | 0.42649 | 0.13 |  | 124.1261 | 20.055
70 | SD4 | 151 | 2 | 1.0917 | 0.22 |  | 96.7218 | 15.645
70 | SD4 | 200 | 1 | 2.0815 | 0.24 |  | 77.7441 | 11.27
74 | SD5 | 5 | 23 | 4.5252 | 0.72 | SD5 (0-200m) | 433.3051 | 75.725
74 | SD5 | 9 | 19 | 3.877 | 0.66 |  | 410.679 | 72.125
74 | SD5 | 15 | 18 | 3.5028 | 0.57 |  | 393.8746 | 69.365
74 | SD5 | 25 | 15 | 3.0502 | 0.56 |  | 371.7353 | 65.675
74 | SD5 | 35 | 13 | 3.5884 | 0.75 |  | 338.9703 | 60.025
74 | SD5 | 53 | 11 | 3.1946 | 0.52 |  | 305.7772 | 53.475
74 | SD5 | 71 | 9 | 2.3409 | 0.43 |  | 244.7309 | 42.045
74 | SD5 | 87 | 7 | 2.38 | 0.39 |  | 194.912 | 33.495
74 | SD5 | 106 | 6 | 1.6413 | 0.27 |  | 157.1448 | 26.935
74 | SD5 | 125 | 3 | 1.6804 | 0.3 |  | 118.9422 | 20.665
74 | SD5 | 150 | 2 | 1.4456 | 0.24 |  | 87.3855 | 15.25
74 | SD5 | 200 | 1 | 0.48677 | 0.1 |  | 48.3097 | 8.5
78 | SD6 | 5 | 23 | 6.2521 | 0.86 | SD6 (0-200m) | 534.9153 | 65.975
78 | SD6 | 11 | 19 | 5.2699 | 0.79 |  | 503.655 | 61.675
78 | SD6 | 18 | 18 | 3.7861 | 0.53 |  | 469.0891 | 56.725
78 | SD6 | 28 | 15 | 3.3297 | 0.43 |  | 437.3931 | 52.105
78 | SD6 | 41 | 13 | 2.6865 | 0.33 |  | 401.8143 | 47.305
78 | SD6 | 60 | 11 | 2.1714 | 0.27 |  | 362.7089 | 42.365
78 | SD6 | 79 | 9 | 1.8512 | 0.16 |  | 316.5584 | 36.665
78 | SD6 | 100 | 7 | 2.5184 | 0.24 |  | 278.3437 | 32.58
78 | SD6 | 119 | 6 | 2.489 | 0.36 |  | 232.4634 | 28.38
78 | SD6 | 135 | 3 | 2.2141 | 0.3 |  | 184.8932 | 22.68
78 | SD6 | 150 | 2 | 2.7052 | 0.32 |  | 147.2679 | 17.4
78 | SD6 | 200 | 1 | 1.7097 | 0.19 |  | 110.373 | 12.75
82 | SD7 | 5 | 23 | 4.9934 | 0.62 | SD7 (0-200m) | 434.441 | 58.08
82 | SD7 | 15 | 19 | 4.3475 | 0.6 |  | 409.4742 | 54.98
82 | SD7 | 21 | 18 | 3.344 | 0.47 |  | 362.7699 | 48.88
82 | SD7 | 32 | 15 | 3.1092 | 0.41 |  | 339.6953 | 45.67
82 | SD7 | 45 | 13 | 2.9037 | 0.43 |  | 304.2026 | 40.83
82 | SD7 | 69 | 11 | 2.055 | 0.28 |  | 265.1191 | 35.37
82 | SD7 | 80 | 9 | 2.1137 | 0.28 |  | 205.6151 | 26.85
82 | SD7 | 114 | 7 | 1.5773 | 0.23 |  | 182.6873 | 23.77
82 | SD7 | 134 | 6 | 2.2498 | 0.2 |  | 119.9407 | 15.1
82 | SD7 | 150 | 3 | 0.9074 | 0.15 |  | 81.6699 | 10.8
82 | SD7 | 175 | 2 | 1.0142 | 0.17 |  | 56.4122 | 8
82 | SD7 | 200 | 1 | 1.5773 | 0.15 |  | 32.3928 | 4
86 | SD8 | 5 | 23 | 3.7591 | 0.51 | SD8 (0-200m) | 423.8478 | 61.035
86 | SD8 | 12 | 19 | 2.8678 | 0.43 |  | 405.0521 | 58.485
86 | SD8 | 32 | 15 | 3.0492 | 0.44 |  | 381.858 | 55.195
86 | SD8 | 45 | 13 | 2.4808 | 0.39 |  | 322.688 | 46.495
86 | SD8 | 69 | 11 | 1.947 | 0.35 |  | 286.743 | 41.1
86 | SD8 | 90 | 9 | 2.8144 | 0.31 |  | 233.6095 | 32.22
86 | SD8 | 113 | 7 | 2.3714 | 0.37 |  | 183.6148 | 25.29
86 | SD8 | 134 | 6 | 1.7629 | 0.24 |  | 123.9789 | 17.47
86 | SD8 | 150 | 3 | 1.2478 | 0.19 |  | 80.5696 | 11.065
86 | SD8 | 175 | 2 | 1.2024 | 0.14 |  | 56.4844 | 7.625
86 | SD8 | 200 | 1 | 0.86614 | 0.14 |  | 25.8569 | 3.5
TMC12 | SD9 | 5 | 23 | 3.747 | 0.56 | SD9 (0-200m) | 404.6052 | 66.325
TMC12 | SD9 | 12 | 19 | 5.1729 | 0.72 |  | 385.8704 | 63.525
TMC12 | SD9 | 21 | 18 | 3.2138 | 0.54 |  | 354.6507 | 59.045
TMC12 | SD9 | 32 | 15 | 2.4155 | 0.42 |  | 316.9103 | 53.375
TMC12 | SD9 | 45 | 13 | 2.3708 | 0.48 |  | 285.949 | 48.095
TMC12 | SD9 | 70 | 11 | 2.6098 | 0.4 |  | 254.8381 | 42.245
TMC12 | SD9 | 90 | 9 | 1.843 | 0.28 |  | 192.5802 | 31.245
TMC12 | SD9 | 114 | 7 | 1.0446 | 0.23 |  | 148.0526 | 24.445
TMC12 | SD9 | 135 | 6 | 1.8456 | 0.22 |  | 113.4022 | 18.325
TMC12 | SD9 | 149 | 3 | 1.1575 | 0.2 |  | 83.0556 | 13.6
TMC12 | SD9 | 175 | 2 | 1.2494 | 0.2 |  | 62.034 | 10.66
TMC12 | SD9 | 201 | 1 | 1.1155 | 0.22 |  | 30.7439 | 5.46
94 | SD10 | 5 | 23 | 3.5185 | 0.53 | SD10 (0-200m) | 426.8789 | 63.15
94 | SD10 | 12 | 19 | 2.9039 | 0.45 |  | 409.2865 | 60.5
94 | SD10 | 32 | 15 | 2.7149 | 0.43 |  | 386.808 | 57.07
94 | SD10 | 45 | 13 | 2.6492 | 0.37 |  | 330.6199 | 48.27
94 | SD10 | 69 | 11 | 2.6807 | 0.43 |  | 295.7535 | 43.07
94 | SD10 | 90 | 9 | 3.1587 | 0.45 |  | 231.7944 | 33.47
94 | SD10 | 114 | 7 | 3.0484 | 0.41 |  | 170.4806 | 24.23
94 | SD10 | 135 | 6 | 1.8114 | 0.26 |  | 95.9956 | 13.91
94 | SD10 | 150 | 3 | 1.3019 | 0.19 |  | 44.9675 | 6.875
94 | SD10 | 175 | 2 | 0.42742 | 0.09 |  | 21.6171 | 3.5
98 | SD11 | 5 | 23 | 3.0037 | 0.55 | SD11 (0-200m) | 435.9374 | 65.42
98 | SD11 | 12 | 19 | 2.8819 | 0.49 |  | 420.9188 | 62.67
98 | SD11 | 21 | 18 | 3.8565 | 0.59 |  | 400.3191 | 59.03
98 | SD11 | 32 | 15 | 3.0841 | 0.43 |  | 369.9963 | 54.17
98 | SD11 | 45 | 13 | 2.3813 | 0.32 |  | 331.8232 | 48.56
98 | SD11 | 70 | 11 | 2.9985 | 0.39 |  | 296.2983 | 43.685
98 | SD11 | 90 | 9 | 2.9415 | 0.47 |  | 229.0505 | 34.81
98 | SD11 | 114 | 7 | 1.9125 | 0.28 |  | 169.65 | 26.21
98 | SD11 | 136 | 6 | 1.3163 | 0.23 |  | 111.4022 | 17.21
98 | SD11 | 151 | 3 | 1.0701 | 0.19 |  | 75.8856 | 11.6
98 | SD11 | 175 | 2 | 1.1712 | 0.16 |  | 57.9878 | 8.45
98 | SD11 | 200 | 1 | 1.3163 | 0.18 |  | 31.0932 | 4.25
102 | SD12 | 5 | 24 | 2.2006 | 0.42 | SD12 (0-200m) | 365.7851 | 64.91
102 | SD12 | 11 | 19 | 1.9414 | 0.35 |  | 354.7819 | 62.81
102 | SD12 | 19 | 18 | 2.4184 | 0.46 |  | 342.3557 | 60.5
102 | SD12 | 30 | 15 | 2.4002 | 0.44 |  | 324.9165 | 57.26
102 | SD12 | 43 | 13 | 2.6594 | 0.51 |  | 298.4142 | 52.31
102 | SD12 | 65 | 11 | 1.944 | 0.42 |  | 265.5265 | 46.135
102 | SD12 | 85 | 9 | 1.9466 | 0.34 |  | 214.8886 | 35.905
102 | SD12 | 108 | 7 | 2.3147 | 0.39 |  | 175.9822 | 28.305
102 | SD12 | 128 | 6 | 1.1664 | 0.2 |  | 126.9772 | 19.91
102 | SD12 | 150 | 3 | 1.5423 | 0.21 |  | 92.1662 | 14.01
102 | SD12 | 175 | 2 | 0.98497 | 0.18 |  | 62.3708 | 9.5
102 | SD12 | 200 | 1 | 1.4775 | 0.19 |  | 30.7804 | 4.625
150 | LDB | 5 | 23 | 6.2998 | 1.01 | LD-B (0-200m) | 496.4252 | 71.38
150 | LDB | 7 | 19 | 8.4727 | 1.03 |  | 464.9262 | 66.33
150 | LDB | 12 | 18 | 5.5712 | 0.9 |  | 450.1537 | 64.29
150 | LDB | 19 | 15 | 1.8661 | 0.37 |  | 415.044 | 59.465
150 | LDB | 42 | 11 | 2.2666 | 0.38 |  | 389.0135 | 55.02
150 | LDB | 56 | 9 | 2.3208 | 0.38 |  | 341.4879 | 46.395
150 | LDB | 69 | 7 | 2.9564 | 0.45 |  | 309.376 | 41.075
150 | LDB | 84 | 5 | 2.4225 | 0.39 |  | 275.0738 | 35.68
150 | LDB | 126 | 3 | 1.2822 | 0.17 |  | 234.7316 | 29.38
150 | LDB | 153 | 2 | 2.6516 | 0.23 |  | 156.933 | 17.62
150 | LDB | 205 | 1 | 1.3418 | 0.24 |  | 103.8278 | 12.22
151 | LDB | 250 | 20 | 0.57939 | 0.12
151 | LDB | 297 | 19 | 1.0548 | 0.08
151 | LDB | 396 | 18 | 1.9927 | 0.13
151 | LDB | 656 | 11 | 0.9747 | 0.08
151 | LDB | 798 | 7 | 0.43987
151 | LDB | 1001 | 5 | 1.5147
151 | LDB | 1251 | 4 | 1.2977
151 | LDB | 1500 | 3 | 1.2434
151 | LDB | 1744 | 2 | 1.1271
151 | LDB | 1997 | 1 | 1.6542
152 | SD13 | 5 | 23 | 1.1863 | 0.17617 | SD13 (0-200m) | 254.3873 | 34.5163
152 | SD13 | 25 | 19 | 1.1707 | 0.1827 |  | 248.4558 | 33.6355
152 | SD13 | 45 | 15 | 1.2174 | 0.17617 |  | 224.8856 | 30.0468
152 | SD13 | 55 | 13 | 1.6062 | 0.20227 |  | 201.0044 | 26.4582
152 | SD13 | 65 | 11 | 1.3185 | 0.18922 |  | 186.8864 | 24.566
152 | SD13 | 75 | 9 | 1.3263 | 0.19574 |  | 172.263 | 22.6085
152 | SD13 | 100 | 7 | 1.6865 | 0.19574 |  | 159.0394 | 20.6837
152 | SD13 | 150 | 5 | 1.1267 | 0.16965 |  | 121.3793 | 15.7901
152 | SD13 | 201 | 4 | 0.87524 | 0.091348 |  | 51.0488 | 6.6553
198 | LDC | 7 | 23 | 0.85608 | 0.14236 | LD-C (0-200m) | 244.8213 | 38.1532
198 | LDC | 17 | 19 | 1.0163 | 0.1553 |  | 238.8288 | 37.1567
198 | LDC | 27 | 18 | 1.0395 | 0.1553 |  | 229.467 | 35.6683
198 | LDC | 42 | 15 | 1.3857 | 0.23943 |  | 219.1881 | 34.1153
198 | LDC | 60 | 13 | 1.4503 | 0.21354 |  | 200.9985 | 31.1548
198 | LDC | 91 | 11 | 1.1274 | 0.19413 |  | 175.4738 | 27.078
198 | LDC | 120 | 9 | 1.4452 | 0.2459 |  | 135.5193 | 20.7591
198 | LDC | 136 | 7 | 1.4168 | 0.20707 |  | 98.2174 | 14.3786
198 | LDC | 150 | 6 | 1.6028 | 0.22002 |  | 75.322 | 10.7549
198 | LDC | 180 | 5 | 0.99043 | 0.14236 |  | 54.1853 | 7.7652
198 | LDC | 200 | 3 | 0.53828 | 0.090594 |  | 15.2871 | 2.3296
209 | SD14 | 6 | 23 | 1.4038 | 0.16393 | SD-14 (0-200m) | 327.2542 | 34.6214
209 | SD14 | 15 | 19 | 1.4658 | 0.16393 |  | 318.8312 | 33.6378
209 | SD14 | 26 | 18 | 1.5485 | 0.17687 |  | 305.9177 | 32.1624
209 | SD14 | 40 | 15 | 1.3547 | 0.1704 |  | 289.3387 | 30.2879
209 | SD14 | 55 | 13 | 1.6493 | 0.18982 |  | 269.0158 | 27.857
209 | SD14 | 85 | 11 | 1.7371 | 0.2157 |  | 246.4856 | 25.1553
209 | SD14 | 110 | 9 | 1.9697 | 0.18982 |  | 195.6893 | 19.0725
209 | SD14 | 139 | 7 | 2.0679 | 0.18982 |  | 149.3543 | 14.0036
209 | SD14 | 165 | 6 | 1.5123 | 0.15099 |  | 90.8102 | 8.4989
209 | SD14 | 200 | 3 | 1.0172 | 0.081487 |  | 44.2676 | 4.0684
212 | SD15 | 6 | 23 | 1.0688 | 0.11432 | SD-15 (0-200m) | 245.4546 | 29.3156
212 | SD15 | 16 | 20 | 1.2652 | 0.12079 |  | 239.0417 | 28.6297
212 | SD15 | 26 | 18 | 0.95512 | 0.12079 |  | 227.3718 | 27.4541
212 | SD15 | 41 | 15 | 1.2678 | 0.15962 |  | 216.2704 | 26.2462
212 | SD15 | 58 | 13 | 1.1877 | 0.19845 |  | 199.5988 | 24.1431
212 | SD15 | 88 | 11 | 1.4279 | 0.16609 |  | 178.7278 | 21.0996
212 | SD15 | 116 | 9 | 1.1085 | 0.14972 |  | 139.4937 | 15.6315
212 | SD15 | 148 | 7 | 1.4615 | 0.17903 |  | 103.9838 | 11.2102
212 | SD15 | 174 | 6 | 1.4951 | 0.12726 |  | 62.8637 | 5.9501
212 | SD15 | 199 | 3 | 0.45904 | 0.030198 |  | 24.4271 | 1.9683
Note on E47: Karine LEBLANC: extrapolé à 0,21 µM