# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name (list of the measured parameters):

Rosette Samples:

- Dissolved Inorganic Carbon (DIC) and Total Alkalinity (TA) – measured from same bottle sample

- Stable Oxygen Isotopes (δ18O)

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   GreenEdge – AMUNDSEN – 2016	LEG : 1a and 1b

Date begin : June 3, 2016

Date end : July 14, 2016

Chief Scientist: Marcel Babin (Leg 1a) and Jean-Eric Tremblay (Leg 1b)

Address :

Université Laval - UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

OPERATION (if Relevant)

Sampling method : Using the Amundsen’s rosette

Station number-Cast number :

All DIC/TA and δ18O samples were collected at the same casts and same depths :

Station name – Cast number :

G100 – 003

G101 – 005

G103 – 009

G106 – 011

G109 – 016

G112 – 021

G3000 – 047

G302 – 052

G308 – 061

G313 – 064

G320 – 076

G325 – 083

DIC-1 – 084

DIC-2 – 085

** Note: Samples collected from stations G100 to G106 froze in the refridgerated container and broke their bottles. Therefore there is no usable data from these stations/samples.

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Brent Else | 2500 University Dr NW, Calgary, AB, # T2N 1N4 | # 1-403-220-2484 |  | # belse@ucalgary.ca |
| # Lisa Miller | # Institute of Ocean Sciences, P.O Box 6000, 9860 West Saanich Road, Sidney, BC, V8L 4B2 | # +1 250 363 6673 |  | # Lisa.Miller@dfo-mpo.gc.ca |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Tonya Burgers | # 125 Dysart Road, Winnipeg, MB, Canada, R3T 2N2 |  |  | # tonya.burgers@umanitoba.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: Baffin Bay

LATITUDE:  67 - 71 N

LONGITUDE:  55 - 65 W

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: N/A

Manufacturer: N/A

Model: N/A

Instrument Features / Calibration: N/A

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

Sampling from the rosette niskin bottles was completed as soon as possible, using a tygon tube and overflowing one and a half sample volumes before shutting off the water flow. Each sample was poisoned with 100 μL of HgCl2, sealed with electrical tape and then stored in the dark at 4 °C.

Analytical procedure : (briefly, could be a short recall to a published reference):

The methods we use are essentially those in:

Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to

best practices for ocean CO2 measurements.PICES Special Publication 3,

191 pp.

This is freely available on the web: http://cdiac.ornl.gov/oceans/Handbook_2007.html.

Units:

DIC and TA are measured in μmol/kg

δ18O is measured in per mil (‰)

Sensor Precision:

The precision of these measurements can only be determined after analysis, which is still ongoing.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery :

Analysis of these samples is still on-going. The oxygen isotope samples will likely be completed in early February 2017, and the DIC and TA samples will likely be completed by the end of February 2017.

### REFERENCES BIBLIOGRAPHIQUES

Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to

best practices for ocean CO2 measurements.PICES Special Publication 3,

191 pp.