# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Absorption coefficients of particles (ap); T-R method

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   	GreenEdge – ICECAMP – 2015	LEG :

Date begin : 2015-114 (Julian day)

Date end : 2015-159 (Julian day)

Chief Scientist: Marcel Babin

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Sampling method : CTD, Ice core

Station number-Cast number :  114-159 (Julian day)

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # A. Matsuoka | # Takuvik | # +1 418 656 2131 #8831 |  | # Atsushi.Matsuoka@takuvik.ulaval.ca |
| # A. Bricaud | # LOV | # +33 4 93 76 37 13 |  | # annick.bricaud@obs-vlfr.fr |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # J. Ferland | # Takuvik | # +1 418 656 2131 #3198 |  | # Joannie.Ferland@takuvik.ulaval.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: Polar heaven ice camp site

LATITUDE: 67.4797 degN

LONGITUDE: 63.7895 degW

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: Spectrophotometer

Manufacturer: Agilent Technologies

Model: Varian Cary 100

Instrument Features / Calibration:

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Water column, bottom of the ice core (low and high snow conditions)

Analytical procedure : (briefly, could be a short recall to a published reference):

We followed the protocols made by Tassan and Ferrari. [1995, 2002], so-called T-R method, for particulate absorption measurements. Briefly, water samples were filtered under low vacuum on Whatman GF/F glass fiber filters immediately after water sampling. Optical density (OD, dimensionless) of all particles on these filters, referred to as ODp(λ) (subscript p denotes phytoplankton plus NAP), was then measured from 200 to 800 nm with 1 nm intervals using an Varian Cary 100 spectrophotometer (Agilent Technologies). The baseline correction was accomplished by subtracting the OD of a fully hydrated blank filter from ODp(λ). Using the coefficients for the β correction as proposed by Tassan and Ferrari [2002], we converted these OD values into absorption coefficients for total particles (ap(λ), m−1)

Units: m-1

Sensor Precision:

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery :

### REFERENCES BIBLIOGRAPHIQUES

-Tassan S., and G. M. Ferrari (1995), An alternative approach to absorption measurements of aquatic particles retained on filters, Limnol. Oceanogr., 40(8), 1358-1368.

-Tassan, S., and G. M. Ferrari (2002), A sensitivity analysis of the Transmittance-Reflectance’ method for measuring light absorption by aquatic particles, J. Plankton Res., 24(8), 757-774.