# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name (list of the measured parameters):

Imaging FlowCytobot

Phytoplankton images and taxonomy.

Biovolume and particle/cell size (length) per image also available (+ volume analysed).

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   	GreenEdge – ICECAMP – 2015	LEG : All

Date begin : April 22nd , 2015 (first sample)

Date end : July 12th, 2015 (last sample)

Chief Scientist: Marcel Babin

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Sampling method : Discrete sampling (CTD rosette and melted ice core samples)

Station number-Cast number :

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Marcel Babin | # Takuvik, UL |  |  | # Marcel Babin@takuvik.ulaval.ca |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Pierre-Luc Grondin | # Takuvik,UL | # 418-656-2131 #7740 |  | # pierre-luc.grondin.1@ulaval.ca |
| # Joannie Ferland | # Takuvik, UL | # 418-656-2131 #8831 |  | # joannie.ferland@takuvik.ulaval.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: Ice camp

LATITUDE:  67°28.784

LONGITUDE: 63°47.372

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: Imaging FlowCytobot, a high frequency submersible imaging flow cytometer

Manufacturer: Developed at Woods Hole Oceanographic Institution

Model: IFCB 013

Instrument Features / Calibration:

Sample volume :  5mL

Filter mesh :  150µm

PMT value : 0,8

Trigger value : 0,15

Pixel to micron ratio : 3.4px/µm

Software setup : Debubble with sample, Prime sample tubing, sample volume 5 ml, volume to skip 0,5

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

Using Niskin bottles, water samples at fixed depths (water-ice interface, 1.5m, 5m, 20m, 40m and 60m) were collected every two (2) days on the ice camp. 5mL samples were analyzed on the same day using the IFCB, upon arrival at the laboratory in Qikiqtarjuaq. Four (4) ice samples from ice cores (0-3cm and 3-10cm layers) at both low and high snow sites were also collected on the first day and melted. 5mL samples were analyzed on the next day with the IFCB. In order to prevent contamination between samples, Milli-Q water was run between samples.

Analytical procedure : (briefly, could be a short recall to a published reference):

Image descriptors/features are extracted on Matlab ©, with scripts developed by Heidi Sosik at WHOI, MA, USA. Taxonomy is done on Ecotaxa (Picheral M, Colin S, Irisson J-O. EcoTaxa, a tool for the taxonomic classification of images. http://ecotaxa.obs-vlfr.fr). Random forest algorithms are used for automatic classification. Reference set and validation of predictions are both done manually.

Units:

Sensor Precision: Resolution of images is ~3.4 pixel / µm.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

No other data is required to perform the IFCB data analysis.

Estimated Date of Delivery :  Spring 2017.

### REFERENCES BIBLIOGRAPHIQUES

Information about the IFCB (Olson and Sosik 2007, Sosik and Olson 2007) and analysis methodology (Laney and Sosik 2014)

- Laney, S. R. and H. M. Sosik (2014). "Phytoplankton assemblage structure in and around a massive under-ice bloom in the Chukchi Sea." Deep Sea Research Part II: Topical Studies in Oceanography(0)

- Olson, R. J. and H. M. Sosik (2007). "A submersible imaging-in-flow instrument to analyze nano-and

- microplankton: Imaging FlowCytobot." Limnology and Oceanography-Methods 5: 195-203.

- Sosik, H. M. and R. J. Olson (2007). "Automated taxonomic classification of phytoplankton sampled with imaging-in-flow cytometry." Limnology and Oceanography-Methods 5: 204-216.