# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Inorganic nutrients

nitrate (NO3), nitrite (NO2), phosphate (PO4), silicate (SiO4), ammonium (NH4)

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   	GreenEdge – ICECAMP – 2015	LEG :

Date begin :

Date end :

Chief Scientist: Marcel Babin

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Station number-Cast number :

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Raimbault | # M.I.O. - Marseille | # 33 (4) 86090539 |  | # Patrick.raimbault@mio.osupytheas.fr |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Raimbault | # M.I.O.- Marseille | # 33 (4) 86 090539 |  | # Patrick.raimbault@mio.osupytheas.fr |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location:

LATITUDE:

LONGITUDE

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type:

Manufacturer:

Model:

Instrument Features / Calibration:

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling and Analytical procedure

:

Nitrate (NO3), nitrite (NO2), phosphate (PO4), silicate (SiO4):

Water samples were transferred from the Niskin bottles into 20 ml polyethylene flasks. 100 µl of mercuric chloride (600mg/100ml) were added to poison the samples which stored at dark until analysis at laboratory.

Analysis were performed at the laboratory using an automated colorimetric procedure (Aminot et Kerouel, 2007).

For ammonium determination, 20 ml of water samples were transferred from the Niskin bottles into 60 ml polycarbonate tubes. Analysis was immediately performed at field using the fluorometric procedure (Holmes et al., 1999).

Units:

Nitrate in µmoles.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Nitrite in µmoles.l-1: detection limit= 0.03 µmoles.l-1   accuracy = ± 0.03µmoles.l-1

Phosphate in µmoles.l-1: detection limit= 0.02 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Silicates in µmoles.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Ammonium in nmoles.l-1: detection limit= 3 nmoles.l-1   accuracy = ± 5 nmoles.l-1

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : February 2016

### REFERENCES BIBLIOGRAPHIQUES

Aminot, A., Kérouel, R., 2007. Dosage automatique des nutriments dans les eaux marines : méthodes en flux continu. Ed. Ifremer, Méthodes d’analyse en milieu marin 188 pp.

Holmes R.M .,Aminot A., Kerouel R., Hooker B.A., Peterson B.J., 1999. A simple and precise method for measuring ammoniumin marine and freshwater ecosystems. Can J. Fish. Aquat. Sci., 56: 1801-1808