# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Primary production and nitrogen assimilation  by dual labelling 13C/15N

Primary production

Nitrate assimilation

Nitrate regeneration

Ammonium assimilation

Ammonium regeneration

Dissolved organic nitrogen release

PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   	GreenEdge – ICECAMP – 2015	LEG :

Date begin :

Date end :

Chief Scientist: Marcel Babin

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Station number-Cast number :

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Raimbault | # M.I.O. - Marseille | # 33 (4) 86090539 |  | # Patrick.raimbault@mio.osupytheas.fr |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Raimbault | # M.I.O.- Marseille | # 33 (4) 86 090539 |  | # Patrick.raimbault@mio.osupytheas.fr |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location:

LATITUDE:

LONGITUDE

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type:

Manufacturer:

Model:

Instrument Features / Calibration:

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling and Analytical procedure

. Water was transferred from the Niskin bottles with a Teflon tube into three 600 ml polycarbonate bottles. After addition of 13C tracer (H13CO3 mg.l-1), samples were spiked with inorganic nitrogen labelled with 15N. One sample was spiked with 100µl of 15N-NH4 (1µmole.ml-1), a second with 50µl of 15N-NO3 (1µmole.ml-1). After tracer addition, samples were placed into different plastic boxes covered by a nickel screen simulating different light intensity corresponding to the depths of sampling. Incubation was stopped after 24 hours and samples were immediately filtered on Whatman GF/F filters (25 mm in diameter) precombusted at 500°C. Filters were dried at 60°C during12 hours and stored dry until mass-spectrometer analysis. Filtrates were poisoned with 1 ml HgCl2 (6g.l-1) and stored until analysis

Analysis

13C/ 15N enrichments on filters were measured on an CN-Sercon  mass-spectrometer according Raimbault and Garcia. (2008).

Filtrates were treated as proposed by Slawyk and Raimbault (1995) and Raimbault et al. (1999) to quantify ammonium regeneration, nitrification and dissolved organic nitrogen.

Units:

Primary production in µmolesC.l-1 .d-1		accuracy = ± 0.5 µmolesC.l-1 .d-1

Nitrate assimilation in nmolesN.l-1 .d-1		accuracy = ± 0.5 nmolesN.l-1 .d-1

Ammonium assimilation in nmolesN.l-1 .d-1		accuracy = ± 0.5 nmolesN.l-1 .d-1

Nitrate regeneration in nmolesN.l-1 .d-1		accuracy = ± 1 nmolesN.l-1 .d-1

Ammonium regeneration in nmolesN.l-1 .d-1		accuracy = ± 1 nmolesN.l-1 .d-1

DON release in nmolesN.l-1 .d-1:   			accuracy = ± 1 nmolesN.l-1 .d-1

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : April 2016

### REFERENCES BIBLIOGRAPHIQUES

Slawyk G., Raimbault P.,1995. A simple procedure for the simultaneous recovery of dissolved inorganic and organic nitrogen in 15N-tracer experiments on oceanic waters improving the mass balance. Mar. Ecol. Prog. Ser.,124: 289-299

Raimbault P., Slawyk G., Boudjellal B., Coatanoan C., Conan P., Coste B., Garcia N., Moutin T., Pujo-Pay M., 1999. Biomass, new production and export in the equatorial Pacific at 150°W: Evidence for intense nitrogen recycling. J. Geophys. Res. 104, 3341-3356.

Raimbault P., N. Garcia (2008). Evidence for efficient regenerated production and dinitrogen fixation in nitrogen-depleted waters of the South Pacific Ocean: Impact on new and export production estimates. Biogeosciences., 5, 323-338.