# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Fluorescence of colored dissolved organic matter (Fcdom)

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   	GreenEdge – ICECAMP – 2016	LEG :

Date begin : 2016-127 (Julian day)

Date end : 2016-204 (Julian day)

Chief Scientist: Marcel Babin

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Sampling method : Niskin bottle

Station number-Cast number :  127-204 (Julian day)

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # A. Matsuoka | # Takuvik | # +1 418 656 2131 #3198 |  | # Atsushi.Matsuoka@takuvik.ulaval.ca |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # J. Ferland | # Takuvik | # +1 418 656 2131 #8831 |  | # Joannie.Ferland@takuvik.ulaval.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: Polar heaven ice camp site

LATITUDE: 67˚28.784N

LONGITUDE 063˚47.372W

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: Fluorescence spectrophotometer

Manufacturer: Horiba

Model: Fluorolog

Instrument Features / Calibration:

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Water column

Analytical procedure : (briefly, could be a short recall to a published reference):

Surface water samples were collected directly from a Rosette Niskin bottle into a carboy pre-rinsed with MilliQ water. In total, 121 samples were collected for Fcdom analyses. Those samples were filtered within 4-5 hours after sampling, in dim light, using 0.2 μm GHP filters (Acrodisc Inc.) pre-rinsed with 200 ml of Milli-Q water. After the filtration, the samples were stored at 4 ˚C in the dark and brought to the Takuvik lab after the field campaign. Fluorescnence of the samples will be measured. Parallel factor analysis (PARAFAC; Stedmon and S. Markager, 2005) will then be applied to quantify sources and compositions of CDOM.

Units: Raman

Sensor Precision:

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery :

### REFERENCES BIBLIOGRAPHIQUES

Stedmon, C. A., and S. Markager (2005), Resolving the variability in dissolved organic matter fluorescence in a temperate estuary and its catchment using PARAFAC analysis, Limnol. Oceanogr., 50(2), 686-697.