# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name (list of the measured parameters): Bacterial production

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   GreenEdge – ICECAMP – 2016

Date begin : 4 May 2016

Date end : 6 July 2016

Team Responsible: F. Joux/ V. Galindo

Address :

Laboratoire d'Océanographie Microbienne (LOMIC) - UMR 7621 CNRS-UPMC
Avenue Fontaulé - 66650 Banyuls sur mer, France

____________________________________________________________________

Centre for Earth Observation Science (CEOS), Faculty of Environment, Earth and Ressources, University of Manitoba, Wallace building, local 495

Winnipeg R3T 2N2, Manitoba (CANADA)

OPERATION (if Relevant)

Sampling method :

Station number-Cast number :

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # JOUX Fabien | # LOMIC, Av. Fontaulé - 66650 Banyuls sur mer | # 33 (0)4 68 88 73 42 |  | # joux@obs-banyuls.fr |
| # GALINDO Virginie | # U. of Manitoba, Wallace building | # +1 204 474 9980 |  | # virginie.galindo@umanitoba.ca |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # GALINDO Virginie | # U. of Manitoba, Wallace building | # +1 204 474 9980 |  | # virginie.galindo@umanitoba.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: Qiqiktarjuak ice camp

LATITUDE: 67°28.6’ N

LONGITUDE: 63°46.9’ W

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: Scintillation counter

Manufacturer: QuantaSmart TM

Model: TriCarb 2910 TR

Instrument Features / Calibration: A quench curve was realised before the analysis of samples.

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: The measurements of bacterial production were realized at least at 5 depths in the water column (1.5, 5, 10, 20 and 40m) and sometimes at the ice-water interface from 4 May to 6 July. The water column samples were collected with Niskin bottles. In addition, some measurements were realized in the bottom ice (last cm) from 4 May to 27 June but the data before 18May seem to be erroneous due to a FSW contamination. In addition, two experiments with addition of nutrients were realized at the beginning of May and June.

Analytical procedure : (briefly, could be a short recall to a published reference):

BP was measured by 3H-leucine incorporation (Kirchman, 1993) as modified by Smith and Azam (1992).

The first step was to collect 1 ml of each sample in three 2ml-microtubes (Eppendorf SafeLock). In the first tube, 100 µl of TCA (50%) was added before the addition of 3H leucine, and it will be considered as the “control” tube or the value that will be subtracted to the samples. After adding 3H leucine in the three microtubes (Final concentration 20nmol L-1), they were mixed and thereafter incubated at in situ temperature in the dark inside a temperature-controlled chamber for at least 4h. After the recovery of microtubes, 100 µl of trichloroacetic acid (TCA) at 50% was added in each microtube to stop the incubation. They were mixed and stored at least for 1h at 4°C to precipitate the macromolecules.

The second step was to centrifuge the microtubes at 12,000 rpm during 15 min and thereafter remove the supernatant by reversal in a dedicated beaker. 0.5 ml cold TCA at 5% was added and the microtubes were centrifuge at 12,000 rpm during 5 min before removing the supernatant by reversal in a dedicated beaker. 0.5mL cold 70% ethanol was added and the same previous steps were followed (5min centrifuge and removing). The samples were stored at -20°C until the analysis of samples in Quebec city, where 1 ml of scintillation cocktail was added under the fumehood.

Units: pmolLeu/L.d. Leucine incorporation rates were converted into carbon production using the conversion factor of 1.5 kg C produced per mole of leucine incorporated (Kirchman et al., 2009a) and considering no isotope dilution.

Sensor Precision:

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : Samples already analysed, we just need to verify the values thus the data should be available for January 2017.

### REFERENCES BIBLIOGRAPHIQUES

Kirchman, D. L. (1993).Leucine incorporation as a measure of biomass production by heterotrophic bacteria, in: Handbook of methods in aquatic microbial ecology, edited by: Kemp, P. F., Sherr, B.

F., Sherr, E. B., and Cole, J. J., Lewis Publishers, Boca Raton, 509–512,

Kirchman, D. L., Hill, V., Cottrell, M. T., Gradinger, R., Malmstrom, R. R., and Parker, A. (2009) Standing stocks, production, and respiration of phytoplankton and heterotrophic bacteria in the

western Arctic Ocean, Deep-Sea Res. Pt. II, 56, 1237–1248,

Smith, D. C. and Azam, F. (1992) A simple, economical method for measuring bacterial protein synthesis rates in seawater using 3Hleucine, Mar. Microb. Food Webs, 6, 107–114,