# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name (list of the measured parameters):

Highly Branched Isoprenoid lipids from sea ice, water column

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   GreenEdge – ICECAMP – 2016

Date begin : April 29th 2016

Date end : July  22th 2016

Chief Scientist: Marcel Babin/Joannie Ferland/Marie-Hélène Forget

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

OPERATION (if Relevant)

Sampling method : From Niskin and Ice cores

*Ice cores of 14,5cm diameter where pooled and melted with a known volume of fresh filtered (0.2 um) seawater overnight in a cooler prior filtration.

Station number-Cast number :

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Guillaume Massé | # Université Laval Pavillon Alexandre-Vachon TAKUVIK 1045 ave de la Médecine Québec, QC Canada G1V 0A6 | # 418 656-2131 poste 8534 | # 418 656-2339 | # guillaume.masse@takuvik.ulaval.ca |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Caroline # Guilmette | # Université Laval Pavillon Alexandre-Vachon TAKUVIK 1045 ave de la Médecine Québec, QC Canada G1V 0A6 | # 418 656-2131 poste 8101 | # 418 656-2339 | # caroline.guilmette@takuvik.ulaval.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant): Ice camp, Polarhaven

Location: Qiqiktarjuaq Landfast ice, off Qikiqtarjuaq, Nunavut, Canada

LATITUDE:  63˚28.784N

LONGITUDE:  063˚47.372W

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: GC-MS

Manufacturer: Agilent

Model: Mass Spectrometer 5975A and GC 7890A

Instrument Features / Calibration:

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

Water:  under ice-1.5-10-20-40 meters depth,

Ice: 0-3cm and 3-10 cm

Analytical procedure: (briefly, could be a short recall to a published reference):

Lipid extraction and analysis

Each of the biomarkers of interest (IP25, fatty acids and sterols) required initial extraction from the filtered material retained on Whatman GF/F filters, with subsequent separation into three fractions to enable analyses based on individual lipid polarity and volatility. Four internal standards were added to each filtered sample prior to extraction to permit quantification of lipid biomarkers. Samples were then saponified (5% KOH; 90°C; 60 min), after which, the non-saponifiable lipids (NSLs) were extracted into hexane (3 × 1 mL) and purified by open column chromatography (SiO2) to yield apolar lipids (hexane; 3 column volumes) followed by sterols (dichloromethane-methanol; 3 column volumes). Fatty acids were obtained by the addition of concentrated HCl (1 mL) to the saponified solutions (after extraction of NSLs) followed by re-extraction into hexane (3 × 1 mL). All fractions were analysed by gas chromatography–mass spectrometry (GC–MS; HP-5ms; Belt et al. 2007). Fatty acids (BF3-Methanol; 500 μL; 80°C; 60 min) and sterols (BSFTA; 50 μL; 7 0°C; 30 min) were derivatised prior to analyses by GC–MS. Mass spectrometric analyses were carried out either in total ion current (TIC) or single ion monitoring (SIM; m/z 350.3) mode; the latter being particularly useful for the detection of relatively low concentrations of IP25. Individual lipids were identified on the basis of their characteristic GC retention indices and mass spectra (IP25; Belt et al. 2007) with fatty acids and sterols also being identified by co-injection with authentic standards. Quantification of lipids was achieved by comparison of mass spectral responses of selected ions compared to those of the internal standards and normalised according to relative response factors and sea ice volumes

Units: ngL-1

Sensor Precision:

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery:

### REFERENCES BIBLIOGRAPHIQUES

Belt, S.T., G. Massé, S.J. Rowland, M. Poulin, C. Michel, and B. Leblanc. 2007. A novel chemical fossil of palaeo sea ice: IP25. Organic Geochemistry 38: 16–27.

Brown, T.A., Belt, S.T., Philippe, B., Mundy, C.J., Massé,  G., Poulin,M., Gosselin, M.. 2011. Temporal and vertical variations of lipid biomarkers during a bottom ice diatom bloom in the Canadian Beaufort Sea: further evidence for the use of the IP25 biomarker as a proxy for spring Arctic sea ice.

Polar Biology 34: 1857-1868.