# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name (list of the measured parameters): 
Chlorophyll a

Phaeopigments

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   	GreenEdge – ICECAMP – 2015	LEG : ALL

Date begin : Julian day 120, 29th April 2016

Date end : Julian day 204, 22th July 2016

Chief Scientist: Marcel Babin/Joannie Ferland/Marie-Hélène Forget

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Sampling method : From Niskin and pumped seawater as well as diluted Ice cores*

*Ice cores of 14,5cm diameter where pooled and melted with a known volume of fresh filtered (0.2 um) seawater overnight in a cooler prior filtration.

Station number-Cast number :  Julian Day

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Marcel Babin | # 1045 ave de la Médecine, Université Laval, Québec, QC, G1V0A6, Canada | # 418-656-2205 | # 418-656-2339/ | # marcel.babin@takuvik.ulaval.ca |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Joannie Ferland | # 1045 ave de la Médecine, Université Laval, Québec, QC, G1V0A6, Canada | # 418-656-2131 #8831 | # 418-656-2339 | # joannie.ferland@takuvik.ulaval.ca |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant): Ice camp, Polarheven

Location: Landfast ice, off Qikiqtarjuaq, Nunavut, Canada, Polarhaven

LATITUDE:  67.4796N

LONGITUDE -63.7900W

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: Fluorometer

Manufacturer: Turner Design

Model: AU-10

Instrument Features / Calibration:

calibration coefficient obtained with pure chlorophyll a (Sigma C6144)

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: The method involve six steps: (1) filtration, (2) extraction, (3) measurement, (4) acidification, (5) re-measurement, and (6) calculation.

(1)The sample is filtered under a vacuum through a GF/F 25mm diameter glass fiber filter. (2) The filter is than soak in 10 mL of acetone 90% in a glass scintillation vial under dark and freezing (-20˚C) conditions for 24hours.

(3) The extract is poured into a cuvette (13x100mm borosilicate culture tube) and measured using the fluorometer.

(4) The sample is acidified with 3 drops of HCl 0,5N

(5) The extract is read again in the fluorometer

(6) The concentration of chlorophyll a and phaeopigments is calculated, see Analytical procedure.

Analytical procedure : (briefly, could be a short recall to a published reference):

Fluorescence was converted in chlorophyll a using :

Chlorophyll a= Fd*(A/(A-1))*(Rb-Ra)*v/V

Phaeopigments = Fd*(A/(A-1)*((A*Ra)-Rb)*v/V

Where

Fd= calibration coefficient obtained with pure chlorophyll a (Sigma C6144)

A = Acid ratio (Rb/Ra)

Rb = Fluorescence of sample extract before acidification.

Ra = Fluorescence of sample extract after acidification.

v = extraction volume (10 mL )

V: filtrated volume (L)

Units: mg m-3

Sensor Precision:

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : January 2017

### REFERENCES BIBLIOGRAPHIQUES

Holm-Hansen O & Rieman B., 1978. Chlorophyll a determination: improvements in methodology. Oikos, 30, 438-447.

Parsons T.R, Maita Y. & Lalli C.M., 1984. A manual of Chemical and Biological Methods for Seawater Analysis.173p.

Yentsch C.S. & Menzel D.W., 1963. A method for the determination of phytoplancton chlorophyll and phaeophytin by fluorescence. Deep Sea Res., 10: 221-231.