# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

#### Nom du DATASET / Data SET NAME

Data set Name (list of the measured parameters): Phytoplankton pigments

Including:

Chlorophyll c3

sum Chlorophyll c2+c1

Sum Chlorophyllide a

Peridinin

Sum Phaeophorbid a

19'-Butanoyloxyfucoxanthin

Fucoxanthin

Neoxanthin

Prasinoxanthin

Violaxanthin

19'-Hexanoyloxyfucoxanthin

Diadinoxanthin

Alloxanthin

Diatoxanthin

Zeaxanthin

Lutein

Bacteriochlorophyll a

Divinyl Chlorophyll b

Chlorophyll b

Total Chlorophyll b

Divinyl Chlorophyll a

Chlorophyll a

Total Chlorophyll a

sum Phaeophytin a

Sum carotenes

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   Green Edge – ICECAMP – 2016	LEG : ALL

Date begin: April 29 2016, Julian Day 123

Date end: July 22 2016, Julian day 204

Chief Scientist: Marcel Babin

Address :

Université Laval

UMI Takuvik

1045 avenue de la médecine

Québec, QC, G1V0A6, Canada

### OPERATION (if Relevant)

Sampling method: Vacuum filtration on GF/F Whatman 25mm filters.

Station number-Cast number:  2016XXX, X: Julian day

Operation code: HPLC

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Hervé Claustre | # Laboratoire d’Océanographie de Villefranche | +33 (0)4 93 76 37 29 |  | # Herve.claustre@obs-vlfr.fr |

### DATASET contact

| # Nom / name | # adresse / # address |  | # téléphone / phone number | # fax / # fax number |  | # adresse mél / # email address |
| --- | --- | --- | --- | --- | --- | --- |
| # Josephine Ras |  | # Laboratoire d’Océanographie de Villefranche | # +33 (0)4 93 76 38 75 |  |  | # jras@obs-vlfr.fr |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant): Qikiqtarjuaq Ice camp

Location: Ice camp, polarhaven

LATITUDE: 67˚28.784N

LONGITUDE 63˚47.372W

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type:  HPLC

Manufacturer: Agilent

Model: Technologies 1200

Instrument Features / Calibration:

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Vacuum filtration on GF/F Whatman 25mm filters. Filtered volumes for seawater samples: 2L, Ice core samples: variable between 100 mL and 500 mL. Samples were placed in cryovials, stored at -80°C, and transported in liquid nitrogen.

Analytical procedure : (briefly, could be a short recall to a published reference):

Filters extracted in 100% methanol, disrupted by sonication and clarified by filtration (GF/F Whatman). Extraction time lasts 2 hours.

Analysis by HPLC carried out the same day. Instrument: HPLC Agilent Technologies 1200

The analytical procedure is described in Ras et al. (2008).

Detection of carotenoids and chlorophylls c and b (Diode Array detector): 450 nm, chlorophyll a and derivatives: 676 nm, bchla : 770 nm.

Units: mg.m-3

Sensor Precision:

Performance metrics: 	Tchla injection precision : 0.91%; Tchla accuracy (SeaHARRE-6): 3.72%; Retention time precision: 0.10%

undetected pigments are represented by "LOD”: Limits of detection, calculated in ng per injection and as the concentrations corresponding to a signal:noise ratio of 3 and for a filtered volume of 1 L.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

The phytoplankton pigment dataset will need to be completed and validated using CTD data when available.

Estimated Date of Delivery:

# 1 April 2017

### REFERENCES BIBLIOGRAPHIQUES

Ras J, Uitz, J, and H. Claustre (2008). Spatial variability of phytoplankton pigment distributions in the Subtropical South Pacific Ocean: comparison between in situ and modelled data. Biogeosciences, 5, 353-369