Dissolved Inorganic Phosphate (DIP) turnover time measurements

Thierry MOUTIN, Romain MAURIAC, Agathe TALARMIN

Laboratoire d’Océanographie et de Biogéochimie UMR-6535-CNRS, Centre d'Océanologie de Marseille, Campus de Luminy, 13288 Marseille Cedex 9

romain.mauriac@univmed.fr

Dissolved Inorganic Phosphate Turnover time (TDIP) was measured in 10-ml samples spiked with 100 µl  of a 66.5 pM carrier-free 33PO4 solution (Perkin Elmer). Samples were incubated in polycarbonate vials using on-deck incubators. Incubation (15 min) was stopped by a 100-μl addition of 10 mM non-radioactive KH2PO4 (Cold Chase). Filtration was performed in less than 1 h on 0.2 μm (25 mm diameter) Millipore polycarbonate filters with no more than 200 mbar pression. Radioactivity on filters (cpm) was measured by scintillation liquid counting and TDIP was calculated from the equation:

with:

DIP turnover time (hours)

Incubation time (hours)

Radioactivity measured on the filter

Radioactivity for the blank (sample is cold chased before incubation)

Total radioactivity added to the sample

Detailed protocol can be foud in Thingstad et al. (1993) & Moutin et al. (2002)

- Thingstad, T. F., E.F. Skjoldal & R.A. Bohne, 1993: Phosphorus cycling and algal-bacterial competition in Sandsfjord, western Norway. Marine Ecology Progress Series, 99, 239-259.

- Moutin, T., T.F. Thingstad, F. Van Wambeke, D. Marie, G. Slawyk, P. Raimbault & H. Claustre, 2002: Does competition for nano-molar phosphate supply explain the predominance of the cyanobacterium Synechococcus? Limnology and Oceanography, 47, 1562-1567.