FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Aerosols: 25% HAc soluble trace metals

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME : GEOVIDE

Date begin : 15 May 2014

Date end : 30 june 2014

Chief Scientist: Sarthou Géraldine

Address :	UMR CNRS 6539/LEMAR/IUEM

Technopole Brest Iroise

Place Nicolas Copernic

F - 29280 Plouzane

Phone: (33) (0)2 98 49 86 55

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : High volume TSP MFC sampler (model TE-5170V; Tisch Environmental)

Station number-Cast number :  geoa-x

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

### DATASET contact

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location:

LATITUDE:

LONGITUDE

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION

(Sample collection) Instrument Type: High volume TSP MFC sampler

(Sample collection) Manufacturer: Tisch Environmental

(Sample collection) Model: TE-5170V

(Sample collection) Instrument Features / Calibration:

(Trace metal determination) Instrument Type: High resolution, magnetic sector ICP-MS

(Trace metal determination) Manufacturer: Thermo-Fisher

(Trace metal determination) Model: Element-2

(Trace metal determination) Instrument Features / Calibration: Internal standard = Indium

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Aerosol samples were collected on Whatman 41 filters (mixed cellulose esters) using a sector and wind speed-controlled high volume TSP sampler (Tisch Environmental) positioned as high above sea-level, and as far forward on the ship, as possible (Shelley et al., 2015).

Methods: Samples were leached with 25% acetic acid, using hydroxylamine hydrochloride as the reducing agent, with a 10 min heating step at 90 °C, following the protocol of Berger et al. (2008). This was a sequential leach as the samples had previously been leached using the ‘instantaneous’, flow-through protocol of Buck et al. (2006). Data for the ‘instantaneous’ leach has been submitted to LEFE-CYBER as ‘aerosols – uhp water soluble trace metals. Samples were analysed by high-resolution, magnetic sector ICP-MS (Thermo-Fisher Element-2). Metals determined: Al, P, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, Mo, Y, Zr, Cd, Ba, Pb.

Units: ng metal / m3 air filtered

Sensor Precision: Analytical precision ≤ 2%

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery: 1/8/15

### REFERENCES BIBLIOGRAPHIQUES

Berger, J. M., Lippiatt, S.M., Lawrence, M.G., and Bruland, K.W. 2008. Application of a chemical leach technique for estimating labile particulate aluminum, iron, and manganese in the Columbia River plume and coastal waters off Oregon and Washington. Journal of Geophysical Research. 113. Doi : 10.1029/2007JC004703.

# Text boxes

| Nom / name | adresse / address | téléphone / phone number | fax / fax number | adresse mél / email address |
| --- | --- | --- | --- | --- |
| SHELLEY, Rachel | LEMAR | 02-98-49-86-60 |  | rachel.shelley@univ-brest.fr |

| Nom / name | adresse / address | téléphone / phone number | fax / fax number | adresse mél / email address |
| --- | --- | --- | --- | --- |
| SHELLEY, Rachel | LEMAR | 02-98-49-86-60 |  | rachel.shelley@univ-brest.fr |