## Decision tree
Provide Mandatory Dataset Information:
(1) These information are required to provide a high level dataset overview
- this form must be completed and submitted with data file(s)
Physical samples:
(2b) Please complete
Sample data attributes
Provide details of the measurement attributes based on the type of data in submission file(s).
In-situ sensor (e.g. ADCP, CTD)
(2a) Please complete
In-situ sensor data attributes
Level 1 Metadata
Level 2 Attributes

## (1) Dataset overview
GDAC Dataset Metadata Template - updated 18/09/2016
(1) | High level descriptive information about the dataset |  | * = must complete field. All other fields as appropriate.
* | Dataset title: | Biogenic silica concentrations along the GEOVIDE transect (GEOTRACES GA01) in the North Atlantic, measured on samples collected by in-situ pumps |  |  | Should be descriptive to distinguish from similar datasets (e.g. "Micro-molar nutrient measurements from CTD niskin collected depth profiles along a north-south transect in the Atlantic Ocean on cruise AMT19/JC039" as opposed to "Nutrient data").
* | Chief Scientist on cruise: | Géraldine Sarthou and Pascale Lherminier |  |  | Chief Scientist on cruise.
* | Data Originator(s): | Nolwenn Lemaitre; Morgane Gallinari; Manon Le Goff; Stéphane Roig; Frédéric Planchon |  |  | List of Data Originators who were involved in sampling/ analysing the data. Separate Data Origintors using ";". Please also highlight the best Data Originator to contact with questions about these data.
* | Institute(s): | LEMAR (France); VUB (Belgium) |  |  | Institute(s) where the Data Originator(s) were when the dataset was generated. Separate institutes using ";".
* | Contact email(s): | nolwenn.lemaitre@erdw.ethz.ch |  |  | To whom any questions about the dataset should be addressed.
| Additional contributors: |  |  |  | Those who have helped in the collection of the data that are not included in the Data Originators list. Separate contributors using ';'.
* | Project: | French National Research Agency (grants: ANR-13-BS06-0014; ANR12-PDOC-0025-01; ANR-10-LABX-19) |  |  | Project or grant that funded the collection and analyses of samples to generate the data set contents.
* | Funded by: | Flanders Research Foundation (project G071512N) and the Vrije Universiteit Brussel (strategy research program: project SRP-2) |  |  | Organisation(s) that funded the project or grant under which the dataset was collected. Seperate multiple organisations using ';'.
* | Dataset abstract: | During GEOVIDE, two particle size classes (> 53 µm and 1-53 µm) were collected using in-situ large-volume filtration systems (ISP; McLane pumps). Particles for the analyses of biogenic silica (BSi) were filtered on paired 142mm-diameter filters, consisting of a 53-µm mesh nylon screen (Petex; polyester) for the large size particle fraction (LPT) and a 0.8-µm polyethersulfone filter (Supor®) for the small size particle fraction (SPT). Large particles were washed off the Petex screen and were then collected on polycarbonate filters (PC; Nuclepore®, porosity=0.4μm, diameter=25mm). This PC filter was Beta counted for determining 234Th activities. Back in the lab, at LEMAR, BSi was estimated after two alkaline digestions (0.2M NaOH at 95°C during 1h) allowing the correction of the lithogenic silica: BSi = [Si1] – [Al1] × (Si/Al)2 Si concentrations were determined using an AutoAnalyser3 Bran&Luebbe (automated acid/molybdate colorometric method). Al concentrations were determined by a fluorimetric method (fluorimeter JASCO FP920) detecting a complex Aluminium-Lumogallion |  |  | Short summary covering why, who, where, when, what measurements are contained within and how the dataset was generated.
* | Temporal coverage - Start date: | 2014-05-17 | As format "yyyy-mm-dd".
* | End date: | 2014-06-27 | As format "yyyy-mm-dd".
* | Time zone of date/time in file: | UTC | e.g. UT, UT+1, ...
| If time-series - resolution of data: |  | e.g. Hourly, daily,weekly, monthly, yearly
|  | Degrees | Minutes | Limits to bounding box containing the data coverage.
* | Geographic coverage - N (top): | 59.9016 °N |  | +ve = N; -ve = S
| S (bottom): | 38.4329 °N |  | +ve = N; -ve = S
| E (right): | - 9.4595 °E |  | +ve = E; -ve = W
| W (left): | - 53.8219 °E |  | +ve = E; -ve = W
| Lat/Lon reference system: |  | e.g. WGS 84
| Lat/Lon precision/source: |  | e.g. GPS, chart, nominal station location
| Site/station names or identifier (for geographic locations that have been or are intended to be repeatedly visited for sampling): |  |  |  |  | Are any of the locations visited repeatedly - have these locations been given names? If these are not well known repeat sampling sites (like e.g. PAP or L4) then please supply the official location and, if available, nominal water depth of these stations or a link to a document where the official location and water depth of the station has been published.
* | Original submission date: | 2020-05-05 | Date the data are sent to GDAC. If this set of data set has been sent previously then please set this field to the date it was first submitted and provide details of the changes made and the date of data resubmission in the area provided below (see cell B53).
* | Dataset version:
* | Additional document filename(s): |  |  |  |  | Name of associated document containing additional details not covered in this file.
* | Data embargoed or public? | Public | For NERC fully (and part) funded data the maximum embargo period is 2 years from data generation. PhD students may negotiate an extension, on a case-by-case basis, beyond 2 years if the standard embargo period ends before the studentship. Scientists can have a shorter embargo period or make the data publicly available immediately. Those data that are not UK funded will only be made public when permission has been given by the PI.
If embargoed, runs to when?
* | Request a DOI for this dataset? |  | Data must be publicly available for a DOI to be issued. If data are embargoed and a DOI is requested the DOI will be issued at the end of the embargo period.
| Type of sampling platform for in-situ sensors or sample collection: |  |  |  |  | e.g. research vessel, jetty, offshore structure, sub-surface mooring,...
Platform name or ID:
Cruise/Deployment name or ID:
| Link to cruise report available? |  |  |  |  | Please include link to cruise report if possible. UK cruise reports can be found at https://www.bodc.ac.uk/data/information_and_inventories/cruise_inventory/search/.
* | Sampling protocol/ collection details: | Our sampling method follows the GEOTRACES cookbook: During GEOVIDE, two particle size classes (> 53 µm and 1-53 µm) were collected using in-situ large-volume filtration systems (McLane pumps; hereafter referred to as ISP) equipped with 142 mm diameter filter holders. Particles for the analyses of biogenic silica (BSi) (and particulate trace and major elements) were filtered on paired 142mm-diameter filters, consisting of a 53-µm mesh nylon screen (Petex; polyester) for the large size particle fraction (LPT) and a 0.8-µm polyethersulfone filter (Supor®) for the small size particle fraction (SPT). Before being used for sampling, filters were placed in an acid cleaned container (PETEX) or 1L-LDPE bottle (Supor) containing 1.2M HCl (Suprapur grade, Merck). The containers were then double bagged in Ziploc bags and placed in an oven at 60°C overnight. After cooling, the acid solution was removed and filters were thoroughly rinsed with Milli-Q water. Due to the slow release of acid from the filters, this rinsing step took days in order to reach a pH value slightly lower to 7. Filters were then kept in Milli-Q until use. On board, filters were processed under a laminar flow unit within a customized clean “bubble” to prevent contamination. Before and after the ISP recoveries, pump heads were covered with plastic bags to minimize contamination. After pump recoveries, filter heads were dismantled and carried inside the clean bubble. The Petex screen, with large particles, was cut out in quarters by using a clean ceramic scalpel. Particles from one quarter (between 10 and 794 L of filtered seawater), dedicated to BSi and 234Th analyses, were washed off the Petex screen using 0.45-μm filtered seawater collected during the cruise. Particles were then collected on polycarbonate filters (PC; Nuclepore®, porosity=0.4μm, diameter=25mm) mounted on a polysulfone filtration unit. Filters were left to dry at room temperature inside a laminar flow unit and subsequently prepared for Beta counting. After Beta counting, filters were stored in clean Petri slides at -20°C until further analysis. Supor membranes (0.8 µm porosity) were sub-sampled for BSi (and particulate trace and major elements) analyses, using a 13 mm diameter disposable skin biopsy Acupunch, each punch corresponding between 1 and 28 L of seawater. These punches were not Beta counted and were directly stored in clean Petri dishes (Petrislide, Millipore), double bagged in Ziploc bags and stored at -20°C until analysis in the home laboratory (LEMAR). |  |  |  | To cover: Sampling methods (including type of bottle used), CTD station identifier, sample identifier (i.e. sub sample bottle number). For in-situ sensors what set up was used to log data? For collected samples how was the sample collected for return to the laboratory? What volume was sampled and subsampled? How were the samples and subsamples treated? Were they filtered, preserved, fixed, stored etc prior to analysis? How long were samples stored and transported if appropriate? Include references as appropriate but please provide more than just a reference here and give full citation text in the section below . If a range of measurements have been collated that used different sampling protocols please use fields in (2a) or (2b) as appropriate.
* | Analytical protocol/ method: | Adapted from the method of Ragueneau et al. (2005), BSi was estimated after alkaline digestions allowing the correction of the lithogenic silica (LSi) that can represent up to 90% of the total particulate silica in coastal waters. All experiments were made using clean TPX polymethylpentene and polypropylene (VWR) centrifuge tubes. One Supor punch (1-53 µm particle size), or a 25 mm diameter Nuclepore filter previously Beta counted (>53 µm particle size), was placed in a TPX centrifuge tube and digested with 8 mL of a 0.2 M NaOH solution (pellets for analysis, Merck) at 95°C during 1h in a hot bath. After cooling, the pH was neutralized by adding 2 mL of 1M HCl (Analar Normapur, Merck). Tubes were then centrifuged at ambient temperature for 10 min at 4000 rpm (Thermo Scientific Multifuge 3S+/3SR+) and the supernatant was separated from the remaining suspended material. One mL of supernatant was diluted 10 times with Milli-Q water for the silicic acid analyses, and similarly, 1 mL of supernatant was diluted 10 times with Milli-Q water for the aluminium (Al) analyses. Theoretically, at the end of the first digestion, all the BSi should be converted into silicic acid. However, it is possible that a part of LSi is dissolved during this first digestion involving a bias for the determination of BSi concentration. This bias is resolved by performing a second digestion, equivalent to the first one, after rinsing and drying the filter after the first digestion. The second digestion allows the determination of a ratio (Si/Al) exclusively related to lithogenic material. The corrected BSi concentration is then deduced using the following equation: BSi = [Si1] – [Al1] × (Si/Al)2 where BSi is the final concentration of biogenic silica in µmol/L; [Si1] and [Al1] are the concentrations of silicic acid and aluminium determined during the first digestion in µmol/L; (Si/Al)2 is the ratio of the concentrations of silicic acid and aluminium determined during the second digestion. After each alkaline digestion of the filter, silicic acid concentrations were determined following the automated acid/molybdate colorimetric method (Aminot and Kérouel, 2007), using an AutoAnalyzer3 Bran&Luebbe. Artificial seawater was used for the preparation of calibration standards. All the volumetric glass-and plastic ware used were gravimetrically calibrated at the temperature of the laboratory (about 20°C). All volumetric flasks used were Class A+. All pipets used have a nominal calibration tolerance of 0.1% or better. Artificial seawater standards were (μM): 5.00; 10.00; 20.00; 30.00; 40.00; 50.00; 60.00. Dissolved aluminium concentrations were determined by a fluorimetric method (fluorimeter JASCO FP920) detecting a complex Aluminium-Lumogallion (Hydes and Liss, 1976). |  |  |  | To cover: Filter types, pore size, wash protocols, storage of sample before determination (time, conditions), specific changes from published methodology. For in-situ sensors how was the logged data processed? For collected samples how was the sample analysed back in the laboratory? Were there further treatment steps after storage and prior to analysis? What instruments (make/model/serial number) were used to make the measurements? Was any data processing required to turn instrument outputs into the measurements provided? If so please provide details of formulas, constants and references as appropriate. If a range of measurements have been collated that used different sampling protocols please use fields in (2a) or (2b) as appropriate.
* | Data quality comments/ problem report: |  |  |  |  | Any recognised issues with the quality of the data set either as a whole or in part? List of problems associated with the dataset.
* | Absent data value: |  |  |  |  | If data are missing use an improbable value (e.g.-999) or text (e.g.N/A), please do not leave blank cells. Indicate the value or text chosen here.
* | Quality Flag (QF) system: | BODC | If quality flags have been applied to individual samples please state which flagging convention has been used (e.g. BODC, ODV, WOCE etc). If you have used a custom flagging system please provide details of what each flag means in the appropriate section of sheet (2a) or (2b).
| Reference quoted |  |  | Full citation text
Lemaitre et al., submitted. Particulate trace element export in the North Atlantic (GEOTRACES GA01 transect, GEOVIDE cruise). ACS Earth and Space Chemistry.
| Revision date | Description of what has been added, deleted or revised from the previously submitted version

## (2a) In-situ sensor
GDAC In-situ sensor Metadata Template - updated 18/09/2016
(2a) | Specific information about the content of the data file(s) provided.
If the following information is present in the data file(s) the following can be used as a checklist or populated below as a summary.
* | Binned data resolution: |  | e.g. 1 dbar, 30 seconds, …
|  | Column_A | Column_B | Column_C | Column_D | ... | ... | ... | … | ... | ...
* | Short title used in data file:
* | Full title:
* | Units:
* | Max. d.p. to be reported:
* | Contributor(s) responsible:
* | In-situ sensor make:
* | In-situ sensor model:
* | In-situ sensor serial number:
* | Relevant calibration information for individual sensors:
* | Post-processing calibration equation supplied:
* | Parameter measured or derived by calculation:
Derivation protocol reference:
Parameters used in calculation:
If protocols or data quality comments are more detailed than covered in the level 1 metadata form:
Sampling protocol:
Analytical protocol:
Data quality comments:
If reference materials were used as part of the analyses or calibrations:
Reference Material(s): Provide source(s) and batch number(s)
Accuracy (if calculated):
Precision (if calculated):
| Description | Quality flag

## (2b) Sample
GDAC Sample Metadata Template - updated 18/09/2016
(2b) | Specific information about the content of the data file(s) provided.
If the following information is present in the data file(s) the following can be used as a checklist or populated below as a summary.
|  | Column_A | Column_B | Column_C | Column_D | ... | ... | ... | … | ... | ...
* | Short title used in data file:
* | Full title:
* | Units:
* | Max. d.p. to be reported:
* | Samples collected per measurement:
* | Analytical replicates run per sample:
* | Does data file contain replicate data?
* | Are these replicate samples or replicate analysis?
Data Originator(s) responsible:
Sample collection device make:
Sample collection device model:
Sample collection device serial number:
A full description if the sampling device if it was custom made:
Analytical instrument make:
Analytical instrument model:
Analytical instrument serial number:
Analytical instrument detection limit:
If uncertainty has been calculated, how was it derived?
Parameter measured or derived from calculation:
Derivation protocol reference:
Parameters used in calculation:
If protocols or data quality comments are more detailed than covered in the level 1 metadata form:
Sampling protocol:
Analytical protocol:
Data quality comments:
For chemical compounds please provide one or both of:
CAS Registry Number: http://www.cas.org/content/chemical-substances/faqs
ChEBI ID: http://www.ebi.ac.uk/chebi/
For biological data please confirm the taxonomy by providing one or both of:
ITIS number: http://www.itis.gov/
AphiaID: http://www.marinespecies.org/index.php
If reference materials were used as part of the analyses:
Reference Material(s): Provide source(s) and batch number(s)
Accuracy (if calculated):
Precision (if calculated):
| Description | Quality flag

## Reference lists
NOTE: all Scientists to complete this tab
Request a DOI for this dataset? | Data embargoed or public? | Quality Flag (QF) system: | In-situ or laboratory measurement: | Parameter measured or derived from calculation: | Lab data analysed in (name of institute):
Yes | Embargoed | Not applicable | In-situ | Measured
No | Public | Custom | Laboratory | Derived
BODC
ODV
WOCE
IODE