META_INFORMATION_PARAMETRES / PARAMETERS

(à remplir par le responsable du paramètre /    to be filled by the PI    )

| Date de création 2011/03/16 |  | created on |
| --- | --- | --- |
| Date: de dernière mise à jour |  | last update |

| PARAMETRES CONCERNES | PARAMETERS |
| --- | --- |

| Mode d’échantillonnage | No parametre | nom parametre | Status : [non] valid |
| --- | --- | --- | --- |
| Sampling | parameter number | name of the parameter | Status : [not] valid |
| Rosette | 30092 | Bacterial Ecto-enzymatic activity |  |

| PROJET ETUDE | PROJECT TITLE |
| --- | --- |

Rates of activities of selected ectoenzymes: α-glucosidase, aminopeptidase, phosphatase

| RESPONSABLE SCIENTIFIQUE | PRINCIPAL INVESTIGATOR |
| --- | --- |

| Nom / name | adresse / address | téléphone / phone number | adresse mél / email address |
| --- | --- | --- | --- |
| Eva Ortega-Retuerta | LOMIC UMR7621 Banyuls/Mer France | +33(0)430192403 | ortega@obs-banyuls.fr |
| Fabien Joux | LOMIC UMR7621 Banyuls/Mer France |  | joux@obs-banyuls.fr |

| BREVE DESCRIPTION DU PROJET | BRIEF DESCRIPTION OF PROJECT |
| --- | --- |

Objective : Mesaure rates of bacterial ectoenzymatic activities in seawater. Ectoenzymes selected : β-glucosidase, aminopeptidase, phosphatase.

| DESCRIPTION DES PARAMETRES | PARAMETERS DESCRIPTION |
| --- | --- |

# Ce qui a été mesuré et comment  (méthode analytique et/ou références )/

# What did you measure and how did you do it (include references for analytical methods)?

Ectoenzymatic activities were measured using fluorescently labelled substrates. The selected substrates were L-leucine-7-amido-4-methylcoumarin hydrochloride (Leu-MCA), 4-methylumbelliferyl

(MUF)-β-glucoside and MUF-phosphate. These substrates, initially non-fluorescent, release MCA and MUF respectively after enzymatic breakage. Fluorescence of MCA is measured at ex/em wavelengths of 360/440 nm, and MUF is measured at 364/460 nm.

# Stratégie d'échantillonnage /

Water was collected from the rosette or zodiac samples. Samples (760 µL) were incubated with the fluorogenic substrates (250 µM final concentration) at near-in situ temperature for 12h. Triplicates and one blank were performed for each incubation and enzyme. Incubations were stopped using the following stop solutions: Tampon ammonium-glycine for glucosidase, Sodium Dodecyl sulphate (10%) for aminopeptidase, and formaldehyde (4%) for phosphatase. After incubation stops, samples were maintained frozen at -80 until fluorescence measurements.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données /

# Post-cruise data analysis/treatment required, and the time frame for this

Rates (h-1) are expressed as the relative increase in fluorescence per hour normalized by the initial fluorescence. This will be converted into units of mg of MCA/MUF after calibration curves performed with these products.

# Estimations des erreurs, précision, sensibilité des données /

# Error estimates, precision and accuracy of the data

……………

| FICHIERS | FILES |
| --- | --- |

# Nom de fichier de données /

# Malina Ectoenzyme Activities

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données /

# Data file structure, units, label columns, …

Lat/lons, station and cast number, depth (m), bottle number, rates (h-1) of β-glucosidase, aminopeptidase and phosphatase.

| RESULTATS PRELIMINAIRES | RESULTS |
| --- | --- |

| REFERENCES BIBLIOGRAPHIQUES | REFERENCES - PAPERS |
| --- | --- |

Hoppe, H.G. Use of fluorogenic model substrates for extracelllular enzyme activity (EEA)

measurement of bacteria. In Handbook of Methods in Aquatic Microbial Ecology; Kemp, P.F.,

Sherr, B.F., Sherr, E.B., Cole, J.J., Eds.; Lewis Publisher: Boca Raton, FL, USA, 1993;

pp. 423–432.

Hoppe, H.G. Significance of exoenzymatic activities in the ecology of brackish water:

measurements by means of methylumbelliferyl-substrates. Mar. Ecol. Progr. Ser. 1983, 11,

299–308.