META_INFORMATION_PARAMETRES / PARAMETERS

(à remplir par le responsable du paramètre /    to be filled by the PI    )

| Date de création 2011/03/16 |  | created on |
| --- | --- | --- |
| Date: de dernière mise à jour |  | last update |

| ### PARAMETRES CONCERNES | ### PARAMETERS |
| --- | --- |

| Mode d’échantillonnage | No parametre | nom parametre | Status : [non] valid |
| --- | --- | --- | --- |
| Sampling | parameter number | name of the parameter | Status : [not] valid |
| Rosette | 2390 | Bacterial Respiration |  |

| ### PROJET ETUDE | ### PROJECT TITLE |
| --- | --- |

Community and Bacterial Respiration in the Beaufort Sea

| ### RESPONSABLE SCIENTIFIQUE | ### PRINCIPAL INVESTIGATOR |
| --- | --- |

| # Nom / name | # adresse / # address | # téléphone / phone number | # adresse mél / # email address |
| --- | --- | --- | --- |
| # Eva Ortega-Retuerta | LOMIC UMR7621 Banyuls/Mer France | # +33(0)430192403 | # ortega@obs-banyuls.fr |
| # Fabien Joux | LOMIC UMR7621 # Banyuls/Mer France |  | # joux@obs-banyuls.fr |

| ### BREVE DESCRIPTION DU PROJET | ### BRIEF DESCRIPTION OF PROJECT |
| --- | --- |

Mesaurement of Respiration rates of the total community TCR and bacterial community BR. Performed in selected stations, surface and chl max waters

| ### DESCRIPTION DES PARAMETRES | ### PARAMETERS DESCRIPTION |
| --- | --- |

# Ce qui a été mesuré et comment  (méthode analytique et/ou références )/

# What did you measure and how did you do it (include references for analytical methods)?

Respiration rates were measured via oxygen consumption in dark incubations of the whole community (TCR) and organisms smaller than 1 µm (bacterial respiration, BR). O2 determinations were made by Winkler titration (Winkler 1888) using a Mettler Toledo DL28. Briefly, it consists in a valorisation (using thiosulfate as titrer) of the iodide formed after reaction with dissolved O2 in seawater

# Stratégie d'échantillonnage /

# Water was collected from the Niskin Bottles. This was directly siphoned into BOD bottles for total community respiration and filtered through 1 µm into 10L Carboys for BR. After 1 hour, BOD bottles were filled from the bottom, letting overflow 2-3 times their volume. 4 to 6 replicates for t0 were fixed for O2 measurements and all bottles were incubated in the dark for 2 to 5 days. Incubations were performed inside the cold room and inside a cooler filled with seawater. 3-4 replicates were fixed at an intermediate time (some experiments) and 4-5 replicates were fixed at final time. All O2 concentrations were determined at the end of the incubations.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données /

# Post-cruise data analysis/treatment required, and the time frame for this

Respiration rates are calculated by substracting the final O2 to the initial O2 concentrations or using the slope of the regression line between O2 and time in hours

# Estimations des erreurs, précision, sensibilité des données /

# Error estimates, precision and accuracy of the data

……………

| ### FICHIERS | ### FILES |
| --- | --- |

# Nom de fichier de données /

# Malina Respiration

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données /

# Data file structure, units, label columns, …

Cast and station number, depth in m, incubation time in h, total community respiration in µmol O2 per l and h, bacterial respiration

| ### RESULTATS PRELIMINAIRES | ### RESULTS |
| --- | --- |

| ### REFERENCES BIBLIOGRAPHIQUES | ### REFERENCES - PAPERS |
| --- | --- |

Carpenter, J.H. 1965. The accuracy of the Winkler method for dissolved oxygen analysis. Limnology Oceanography, 10, 135-140.

Carpenter, J.H. 1965. The Chesapeake Bay Institute technique for the Winkler dissolved oxygen method. Limnology Oceanography, 10, 141-143.

Outdot CR, Gerard R, Morin P, Gningue I (1988) Precise shipboard determination of dissolved oxygen (Winkler procedure) for productivity studies with a commercial system. Limnol Oceanogr 33:146–150