# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name :  	AEROSOL SAMPLING

### PROJET-ETUDE / PROJECT TITLE & Chefs de projet et mission / PIs

Campaign  NAME : OUTPACE  		LEG :

Date begin : 18/02/2015

Date end : 03/04/2015

Chiefs Scientist: Thierry Moutin & Sophie Bonnet

Address : M.I.O. Institut Méditerranéen d’Océanologie - UMR 7294 
OSU Institut Pythéas, Campus de Luminy, Bâtiment Méditerranée 
13288 MARSEILLE cedex 09, FRANCE

& M.I.O. Institut Méditerranéen d’Océanologie - IRD/CNRS/Aix-Marseille University

IRD Noumea, 101 Promenade R. Laroque, BP A5, 98 848 Nouméa Cedex

NEW CALEDONIA

Chief Mission : Thierry Moutin

Address : M.I.O. Institut Méditerranéen d’Océanologie - UMR 7294 
OSU Institut Pythéas, Campus de Luminy, Bâtiment Méditerranée 
13288 MARSEILLE cedex 09, France

### ECHANTILLONNAGE ET OPERATIONS A LA MER / SAMPLING METHOD AND OPERATIONS AT SEA

Sampling method :

Aerosol sampler

Station number-Cast number :

|  | beginning | end |
| --- | --- | --- |
| AERO1 | Noumea Lagoon 20/02, 11am | LD_A, 27/02 8 am |
| AERO2 | LD_A, 27/02 8 am | LD_A |
| AERO3 | LD_A | transit LD_A/SD_4 (samples removed at 7am before the arrival of the helicopter, le 4/03) |
| AERO4 | transit LD_A/SD_4 (samples replaced at 11 am after the departure of the helicopter, le 4/03) | During transit toward SD_06, 6/03 9am |
| AERO5 | During transit toward SD_06, 6/03 9am | During transit toward SD_11 (Tonga islands in view), 11/03 |
| AERO6 | During transit toward SD_11 (Tonga islands in view), 11/03 | LD_B 17/03 8am |
| AERO7 | 17/03 en LD_B 8am | 19/03 en LD_B 8am |
| AERO8 | 19/03 en LD_B 8am | LD_C, 23/03 8am |
| AERO9 | LD_C, 23/03 8am | LD_C 27 mars 8am |
| AERO10 | LD_C 27/03 8am | SD_15 30/03 8am |

Operation code : AEROSOLS SAMPLING

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / # phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Cecile Guieu | LOV-UPMC-CNRS Villefranche sur Mer | 04 93 76 3995 |  | # guieu@obs-vlfr.fr |

Remarque / Remark : Pour la pérennité de la base de données, il est fortement suggéré que le responsable scientifique ait un poste permanent / For the perinity of the database, it is recommended that the PI of the parameter has a permanent position.

### Contact Base de données pour ce paramètre / DATASET contact for this parameter

| Remarque / Remark : Pour la pérennité de la base de données, il est fortement suggéré que le contact base de donnée ait un poste permanent / For the perinity of the database, it is recommended that the dataset contact for this parameter has a permanent position. # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Cecile Guieu | LOV-UPMC-CNRS Villefranche sur Mer | 04 93 76 3995 |  | # guieu@obs-vlfr.fr |

### Autre(s) participant(s) à la mesure de ce paramètre / Other participant(s) for the measurement of this parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # role | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Louis Justine |  |  | # PhD student during OUTPACE | # justine.louis35@gmail.com |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: South Pacific Ocean

LATITUDE:  S 17° - S 23°

LONGITUDE: E 159° – W 149°

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION

Instrument Type:

AEROSOL SAMPLER with air filtration of 3 samples simultaneously

Aerosol samples were continuously collected during the cruise using a sampling device designed to avoid ship contamination. This sampling device was made by a “box” that achieved an integrative sampling during the cruise. The “box” was attached on the front vigie of the ship at a 15 m-high mast in order to avoid any contamination from the engine exhaust stack. Local wind direction and speed were measured continuously close to the sampling box using a wind anemometer. Depending on the wind conditions, the box operated either in a “sampling” mode or a “protection” mode. “Sampling” mode (air pumped through the filters) was activated only if wind was oriented in a 90 open angle upwind at a speed higher than 2ms−1. “Protection” mode (no air pumped, box closure, and filters protected) was activated if wind conditions could generate samples contamination

Manufacturer:

Appareil construit au laboratoire (LOV)

Model:

sans

Instrument Features / Calibration:

No calibration. The volume pumped through the membrane is monitored by a vacuum gas counter.

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

On board, four aerosols samples were collected simultaneously with pumping rate ≤ 20 l. mn-1. The total amount of air pumped on each filter was recorded using volumetric counters. A total of 10×3

samples were collected and labeled from AERO1 to AERO9. After each sampling, one of the 3 collected filters was used to perform dissolution experiment using seawater collected  during the campaign. The others filters have been stored in the dark at ambient temperature in previously cleanned Petri dish for further chemical analysis in the laboratory. Three aerosols were also used for the fertilization experiments performed on board

Analytical procedure : (briefly, could be a short recall to a published reference):

Dissolution experiment was as follow: a filter (or half of a filter) was used to perform a ‘instanenous’ dissolution by pouring on top of the filter, 200 ml seawater freshly sampled (filtered 0.2µm) inside a filtration kit (Sartorius). The filtrate was transferred inside HDPE bottles for further analysis of DFe, DIN, DIP, DON and DOP. The filter was then placed inside a opaque Teflon vial for 24 h in 250 ml filtered seawater. After 24 hours, the water was filtered and this second filtrate was transferred inside HDPE bottles for further analysis of DFe, DIN, DIP, DON and DOP. For analytical procedure for the parameters measured, please refer to the meta_information_files as follow:

DFe: Dissolved Iron (DFe)

DIN: Inorganic Nitrogen (Nanomolar analytical technique) 0-200m

DIP: Inorganic Phosphorus (Nanomolar analytical technique) 0-200m

DON: Labile Organic Nitrogen (Nanomolar analytical technique) 0-200m

DOP: Labile Organic Phosphorus (Nanomolar analytical technique) 0-200m

Units:

nM/m3 of filtered air

Sensor Precision: Method reproductibility is better than

Not relevant

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Neant

Estimated Date of Delivery :

July 2016

### REFERENCES BIBLIOGRAPHIQUES