# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name :  	Labile Organic Nitrogen (Nanomolar analytical technique) 0-200m

### PROJET-ETUDE / PROJECT TITLE & Chefs de projet et mission / PIs

Campaign  NAME : OUTPACE  		LEG :

Date begin : 18/02/2015

Date end : 03/04/2015

Chiefs Scientist: Thierry Moutin & Sophie Bonnet

Address : M.I.O. Institut Méditerranéen d’Océanologie - UMR 7294 
OSU Institut Pythéas, Campus de Luminy, Bâtiment Méditerranée 
13288 MARSEILLE cedex 09, FRANCE

& M.I.O. Institut Méditerranéen d’Océanologie - IRD/CNRS/Aix-Marseille University

IRD Noumea, 101 Promenade R. Laroque, BP A5, 98 848 Nouméa Cedex

NEW CALEDONIA

Chief Mission : Thierry Moutin

Address : M.I.O. Institut Méditerranéen d’Océanologie - UMR 7294 
OSU Institut Pythéas, Campus de Luminy, Bâtiment Méditerranée 
13288 MARSEILLE cedex 09, France

### ECHANTILLONNAGE ET OPERATIONS A LA MER / SAMPLING METHOD AND OPERATIONS AT SEA

Sampling method :

TMC Rosette

Station number-Cast number :

| Station Number | Sampled Cast Number |
| --- | --- |
| SD-01 | OUT-T-001 |
| SD-02 | OUT-T-003 |
| SD-03 | OUT-T-004 |
| LD-A | OUT-T-005 |
| SD-04 | OUT-T-006 |
| SD-05 | OUT-T-007 |
| SD-06 | OUT-T-008 |
| SD-07 | OUT-T-009 |
| SD-08 | OUT-T-010 |
| SD-09 | OUT-T-011 |
| SD-10 | OUT-T-013 |
| SD-11 | OUT-T-014 |
| SD-12 | OUT-T-015 |
| LD-B | OUT-T-016 |
| LD-C | OUT-T-017 |
| SD-14 | OUT-T-020 |
| SD-15 | OUT-T-021 |

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / # phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Cecile Guieu | LOV-UPMC-CNRS Villefranche sur Mer | 04 93 76 3995 |  | # guieu@obs-vlfr.fr |

Remarque / Remark : Pour la pérennité de la base de données, il est fortement suggéré que le responsable scientifique ait un poste permanent / For the perinity of the database, it is recommended that the PI of the parameter has a permanent position.

### Contact Base de données pour ce paramètre / DATASET contact for this parameter

| Remarque / Remark : Pour la pérennité de la base de données, il est fortement suggéré que le contact base de donnée ait un poste permanent / For the perinity of the database, it is recommended that the dataset contact for this parameter has a permanent position. # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Cecile Guieu | LOV-UPMC-CNRS Villefranche sur Mer | 04 93 76 3995 |  | # guieu@obs-vlfr.fr |

### Autre(s) participant(s) à la mesure de ce paramètre / Other participant(s) for the measurement of this parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # role | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Louis Justine |  |  | # PhD student during OUTPACE | # justine.louis35@gmail.com |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: South Pacific Ocean

LATITUDE:  S 17° - S 23°

LONGITUDE: E 159° – W 149°

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION

Instrument Type:

Digesteur UV 705 (Metrohm)

A Liquid Waveguide Capillary Cells (LWCC) made of quartz capillary tubing (length = 1 m) + spectrophotometer (USB4000 Preconfigured for General Lab Use, 200 -850 nm, Ocean Optics) and the lamp (Deuterium Tungsten Source, 210-1700 nm).

Manufacturer:

Home made setup associating the LWCC, the spectrophotometer (Ocean Optics) and the lamp.

Model:

All parts from Ocean Optics

Instrument Features / Calibration:

The calibration curves were performed using standard solutions in ultrapure water diluting NaNO2 and KNO3 (“high purity” quality), which were previously dried at 60°C for 2 hours.

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

GoFlo bottles from the TMC rosette were carried inside the clean container right after the cast. Bottles were installed in the racks and put under N2 pressure in order to filter directly the seawater through a Sartobrand cartridge (Sartorius Sartrobran-P-capsule 0.45 mm prefilter and 0.2 mm final filter).

Analytical procedure : (briefly, could be a short recall to a published reference):

According to the photo-oxidation method by ultraviolet light (UV) as described by Armstrong and Tibbits (1968), the samples were irradiated for 90 minutes with a mercury vapor lamp, using the digester UV 705 (Metrohm). By oxidizing the organic matter, total dissolved nitrogen (TDN) can thus be measured by the same analytical techniques used to NOx (NO 3 - + NO 2). Thus, for a same sample, the concentrations of DON is determined by subtracting the NOx concentration from the TDN concentration.. We consider that the concentrations of DON measured after photooxidation represent the labile fraction of the total pool of dissolved organic nitrogen.

After irradiation, the samples were analysed as follow: dissolved inorganic nitrogen (DIN) in seawater is the sum of nitrate (NO3-) plus nitrite (NO2-) and was measured using a 1-m long LWCC. The analytical setup used was based on several studies [Yao et al., 1998; Zhang, 2000; Adornato et al., 2007; Li et al., 2008]. The analysis of NO3- + NO2- is based on the spectrophotometric Griess method [Chen et al., 2008]. NO2- absorbance was measured at 540 nm. A further reduction of NO3- to NO2- by a copperized cadmium column [Gal et al., 2004] was necessary to quantify NO3- present in the sample.

Units:

nM

Sensor Precision: Method reproductibility is better than

We obtained (1) a reduction efficiency between 90-96%, (2) a repeatability standard deviation (RSD) of 3% for the reduction process, (3) a detection limit for [NO2-] and [NO2-+NO3-] of 2 and 9 nmol L-1 after 10 blanks measurements, and (4) a p-value < 0.01 for Tstudent and ANOVA tests to verify the accuracy and the linear regression of this analytical method. Samples with [NO3-]>500 nM (outside of the linear range of the calibration curve) were diluted with low [NO3-] seawater.

In the absence of reference seawater at nanomolar concentrations, the reproducibility and the repeatability of the analysis of PO43- and NO3- were controlled by an internal standard

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Neant

Estimated Date of Delivery :

Avril 2016

### REFERENCES BIBLIOGRAPHIQUES

Armstrong, F. a. J., et S. Tibbitts. 1968. « Photochemical combustion of organic matter in seawater, for nitrogen, phosphorus and carbon determination ». Journal of the Marine Biological Association of the United Kingdom 48 (01): 143-52. doi:10.1017/S0025315400032483.

Adornato, Lori R., Eric A. Kaltenbacher, Danielle R. Greenhow, et Robert H. Byrne. 2007. « High-resolution in situ analysis of nitrate and phosphate in the oligotrophic ocean. », Environmental science & technology 41, no 11: 4045-52.

Chen, G., D. Yuan, Y. Huang, M. Zhang, et M. Bergman. 2008. « In-Field Determination of Nanomolar Nitrite in Seawater Using a Sequential Injection Technique Combined with Solid Phase Enrichment and Colorimetric Detection. » Analytica Chimica Acta, 620, no 1-2: 82-88. doi:10.1016/j.aca.2008.05.019.

Gal, C., W. Frenzel, et J. Möller. 2004. « Re-Examination of the Cadmium Reduction Method and Optimisation of Conditions for the Determination of Nitrate by Flow Injection Analysis. » Microchimica Acta 146, no 2: 155-64. doi:10.1007/s00604-004-0193-7.

Li, Q.P., D. A. Hansell, et J.-Z. Zhang. 2008. « Underway monitoring of nanomolar nitrate plus nitrite and phosphate in oligotrophic seawater. » Limnology and Oceanography: Methods 6, no 7: 319-26.

Yao, W., R. H. Byrne, et R. D. Waterbury. 1998. « Determination of nanomolar concentrations of nitrite and nitrate in natural waters using long path length absorbance spectroscopy. » Environmental science & technology 32, no 17: 2646-49.

Zhang, J.-Z. 2000. « Shipboard automated determination of trace concentrations of nitrite and nitrate in oligotrophic water by gas-segmented continuous flow analysis with a liquid waveguide capillary flow cell. » Deep Sea Research Part I: Oceanographic Research, 47 (6): 1157-71. doi:10.1016/S0967-0637(99)00085-0.