PROTOCOL FOR BIOGENIC AND LITHOGENIC SILICA MEASUREMENTS
Biogenic silica (BSi) originates from siliceous phytoplankton and mainly from diatom’s envelope or frustule, but is also found in silicoflagellates and radiolarians (zooplankton). Lithogenic silica (LSi) is a mineral form, issued from terrigeneous particles (quartz, aluminosilicates).
Sampling protocol :


Water was collected using a CTD rosette sampler. 2 L seawater were collected at every station (except for the UPW station which could not be sampled) from the surface to 200 m. Samples were filtered on Nucleopore ploycarbonate membranes (0.6 µm, 47 mm), and stored in plastic Petri dishes. Filters were then dried 24 h at 60°C and stored at ambient temperature until laboratory analysis.

Laboratory analysis :

BSi and LSi were measured using Paasche’s method (1973) as modified by Nelson et al. (1989) : BSi and LSi are extracted on the same filter after successive basic and acid treatment. BSi is extracted during a hot sodium hydroxide (NaOH 0.2 N) attack (45 min), which converts BSi into the dissolved orthosilicic acid form (Si(OH)4). Si(OH)4 is then quantified using Mullin and Riley’s (1965) spectrophotometric method. After the first basic attack, filters are rinsed free of remaining Si(OH)4 and dried again at 60°C. LSi, preserved in the sample, is then treated with fluorhydric acid (HF 2.9 N) for 24h. In the same way, LSi is measured through quantification of the dissolved Si(OH)4 form.

BSi/LSi interference : 

It has been demonstrated that for coastal samples, significant leaching of orthosilicic acid from LSi could occur during the first NaOH attack (up to 15%) (Ragueneau et Tréguer, 1994). This is particularly the case when high LSi concentrations are present. The Mediterranean Sea is enclosed by land, and is the site of intense Saharan dust deposition events throughout the year. Thus we may expect occasionally high LSi concentrations in the water column. BSi measurements then need to be corrected for that interference. A way to assess the amount of LSi that has leached during the first attack, is to measure dissolved aluminium in the sample. Indeed Si/Al ratio for LSi is about 2, whereas the aluminium content of the diatom frustule is several orders of magnitude lower. 

 The protocol described previously was as a consequence slightly modified, including a second BSi extraction preceding HF attack, and dissolved aluminium measurements in the leachate. During the first NaOH attack, all BSi with a fraction of labile LSi are dissolved. In the second alkaline extraction, only a fraction of the remaining labile LSi is dissolved. A quantitative comparison of aluminium leached during the first two extractions will allow us to correct BSi values for LSi interference. 

Data availability :

 Aluminium analysis remain to be done for all samples (in collaboration with the CEREGE-Aix). BSi data are thus susceptible to be slightly modified (but not drastically (a few nanomoles) since LSi concentrations are low). 

LSi values, which are the sum of values found in the second NaOH and in the last HF extraction, may on the other hand be considered as definitive values.

This data set will remain as submitted data, until aluminium analysis and subsequent corrections are made. 

References :

Mullin, J.B. and Riley, J.P. (1965). The spectrophotometric determination of silicate-silicon in natural waters with special reference to seawater. Anal. Chim. Acta, 46, 491-501.

Nelson, D.M., Walker, O.S.Jr., Muench, R.D., Gordon, L.I., Sullivan, C.W., Husby, D.M. (1989). Particulate matter and nutrient distributions in the ice-edge zone of the Weddell Sea : relationship to hydrography during late summer. Deep-Sea  Research, 36, 191-209.

Paasche, E. (1973). Silicon and the ecology of marine plankton diatoms. I. Thalassiosira pseudonana (Cyclotella nana) grown in a chemostat with silicate as limiting nutrient. Marine Biology, 19, 117-126.
Ragueneau, O. and Tréguer P. (1994). Determination of biogenic silica in coastal waters : applicability and limits of the alkaline digestion method. Marine Chemistry, 45, 43-51.
