Dissolved oxygen concentrations

(Miléna Bégovic, LPCM, Villefranche-sur-Mer, F 06238)
Dissolved oxygen concentrations were calculated using an automated Winkler titration system (in the conditions of Murray and Riley (1969)), and then used for the calibration of the CTD oxygen signal.

Winkler oxygen titrations are reported in the file O2_Winkler.xls, where the first column is the number of the CTD (PRO_xxx), with the corresponding number of the bottle (the sample depth). Concentrations are expressed in ml/l in the second column.

Reference:

Murray C.N. and J.P. Riley (1969) The solubility of gases in distilled water and sea water- II. Oxygen. Deep-Sea Research, 16, 311-320.

Miléna BEGOVIC

Laboratoire de Physique et Chimie Marines

Université Pierre et Marie Curie

Quai de la Darse, BP 8

06238 VILLEFRANCHE-SUR-MER cedex

Tel : (33)4.93.76.37.18

Fax : (33)4.93.76.37.39

Email : milena@obs-vlfr.fr
