Prosope ac9 data

Responsible persons:

Kadija Oubelkheir (kadija@obs-vlfr.fr) and Hervé Claustre (claustre@obs-vlfr.fr)

Laboratoire de Physique et Chimie Marines, Quai de la Darse BP 08, 06238 Villefranche sur Mer - France

Material and methods

Total attenuation and absorption coefficients were measured at 9 wavelengths using a WETLabs ac9 (412, 440, 488, 510, 532, 555, 630, 676, 715 nm). This ac9 was coupled with a 24-bottle Rosette and a Seabird CTD with a Seatech fluorimeter. The whole package was deployed in the 0-400 m (Mediterranean sea) or 0-100 m (Morocco upwelling) layer. Repeated profiles (every third hour) were conducted with this package during five days at DYF and MIO sites and 36 hours at UPW site, with a drop speed of 0.5 m.s-1. A WETLabs M-PAK3 acquisition system was used to power the WETLabs instruments and to acquire data. After each profile, the data were downloaded onto a PC.

Ac9 was calibrated on board with optically-pure water using a water purification system (Millipore, A10). An alternative method was developed for this cruise to post-recalibrate data and correct for instrumental drift over time (Twardowski et al., 1999) by using 400 m seawater as a reference for Mediterranean sea. This method is based on the assumption that optical properties of Mediterranean waters at 400 m vary weakly, which was verified by several field observations. Correction for in situ temperature and salinity effects was applied using the algorithm of Pegau et al., 1997. Correction of the absorption coefficient for incomplete recovery of the scattered light in the ac9's a tube is made by subtracting the absorption coefficient at a reference wavelength (at 715 nm) (Zaneveld et al., 1994). In what follows, the terms a() and c() will designate the absorption and attenuation coefficients measured by the ac9 after subtraction of pure water coefficients.

Data

Column 1: CTD

Column 2: Depth (m)

Column 3 - 11: Absorption coefficient (9 wavelengths) (m-1)

Column 12 - 20: Attenuation coefficient (9 wavelengths) (m-1)

Downcast (down) and Upcast (up)

References

Claustre H., F. Fell, K. Oubelkheir, L. Prieur, A. Sciandra, B. Gentili and M. Babin. 2000. Continuous monitoring of surface optical properties across a geostrophic front: Biogeochemical inferences. Limnology and Oceanography. 45: 309-321.

Pegau W. S., G. Deric and J. R. V. Zaneveld. 1997. Absorption and attenuation of visible and near-infrared light in water: dependence on temperature and salinity. Applied Optics. 36: 6035-6046.

Twardowski M. S., J. M. Sullivan, P. L. Donaghay and J. R. V. Zaneveld. 1999. Microscale quantification of the absorption by dissolved and particulate material in coastal waters with an ac-9. Journal of Atmospheric and Oceanic Technology. 16: 691-707.

Zaneveld J. R. V., J. C. Kitchen and C. M. Moore. 1994. The scattering error correction of reflecting-tube absorption meters. Proc. SPIE, Ocean Optics XII. 2258: 44-55.