FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

Mis à jour / last update : 15 nov 2005

### PARAMETRES CONCERNES

N°

99114	Sr-susp-pis

140	Ba-susp-pis

99116	Th-susp-pis – Thorium 232

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération: BARMED

Nom des campagnes: BARMED 2, 3, 4 and 5 (BARMED 1: weather conditions did not allow to deploy the PIS; BARMED 3: weather conditions allowed us to deploy the PIS at only 2 depths).

### PROJET  ETUDE / PROJECT TITLE

BARMED: BARium in the MEDiterranean Sea.

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Jeandel Catherine | # LEGOS (UMR 5566) | # 335 61332933 | # 33561253205 | # Catherine.Jeandel@cnes.fr |
|  | OMP 14 Ave E Belin 31400 Toulouse |  |  |  |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

#### The specific goals related to this study in the framework of BARMED are :

  - to establish the suspended Ba (Sr, Mn…) distribution in different phases (organic matter, oxides, lithogenic…) by performing specific sequential leachings and analyzing them by ICP/MS. This will allow to determine the ratio of labile vs cristallized barite vs depth and at different seasons.

  - to determine the total concentration of 232Th in this material to correct 228Ra measured by gamma counting from the lithogenic contribution

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

Suspended matter was collected at different depths in the water column using large volume in situ pumps with Versapor filters (0.8 µm pore size, 142mm diameter). After gamma counting at the Laboratoire Souterrain de Modane (a non-destructive analysis), filters were sent to the LEGOS where sequential leachings were performed as follows: distilled water rinse, HNO3 1.5 N rinse at room temperature, HCl 1 N at 80°C overnight and HNO3 at 80°C overnight (Ganeshram et al., 2003, except the HCl 1 N leaching to dissolve barite from the Handbook of Chemistry 1966), and finally total acid digestion following the recipe from Landing and Lewis (1991). After evaporation, the leachates were diluted in 10 mL HNO3 2%, an internal standard of In/Re (10 ppb) was added, and Ba, Sr, Mn, Th and REE concentrations measured using the ICP/MS Perkin Elan 6000.

Stratégie d'échantillonnage / Sampling strategy

Several tens to a few thousand liters of seawater were filtered on In Situ Pumps equipped with 142- or  293-mm diameter Versapor filters. Details of sampling for each cruise are given below. Blue indicates non analyzed filters.

| ##### BARMED 2 |  |  |  |
| --- | --- | --- | --- |
| Depth (m) | Filter diameter (mm) | Filtration time (min) | Volume filtered (l) |
| 15 | 142 293 | 9 120 | 31 584 |
| 50 55 | 293 142 | 120 20 | 983 84 |
| 100 | 293 | 120 | 666 |
| 185 | 293 | 120 | 1261 |
| 400 | 293 | 120 | 2028 |
| 600 | 293 | 120 | 2012 |
| 1000 | 142 142 142 | 96 102 120 | 631 642 828 |

| ##### BARMED 3 |  |  |  |
| --- | --- | --- | --- |
| Depth (m) | Filter diameter (mm) | Filtration time (min) | Volume filtered (l) |
| 100 | 142 | 24 | 79 |
| 250 | 142 | 111 | 495 |

| BARMED 4 |  |  |  |
| --- | --- | --- | --- |
| Depth (m) | Filter diameter (mm) | Filtration time (min) | Volume filtered (l) |
| 10 | 142 142 293 | 120 120 60 | 177 188 473 |
| 50 | 142 142 293 | 7 120 60 | 27 87 413 |
| 112 | 293 | 120 | 1352 |
| 140 | 293 | 120 | 1673 |
| 240 | 293 | 120 | 1563 |
| 400 | 293 | 120 | 1980 |
| 600 | 293 | 120 | 2016 |
| 1000 | 293 | 120 | 2368 |
| 1700 | 293 | 120 | 2399 |
| 2200 | 293 | 120 | 2398 |

| ##### BARMED 5 |  |  |  |
| --- | --- | --- | --- |
| Depth (m) | Filter diameter (mm) | Filtration time (min) | Volume filtered (l) |
| 46 48 | 142 142 | 70 15 | 80 60 |
| 248 250 252 | 293 293 142 142 293 | 120 120 60 60 120 | 1739 1536 463 493 1819 |
| 598 600 602 | 293 142 142 293 | 120 60 60 120 | 1833 430 397 1881 |
| 800 | 142 | 90 | 689 |

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

The following data will be useful to achieve the interpretation of these data : 228Ra/226Ra ratio in seawater, total suspended barium, total suspended 232Th and 238U (to correct radium activities for any supported activities in order to determine the excess radium activities exclusively associated with barite) and suspended barite, hydrological parameters (including nutrients), pigments, primary production.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

### FICHIERS / FILES

# Nom de fichier de données / file name

PIS suspended particle leachings

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

For each cruise (Barmed 2 to Barmed 5), particulate concentrations of Ba, Sr, and Th, measured after five chemical treatments of the sample (leachings L1 to L5), are given in pmol (10-12 mol) per liter of seawater versus depth (in meters). Errors are given in the same units.

Leachings (see § 6.1)

L1: distilled water rinse

L2: HNO3 1.5 N rinse at room temperature

L3: HCl 1 N at 80°C overnight

L4: HNO3 at 80°C overnight

L5: total acid digestion (Landing and Lewis, 1991)

Barmed 2: 23-24/03/2003

Barmed 4: 15-16/05/2003

Barmed 5: 24-25/06/2003

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

Sternberg E., Tang D., Ho T.Y., Jeandel C. and Morel F.M.M. Barium uptake and adsorption in diatoms. Geochimica et Cosmochimica Acta 69 (11), 2745-2752, 2005.

Jeandel C., Tachikawa K., Bory A. and Dehairs F. Biogenic barium in suspended and trapped material as a tracer of export production in the tropical N-E Atlantic (EUMELI sites). Mar. Chem., 71, 125-142, 2000.

Ganeshram R.S., François R., Commeau J. and Brown-Léger S.L. An experimental investigation of barite formation in seawater. Geochim. Cosmochim. Acta, 67, 2599-2605, 2003.

Landing W.M. and Lewis B.L. Analysis of marine particulate and colloidal material for transition metals. In Marine Particles: Analysis and Characterization (ed. D.C. Hurd and D.W. Spencer). Geoph. Monogr., 63, 263-272, 1991.