# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name :  Salinity Mooring

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   SOCLIM	LEG :

Date begin : 6/10/2016

Date end : 1/11/2016

Chief Scientist: Stéphane Blain

Address :	Laboratoire océanographie microbienne

Observatoire océanologique de banyuls sur mer

66650 banyuls sur mer

Chief Mission :  Stéphane Blain

Address :	idem

### OPERATION (if Relevant)

Sampling method : Conductivity sensors

Station number-Cast number :  A3

Operation code :  RAS001

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # F. Pérault | # DT INSU PLOUZANE | # 02 98 05 63 67 | # 02 98 05 65 30 | fabien.perault@cnrs.fr |
| # E. de Saint-Léger | # DT INSU PLOUZANE | # 02 98 05 65 34 | # 02 98 05 65 30 | # emmanuel.desaint-leger@cnrs.fr |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Blain S. | # LOMYC Banyuls | # 04 68 88 73 44 | # 04 68 88 73 01 | stephane.blain@obsbanyuls.fr |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):  Indian Ocean and Indian sector of the Southern ocean

Location:

LATITUDE:  15°S – 58.5 °S

LONGITUDE 55°E-75°E

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type: Conductivity sensors

Manufacturer: Sea-Bird / Aanderaa

Model: SBE37, SBE16, Seaguard conductivity sensor 4319

Instrument Features / Calibration:

Aanderaa conductivity sensor 4319 SN788 at 40m

SBE16 SN16-50140 at 40m depth, Last calibration date: 06-jun-2015

SBE37 SN64695-9118 at 50m depth, Last calibration date: 06-apr-2016

SBE37 SN51598-6337 at 60m depth, Last calibration date: 20-jan-2016

SBE37 SN64695-9116 at 90m depth, Last calibration date: 16-mar-2016

SBE37 SN37-9792 at 120m depth, Last calibration date: 30-oct-2015

SBE37 SN39647-4321 at 150m depth, Last calibration date: 25-nov-2015

SBE37 SN39647-4324 at 180m depth, Last calibration date: 04-nov-2015

SBE37 SN48169-5573 at 210m depth, Last calibration date: 23-jun-2015

SBE37 SN37-9793 at 240m depth, Last calibration date: 03-nov-2015

SBE37 SN51413-6392 at 270m depth, Last calibration date: ?

SBE37 SN56919-7160 at 300m depth, Last calibration date: ?

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Conductivity every 3600s for aanderaa

Conductivity every 1800s for SBE37

Analytical procedure : (briefly, could be a short recall to a published reference): Salinity calculated from conductivity

Units: S/m (conductivity), PSU (salinity)

Sensor Precision: 0.0003 S/m accuracy for SBE37

0.005 S/m for Aanderaa conductivity sensor

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : Summer 2017

### REFERENCES BIBLIOGRAPHIQUES