# FICHE  META_INFORMATION_PARAMETRES

Note that these data were collected in the framework of the long-term monitoring program OISO. The data and metadata for all OISO cruises (since 1998) are available at the international Ocean Carbon Data System (OCADS) : https://www.nodc.noaa.gov/ocads/oceans/VOS_Program/OISO.html

### Nom du DATASET / Data SET NAME

Data set Name  (name of the parameter):

Fugacity of CO2 (fCO2) in surface waters (underway)

### PROJET-ETUDE / PROJECT TITLE

Campaign  NAME :   SOCLIM	LEG :

Date begin : 6/10/2016

Date end : 1/11/2016

Chief Scientist: Stéphane Blain

Address :	Laboratoire océanographie microbienne

Observatoire océanologique de banyuls sur mer

66650 banyuls sur mer

Chief Mission :  Stéphane Blain

Address :	idem

### OPERATION (if Relevant)

Sampling method : (ex, bottle, sensors, sediment traps….)

Underway pumping system

Station number-Cast number :  list all the stations where the parameters was measured

Underway measurements from Oct., 8 to Oct., 28.

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

Nom /name: 	Claire LO MONACO

adresse / address: 	LOCEAN UPMC cas 100 - 4 place Jussieu - F-75252 Paris cedex 5

téléphone / phone number: +33 (0)1 44 27 48 68

fax / fax number: +33 (0)1 44 27 49 93

adresse mél / email address: claire.lomonaco@locean.upmc.fr

### DATASET contact

Nom /name: 	Claire LO MONACO and Nicolas METZL

adresse / address: 	LOCEAN UPMC cas 100 - 4 place Jussieu - F-75252 Paris cedex 5

téléphone / phone number: +33 (0)1 44 27 48 68

fax / fax number: +33 (0)1 44 27 49 93

adresse mél / email address: claire.lomonaco@locean.upmc.fr ; nicolas.metzl@locean.upmc.fr

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):  South Indian Ocean and Indian sector of the Southern ocean

LATITUDE:  21°S – 58.5 °S

LONGITUDE: 55°E – 75°E

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION (if Relevant)

Instrument Type:  non-dispersive infrared analyser

Manufacturer: Siemens

Model: Ultramat 6F

Instrument Features / Calibration: calibrated using 3 bottles of standard gases with pCO2 values of 279.3 ppm, 350.7 ppm and 489.9 ppm. These values were determined at LSCE (Gif/Yvette, France) in July 2017.

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

Sampling:

Underway pumping of surface water (at approx. 7m depth)

Analytical procedure : (briefly, could be a short recall to a published reference):

The technique for fCO2 measurements was described in details by Poisson et al. (1993), Metzl et al. (1995, 1999), Jabaud-Jan et al. (2004). This instrumentation was also part of the international at-sea intercomparison of fCO2 systems conducted in the late 1990’s (Körtzinger et al., 2000). In short, sea surface water was continuously equilibrated using a "thin film" type equilibrator thermostated with surface seawater. The CO2 in the dried gas was then measured with a non-dispersive infrared analyser (NDIR, Siemens Ultramat 6F for the rest of the cruise). Standard gases (270 ppm, 375 ppm, 480 ppm) were used for calibration.

Units: µatm

Sensor Precision:

Precision of the gas detector is 0.5 µatm. Data accuracy is estimated at 2 µatm (include SST correction).

### REFERENCES BIBLIOGRAPHIQUES

Jabaud-Jan A., N. Metzl, C. Brunet, A. Poisson and B. Schauer, 2004. Variability of the Carbon Dioxide System in the Southern Indian Ocean (20°S-60°S): the impact of a warm anomaly in austral summer 1998. Global Biogeochemical Cycles, Vol. 18, No. 1, GB1042,10.1029/2002GB002017.

Körtzinger, A., L. Mintrop, D.W.R. Wallace, K.M. Johnson, C. Neill, et al., 2000. The international at-sea intercomparison of fCO2 systems during the R/V Meteor Cruise 36/1 in the North Atlantic Ocean. Marine Chemistry 2 (2–4), 171–192.

Metzl, N., A.Poisson, F. Louanchi, C. Brunet, B. Schauer, B. Brès, 1995. Spatio-temporal distributions of air-sea fluxes of CO2 in the Indian and Antarctic Oceans: a first step. Tellus, 47B, 56-69.

Metzl, N., B.Tilbrook and A. Poisson, 1999. The annual fCO2 cycle and the air-sea CO2 flux in the sub-Antarctic Ocean. Tellus, 51B, 4, 849-861.

Poisson, A., N. Metzl, C. Brunet, B. Schauer, B. Brès, D. Ruiz-Pino and F. Louanchi, 1993. Variability of sources and sinks of CO2 and in the western Indian and Southern Oceans during the year 1991. J. Geophys. Res. 98, C12, 22,759-22,778.