# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Particulate trace metals

(pCd, pBa, pPb, pTh, pAl, pP, pTi, pV, pCr, pFe, pCo, pNi, pCu, pZn, pY, pZr, pMo, pY, pSr, pCa)

This dataset reports concentrations of particulate (>0.45µm) trace elements. Particles were collected with GO-FLO bottles and analyzed with sector field inductively-coupled plasma mass spectrometry (SF-ICP-MS, Element XR, Thermo). Data should be cited as Planquette & Baudet

### PROJET-ETUDE / PROJECT TITLE

Campaign: SWINGS, GEOTRACES section GS02    		LEG : MD229

Date begin: Jan 13th, 2021

Date end: March 8th 2021

Chief Scientists: Hélène Planquette, Catherine Jeandel

Address :	LEMAR, UMR6539, Technopôle Brest Iroise, 29280 Plouzané, France

LEGOS, OMP, 14 Av. Edouard Belin, 31400 Toulouse

### OPERATION (if Relevant)

Sampling method : GOFlo bottles

Station number-Cast number :

Operation code :

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Planquette Hélène | # LEMAR, UMR6539, Technopôle Brest Iroise, 29280 Plouzané, France | # +33 2 98 49 86 98 | # +33 2 98 49 86 45 | # helene.planquette@univ-brest.fr |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Planquette Hélène | # LEMAR, UMR6539, Technopôle Brest Iroise, 29280 Plouzané, France | # +33 2 98 49 86 98 | # +33 2 98 49 86 45 | # helene.planquette@univ-brest.fr |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Predefined site (if relevant):

Location: Southern Ocean

LATITUDE: 20°S-62°S

LONGITUDE: 30°E-80°E

Sampling:

Samples were collected using the French GEOTRACES clean rosette, equipped with twenty-two pre-cleaned 12L GO-FLO bottles. All GO-FLO bottles were initially cleaned in LEMAR laboratory following the GEOTRACES procedures (Cutter and Bruland, 2012). The rosette was deployed on a 6mm Kevlar cable with a dedicated custom designed clean winch. Immediately after recovery,GoFlo bottles were individually covered at each end with shower caps and tap was covered with a small PE glove to minimize contamination. Then the rosette was transferred in the new clean container (ISO5). Once the particle levels were acceptable, Go-Flo bottles were rinsed with Milli-Q. Filters (0.45um supor filters) processed under a laminar flow unit. At the end of the filtration, GO-FLO bottles were kept inside the clean container, covered with plastic bags, and finally brought back on deck right before its deployment.

On each cast, nutrient and/or salinity samples were taken to check potential leakage of the GO-FLO bottles.

GO-FLO bottles were pressurized to <8 psi with 0.2-µm filtered N2 (Air Liquide). Seawater was then filtered directly through Supor 0.45µm polystersulfonemounted in Swinnex polypropylene filter holders, following Planquette and Sherrell (2012) method. Filters were cleaned following the protocol described in Planquette and Sherrell (2012) and kept in acid-cleaned 1L LDPE bottles (Nalgene) filled with ultrapure water (Milli-Q, 18.2 MΩ·cm) until use. Nearly all filters were 25 mm diameter in order to optimize signal over filter blank except in surface where we used 47mm diameter filters. Filtration was continued until the entire bottle was empty, the filters had clogged, or 4 hours had elapsed. Filter holders were disconnected from the GO-FLO bottles and a gentle vacuum was applied using a syringe in order to remove any residual water under a laminar flow hood equipped with a HEPA filter inside the container. Filters were then removed from the filter holders with plastic tweezers that were rinsed with Milli-Q between samples. Most of the remaining seawater was sipped by capillary action, when placing the non-sampled side of the filter onto a clean 47mm supor filter. Then, the filter was placed in an acid-cleaned polystyrene PetriSlide (Millipore), double bagged, and finally stored at -20ºC until analysis at LEMAR.

At each station, process blanks were collected as follows: a deep (1000 m) and a shallow (40m) seawater sample was first filtered through a 0.2 μm pore size capsule filter (Pall Gelman Acropak 200) mounted on the outlet of the GO-FLO bottle so that trace metal clean 0.2 μm filtered seawater passed through the particle sampling filter, which was attached directly to the swinnex filter holder. Standard volume for these flow-through blanks was 5L.

Analytical procedure :

Sample handling was performed in ISO5 clean room of the Pôle Spectrométrie Océans. Filters were first cut in half using ceramic blades: one filter half was dedicated to total digestion (see below), and the other filter half was archived at -20°C for further work using Scanning Electron Microscopy or chemical leaches.

Filters were digested following the method described in Planquette and Sherrell (2012). Filter halves were placed on the inner wall of acid-clean 15 mL PFA vials (Savillex), and 2 mL of a solution containing 2.9M hydrofluoric acid (HF, suprapur grade, Merck) and 8M nitric acid (HNO3, Ultrapur grade, Merck) was added to each vial. Vials were then closed and refluxed at 130°C on a hot plate for 4 hours. After cooling, the digest solution was evaporated until near dryness. Then, 100 µL of concentrated HNO3 (Ultrapur grade, Merck) was added, and the solution was re-evaporated to drive off the fluorides. Finally, 3 mL of 0.8M HNO3 (Ultrapur grade, Merck) were added and this archive solution was transferred to an acid cleaned 15 mL acid-cleaned polypropylene centrifuge tube (Corning®) and stored in at 4°C until analyses.

All analyses were performed on a SF-ICP-MS ElementXR (Thermo) at the Pôle Spectrométrie Océans. 400 µL of the archive solution was diluted in acid-washed 13 mm (outer diameter) rounded bottom, polypropylene centrifuge tubes (VWR) by addition of 2 mL of 0.8 M HNO3 (Ultrapur, Merck) spiked with 1 ppb 115In, in order to monitor the instrument drift. Samples were introduced with a PFA-ST nebulizer connected to a quartz cyclonic spray chamber (Elemental Scientific Incorporated, Omaha, NE) via a modified SC-Fast introduction system consisting of an SC-2 autosampler, a six-port valve and a vacuum rinsing pump. The autosampler was contained under a HEPA filtered unit (Elemental Scientific). Two 8-points, multi-element standard curves with acid matrix identical to that of samples and concentrations bracketing the range of the samples were ran at the beginning, the middle and the end of the run. Analytical replicates were made every 10 samples to monitor analytical precision. Instrument drift was monitored with 115In spiked in all samples.

Accuracy was determined by performing digestions of the certified reference materials BCR-414, MESS-3 and PACS-4 , following the same protocol as for samples. Recoveries were typically within 10% of the certified values (and within the error of the data, taken from replicate measurements).

Once all data were normalized to an In-115 internal standard and quantified using an external standard curve, dilution factor due to total digestion was accounted for.  Obtained element per filter (pmol/filter) were then corrected by the process blanks described above. Finally, pmol/filter values were divided by the volume of water filtered through stacked filters.

In the dataset, units are either in pM or nM units. When concentrations were below the detection limit, “bdl” is indicated. When addition of both size fractions were not possible, “nd” is reported.

### REFERENCES BIBLIOGRAPHIQUES

Cutter, G. A., & Bruland, K. W. (2012). Rapid and noncontaminating sampling system for trace elements in global ocean surveys. Limnol. Oceanogr. Methods, 10(JUNE), 425-436.

Planquette, H., & Sherrell, R. M. (2012). Sampling for particulate trace element determination using water sampling bottles: methodology and comparison to in situ pumps. Limnology and Oceanography: Methods, 10(5), 367-388.