FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

input.doc

#### ( A renseigner AVANT la mission )

### PARAMETRES CONCERNES

N°XX

Zooplankton PVM

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération BARMED

Nom de la campagne BARMED 1, 2, 3, 4 and 5

### PROJET  ETUDE / PROJECT TITLE

BARMED: BArium in the MEDiterranean Sea.

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # JEANDEL catherine | # LEGOS (UMR 5566) | # 335 61332933 | # 33561253205 | # Catherine.Jeandel@cnes.fr |
|  | # OMP 14 Ave E Belin 31400 Toulouse |  |  |  |
| # Gorsky Gabriel | # L.O.V. Station Zoologique BP28 06230 Villefranche sur mer | # +4 93 76 38 16 | # +4 93 76 38 34 | # gorsky@obs-vlfr.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

#### The goals related to the study of the parameters “zooplankton PVM” (noted above: “???”) are

  - to establish the seasonal variability of the barium (and associated elements) contents on particles filtered at about 20 depths of the water column per cruise.

  - To compare this variation to other relevant parameters established in the framework of BARMED (eg barite and Ba/Sr determined by SEM) or in the framework of SODYF (e.g: macronutrients and primary production)

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

# Methodology

- Data Acquisition

Data acquisition includes all methodologies involved in the collection, processing and analysis of raw material or raw data up to the point where data are generated.

A. Data Collection

- Describe the gear/instrumentation used giving name, gear code and details of its deployment. Please include references, e.g. Spade box corer (SBC) modified 0.25m2 USNEL box corer, Hessler & Jumars, 1974.

- See InstrumPVM4.rtf file for calibration date and instrument references.

- The moored system The Underwater Video Profiler (UVP) was constructed in the Laboratoire d’Océanographie de Villefranche sur mer, France (UPMC/CNRS) with the support of the CNRS (Centre National de la Recherche Scientifique) and the European MAST II and III programs. It is now commercialised by Metal Process under CNRS licence. The UVP has been developed for the acquisition of large-particle (> 60 µm) abundance and size distribution data from 0 to 3000 m. Different models have been constructed since 1990 (Gorsky et al. 1992).  They were designed to minimise the disturbance of the illuminated volume in order to reduce a possible disruption of imaged particles. All models are autonomous and can be lowered on any hydrological cable. The fourth digital model is described here.

- The UVP model IV is a vertically lowered instrument mounted on a galvanized steel frame (1.1 x 0.9 x 1.25 m). The lighting is based on two 54W Chadwick Helmuth stroboscopes. Two mirrors spread the beams into a structured 8 cm thick slab. The strobes are synchronized with two full frame 25 and 8 mm C-mount lenses video cameras with and IR filters. The illuminated particles in a volume of respectively 1.25 and 10.5 liters are recorded simultaneously. The cameras are positioned perpendicular to the light slab and only illuminated particles in dark background are recorded. The short flash duration (pulse duration = 30 µs) allows a fast lowering speed (up to 1,5 m/s) without the deterioration of image quality. Four 100 W spotlights can be used instead of the stroboscopes for continuous observations of a larger non structured water volume. In this case the lowering speed is slower. Depth, temperature and conductivity data are acquired using a Seabird Seacat 19 CTD probe (S/N 1539) with fluorometer and nephelometer (both from Chelsea Instruments Ltd.). The system is powered by four 24V batteries and is piloted by a powerful computer. The data acquisition can be time or depth related and programmed prior to the immersion.. The UVP is well adapted to count and measure fragile aggregates such as marine snow as well as delicate zooplankton.

- Describe the techniques used for positioning the instrumentation.

- The depth of the images is obtained with the SBE19 probe fixed in the main frame and geographical position by the ships instruments (mainly GPS).

- Please comment on any limitations associated with using this sampling strategy.

Daylight can modify the optical properties of particles in the upper 10-60 meters. The depth range of this layer depends on the characteristics of the light penetration. Therefore, data analysis starts at depth where the measured background value of daylight remains identical to that of night profiles or to that of deep layers, not influenced by changing light regimes. This depth is automatically computed by the UVP using home made algorithms.

B. Sample Processing

- State whether sample was processed in-situ, shipboard or laboratory. Give the name of the Laboratory where samples are consistently processed if other than your own.

Samples consist of computer specific .seq and resulting files processed in situ during the ascent of the instrument. The zooplankton and CTD processing is made onboard or in the laboratory (LOV)

- Data Processing

Data processing, modelling and analysis includes the further manipulation, processing or enhancement of this generated data.

C. Data Processing, Modelling/Analysis

- Describe clearly the different stages in processing and analysing the data.

The UVP has two important features: a) it does not disturb the recorded particles or organisms and b) it allows quick data retrieval and processing. Processing of images obtained by the UVP in the structured light beam is automated and made by the system during the recovery. The images are analysed and treated automatically by custom-made software. The objects in each image are detected and enumerated. The area and 8 parameters of every individual object are measured. Data are stored in an ASCII file and can be combined with the associated CTD, fluorometer and nephelometer data (Seasoft Software) using a spreadsheet software. Vertical profiles can be printed out onboard immediately after the recovery of the UVP.

The results of the calibrations indicate that the tested configuration can detect 60 µm-sized particles and can reliably measure particles larger than 120 µm in diameter. The metric surface as a function of the pixel surface for the 25 mm and 8 mm lens cameras can be expressed by the following equations:

Equations for cam0 (X=0) : Sréelle = 0,0024( Spixels)1,4959

Equations for cam1 (X=1) : Sréelle = 0,0149( Spixels)1,6128

The calibrations were carried out in a dark test tank filled with 3 m3 filtered (20 µm) sea water. The brightness measured in the test tank was similar to that in the aphotic layers. A calibration grid, placed at different depths of the light slab, was used to estimate the recorded water volume. The dimensions and volume of the parallel light beam recorded by the cameras are :

Caméra 25 mm : 		14.1 x 10.6 cm

Caméra 8 mm :		43.5 x 32.7 cm

The pixel/mm relationship was calibrated in a test tank by injection of biological particles (range 40 µm - 20 mm)  measured prior to their use with a stereomicroscope (Gorsky et al., Estuarine, Coastal and Shelf Science, 2000).

Zooplankton results are obtained by automatic sorting of following given parameters. Manual identification is rapidly performed by taxonomist from the automatically selected images.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

The data are ready and validated for DataBank implementation (10 août 2003)

### FICHIERS / FILES

# Nom de fichier de données / file name

edmedBARMED.rtf : describes data files

instrumPVM4.rtf :	PVM description (calibration dates, addresses…)

StationBarmed.xls :	list of profiles, time, position…

*_1.xls :		Zooplankton files (versus depth)

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

List of « identified » targets  (the list below is not standardized yet!):

| Image Z Unknown Euphausiids Cteno Beroe Salp-Solitary Salp-AggregMedusa Siph Appendicul Fish Liriope tetraphylla Amphipod Sergestes Chaetognathe octopus Agalma Glass shrimp Polychaete Aeginura Cop Diatoms Pyrosome LPM Radiol Mollusque Foraminif |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

Baussant Th., Gasser B., Kantidakis A. & G. Gorsky (1993). Mesopelagic

micronekton and macrozooplankton observed by echosounding, multiple-net

sampling and video profiling across the Almeria-Oran front

(W.-Mediterranean). Ann. Inst. oceanogr., Paris, 69 (1) : 87-93.

Bianchi, A., Garcin, J., Gorsky, G., Poulicek, M. & O. Tholosan (1999)

Stimulation du potentiel de dégradation dans les eaux marines profondes par

les bactéries barotolérantes colonisant les fèces du plancton migrateur. C.

R. Acad. Sci. Paris, 322, 1113-1120.

Denis,M., Martin, V., Momzikoff, A., Stemmann, L., Demers, S., Gorsky, G.

and V. Andersen (in press) Short-Term variationS of vertical distributions

of the biological pump in the open northwestern Mediterranean sea. J. Mar. Syst.

Echevarría, F., et al. (2002) Physical- biological coupling in the Straits

of Gibraltar. Deep Sea Res. 49, 10-9, in press.

Gomez F., et al. (2001) Ecological implications of the interface oscillation

and the North Atlantic Central Water in the Strait of Gibraltar. J. Mar.

Syst., 30: 207-220.

Gorsky G., Aldorf C., Picheral M., Kage M., Garcia Y. and J. Favole (1992).

Vertical distribution of suspended aggregates determined by a new Underwater

Video Profiler. Ann. Inst. oceanogr., Paris, 68 (1-2) : 275-280.

Gorsky, G., Stemmann L., Thérond S et M. Picheral (1994). Influence de la

circulation frontale sur la distribution de la matière particulaire et du

zooplancton dans la colonne d'eau. Océanis, 20 (6), 139-151.

Gorsky, G., et al. (in press) Marine snow latitudinal distribution in the

equatorial Pacific along 180°. J. Geophys. Res.

Gorsky, G., et al. (2002) Large particulate matter (LPM) in the western

Mediterranean. (2002) 1- LPM distribution related to hydrodynamics. J. Mar.

Syst., 33-34: 274-289.

Gorsky G., et al. (2000) Use of the underwater video profiler for the study

of aggregate dynamics in the North Mediterranean. Estuar. Coast. Shelf Sci.,

50: 121-128.

Gorsky, G., et al. (2000) Zooplankton distribution in four western Norwegian

fjords. Estuar. Coast. Shelf  Sci., 50: 135-141.

Stemmann, L., et al. (2002) Four years survey of Large Particles (>0.15 mm)

vertical distribution (0-1000 m) in the NW Mediterranean. Deep-Sea Res. II ,

49: 2143-2162.

Stemmann L., et al. (2000) Diel changes in the vertical distribution of

suspended particulate matter in the NW Mediterranean Sea investigated with

the Underwater Video Profiler. Deep Sea Res. I, 47: 505-531.

Stemmann, L., Jackson, G.A., and D. Ianson. A one dimensional size-resolved

model for particle settling, aggregation, fragmentation, and microbial and

zooplankton consumption in the oceanic midwater column. I. Model

formulation. DeepSea Res. Submitted

Stemmann, L., Jackson, G.A., and G. Gorsky. A one dimensional size-resolved

model for particle flux in the oceanic midwater column that includes

physical and biological processes.  II. Application to a three year survey

in the NW Mediterranean Sea. . DeepSea Res. Submitted