FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

#### ( A renseigner AVANT la mission )

### PARAMETRES CONCERNES

N° 469

Particulate inorganic carbon PIC – In Situ PUMP  - VarioEL

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération BARMED

Nom de la campagne BARMED 1, 2, 3, 4 and 5

### PROJET  ETUDE / PROJECT TITLE

BARMED: BArium in the MEDiterranean Sea.

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # JEANDEL catherine | # LEGOS (UMR 5566) | # 335 61332933 | # 33561253205 | # Catherine.Jeandel@cnes.fr |
|  | # OMP 14 Ave E Belin 31400 Toulouse |  |  |  |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

#### The goals related to the study of the parameter “particulate inorganic carbon” are:

  - To establish the seasonal variability of the particulate inorganic carbon at the project’s study site.

  - To compare this variation to other relevant parameters established in the framework of BARMED (e.g. barite, Ba and Ra) and obtained from the same sampling device (in situ pumps) or in the framework of SODYF (e.g. macronutrients and primary production)

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

The inorganic carbon content of particles was calculated by deduction of the organic carbon (POC) from total carbon (PC) content, both POC and PC being measured with a “vario EL” elemental analyser (© elementar Analysensysteme GmbH). Two size classes were analysed, the first one representing particles >70 µm retained by a polyamide filter (mesh size: 70 µm) and the second one particles between 0.7 and 70 µm retained by a GF/F filter (nominal pore size: 0.7µm). Methods for POC and PC analysis are described in the corresponding parameter files (parameter Nos. 43 and 44).

Stratégie d'échantillonnage / Sampling strategy

We used in situ samplers (© Challenger Oceanic Ltd.) equipped with programmable pumps. With these instruments, particulate and dissolved matter can be obtained simultaneously from large volumes of seawater. Up to 4 samplers were deployed at each cast between 0 m and 300 m depth to obtain a complete profile at each cruise/season. A typical profile included the following depths: 0, max. Chla, 50, 75, 100, 150, 200, 300 m. Additional depths were sampled when peaks of particle abundance were observed during the preceding Underwater Video Profiler (UVP) cast. Programmed pumping times were mostly 60 minutes and occasionally 48 minutes.

Particulate matter was collected on a polyamide filter (mesh size: 70 µm) prewashed with HCl 5% and rinsed with MilliQ® water. The polyamide filter was followed by a GF/F (Whatman®) filter (Ø 293 mm) precombusted at 550°C during 6h. Upon recovery on board, the polyamide filter was folded and stored in a plastic bag at -28°C and the GF/F filter was very gently rinsed with about 50 ml MilliQ® water using a wash bottle, then stored at -28°C. To avoid any contamination, the filter was placed on the aluminium foil used for combustion and stored in an aluminium tray in order to stack the filters without touching the filtering surface.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

The following data will be useful to achieve the interpretation of these data :

Water column data: hydrological parameters, nutrients, pigments, primary production, particulate and dissolved Ra and Th isotopes

Trap data: Th and carbon data.

PIC data should be available for the database by the end of 2003.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Identifiable error sources for PC and POC values are: volume reading of the pump, precision of subsampling on the GF/F filter (Ø 293 mm) and the precision and accuracy of the elemental analyser. Although the error of these sources varies between different samples, the overall error for the calculated PIC values is less than 5 %.

### FICHIERS / FILES

# Nom de fichier de données / file name

Barmed_PIC_pis_miquel

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

PIC values are given in µg L-1. Size fractions >70µm and 0.7-70µm are listed separately. For each data point, the depth (m) and the sampling date are given. The sampling date refers to the midpoint of the pumping period.

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

(séparer d’une ligne blanche chaque article)