FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

#### ( A renseigner AVANT la mission )

### PARAMETRES CONCERNES

N° 159

Particulate inorganic carbon flux, PIC flux  - MOORING  -  varioEL

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération BARMED

Nom de la campagne BARMED 1, 2, 3, 4 and 5

### PROJET  ETUDE / PROJECT TITLE

BARMED: BArium in the MEDiterranean Sea.

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # JEANDEL catherine | # LEGOS (UMR 5566) | # 335 61332933 | # 33561253205 | # Catherine.Jeandel@cnes.fr |
|  | # OMP 14 Ave E Belin 31400 Toulouse |  |  |  |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

#### The goals related to the study of the parameter “particulate inorganic carbon flux” are:

  - To establish the seasonal variability of the particulate inorganic carbon flux at the project’s study site.

  - To compare this variation to other relevant parameters in the water column or in sediment traps established in the framework of BARMED (e.g. barite, Ba and Ra) and in the framework of SODYF (e.g. macronutrients, primary production, mass flux)

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

The inorganic carbon content of the freeze-dried sedimented matter was calculated by deduction of the organic carbon (POC) from total carbon (PC) content. Both organic and total carbon were measured with a “vario EL” elemental analyser (© elementar Analysensysteme GmbH). Methods for POC and PC analysis are described in the parameter files

Stratégie d'échantillonnage / Sampling strategy

Sediment traps (TECHNICAP, PPS5) with a collection area of 1m2 were deployed at 200 m and 1000 m depth of the mooring line. 4 m below each trap, a Recording Current Meter (AANDERAA, RCM 7/8) was mounted. The sample cups were programmed to sample for a 2-week period each. Prior to deployment, 13 ml of a solution of 2% buffered formaldehyde in filtered seawater was added for fixation. Upon recovery on board the sample cups were stored at 4°C.

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

The following data will be useful to achieve the interpretation of these data :

Water column data: hydrological parameters, nutrients, pigments, primary production, particulate and dissolved Ra and Th isotopes

Trap data: Th, PC and POC data.

PIC flux data should be available for the database by the end of 2003.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

The error estimate for POC and PC values depends on the quantity of the analysed subsample and on the precision and accuracy of weighing and elemental analysis. Although variable between different samples, the overall error for the calculated PIC values is less than 2 %.

### FICHIERS / FILES

# Nom de fichier de données / file name

Barmed_PIC_flux_miquel

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

PIC flux values are given in mg m-2 d-1. For each data point, the depth (m) and the sampling starting date and end date are given.

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

(séparer d’une ligne blanche chaque article)