FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

mise à jour fiche / Last update : 18-nov-2005

### PARAMETRES CONCERNES

N° 99107

Sr-dis-unfiltered-ros

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération: BARMED

Nom des campagnes : BARMED 1, 2, 3, 4 and 5

### PROJET  ETUDE / PROJECT TITLE

BARMED: BARium in the MEDiterranean Sea.

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # JEANDEL catherine | # LEGOS (UMR 5566) | # 335 61332933 | # 33561253205 | # Catherine.Jeandel@cnes.fr |
|  | # OMP 14 Ave E Belin 31400 Toulouse |  |  |  |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

#### In the framework of BARMED, the goals related to the study of the parameter “dissolved strontium in seawater” (noted above: “Sr-dis-unfiltered-ros”) are:

  - to establish the seasonal variability of the dissolved strontium vertical profiles on aliquots of UNFILTERED seawater collected at about 20 depths of the water column per cruise. Since the particulate Sr pool is insignificant compared with the dissolved Sr pool, total Sr (what is measured in unfiltered seawater) is commonly referred to as dissolved Sr.

  - To compare this variation to other relevant parameters established in the framework of BARMED (e.g. particulate barium, barite and Ba/Sr determined by SEM) or in the framework of SODYF (e.g. macronutrients and primary production)

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

Aliquots of 100 µl of unfiltered seawater were spiked using a spike enriched at 97% in 86Sr. Given the natural abundance of 86Sr and 88Sr (88Sr /86Sr =8.3753) and previous estimations of Sr concentrations in the Mediterranean Sea, 86Sr -enriched spike was added to samples in quantities so as to have a final 88Sr /86Sr ratio of ~1 in a total sample volume of 36 ml.

Samples were then diluted up to a volume of 36 ml adding MQ water enriched in HNO3 (final HN03 concentration in the sample: 2% in mass), and measured by the isotopic dilution method using the ICP/MS Perkin Elan 6000 equipped with a micronebulizer.

Stratégie d'échantillonnage / Sampling strategy

Aliquots of 30 ml of seawater samples were collected using Niskin bottles at the depths mentionned for the parameter “dissolved barium in seawater” (Ba-dis-unfiltered-ros). Dissolved strontium was measured at the following depths :

| ##### Sampling depths |  |  |  |  |
| --- | --- | --- | --- | --- |
| BAR 1 | BAR 2 | BAR 3 | BAR 4 | BAR 5 |
| 5 10 20 30 (max Chl a) 50 70 110 150 200 | 0 10 15 (max Chl a) 25 100 185 (small part maximum) 300 360 (large part maximum) | 0 10 20 30 (max Chl a) 50 75 100 150 200 | 0 10 30 50 (max Chl a) 60 75 112 140 (small part maximum) 210 300 350 | 0 30 75 100 150 200 250 300 350 400 1000 2000 |

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

The following data will be useful to achieve the interpretation of these data : hydrological parameters (including nutrients), pigments, primary production, total suspended barium, suspended barite and Ba/Sr and Ba/Ca on the barites of the same samples; bioSi; suspended and dissolved Ra and Th isotopes, phytoplankton and zooplankton taxonomies at selected depths.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

### FICHIERS / FILES

# Nom de fichier de données / file name

Rosette dissolved unfiltered Sr concentrations

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

For each cruise (Barmed 1 to Barmed 5), dissolved Sr (unfiltered) concentrations are given in µmol (10-6 mol) per kg of seawater versus depth (in meters). Errors are given in the same unit.

Barmed 1: 15/02/2003

Barmed 2: 23-24/03/2003

Barmed 3: 09-10/04/2003

Barmed 4: 15-16/05/2003

Barmed 5: 24-25/06/2003

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

(séparer d’une ligne blanche chaque article)