FICHE  META_INFORMATION_PARAMETRES

( A renseigner AVANT la mission / Fill before the cruise )

### PARAMETRES CONCERNES / PROJECT TITLE
(1 ligne par paramètre / 1 line per parameter)
(Indiquer en premier le numéro du paramètre / Firt indicate the number of the parameter)

5	Dissolved Oxygen O2

### OPERATION & CAMPAIN

BIOSOPE

### PROJET  ETUDE / PROJECT TITLE

Dissolved gases in the water column

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom /name | # adresse /address | # Téléphone/Phone | # fax /fax number | # mél /email |
| --- | --- | --- | --- | --- |
| # Laura Farías | Cabina 7 s/n. Barrio Universitario, Concepcion. Chile | # (56) 41-203738 | # (56) 41-239900 | # lfarias@profc.udec.cl |
| # Other responsible Catherine GOYET | 52 avenue Paul ALDUY 66860 Perpignan | # 04 68 66 20 87 | # 04 68 66 21 44 | # cgoyet@univ-perp.fr |
| # Other responsible Ingrid Obernosterer | Laboratoire Arago BP 44 66 651 Banyuls-sur-Mer | # 04 68 88 73 53 | # 04 68 88 73 98 | # ingrid.obernosterer@obs-banyuls.fr |

### BREVE DESCRIPTION Du PROJET / BRIEF DESCRIPTION OF THE PROJECT

To characterize the vertical variability (water column)  as well as spatial vatiability (along latitudinal gradient) in the O2 conditions in which the main autrotrophic and heterothophic communities are growing.

To determine gross and net primary production in the water column

(A compléter APRES la mission / Fill before the end of the cruise or after the cruise )

### DESCRIPTION DES PARAMETRES /  PARAMETER DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

Dissolved oxygen will be measured using semi-automated Winker titration. In essence, the dissolved oxygen present within a seawater sample is coerced under alkaline conditions to quantitatively oxidize divalent manganese to a trivalent state. The solution is then acidified, which converts iodide ion to iodine in an amount stoichiometrically proportional to the amount of dissolved oxygen contained within the original sample. The amount of iodine is then determined by titration with a thiosulfate solution of known concentration. The end result of the chemical reactions involved is that one mole of dissolved oxygen in the seawater sample will manifest as four moles of thiosulfate, and the original oxygen concentration of the seawater sample can be calculated.  Photomethic endpoint detector and a piston burette (Metrohm, Dosimat 716) will be used. As change will be introduced when we are working in an area of low oxygen-high nitrite as it is being observed in upwelling off Chile.  In this case, sodium azide will be added to reagent 2.

The method is suitable for levels of oxygen between 0.1 and 400 umol kg-1.,a and achieves a precision better ayn 0.1% coefficient of in the upper concentration range.  Accuracy of the dissolved oxygen titrations is difficult to estimate as there are currently no reference standards available for dissolved gases in seawater.

METHOD------------------------------------------------------------------------------------

Determination of dissolved oxygen during Biosope cruise

The protocol was taken from “WHP Operations and methods” (Culberson 1991). The formula used to calculate dissolved oxygen was:

Where:

Vx = thiosulfate titer of sample (cm3)

Vblk;dw = thiosulfate titer of pure water blank (cm3)

Vstd = thiosulfate titer of standard (cm3)

Vbot = volume of sample bottle (cm3) at the temperature of sampling

Vreg = volume (2 cm3) of sample displaced by reagents

VIO3 = volume of iodate standard (cm3) at temperature of standardization

NIO3 = normality of iodate standard at temperature of standardization

DOreg = absolute amount of oxygen added with reagents, 0.0017 mL

O2 = oxygen concentration in sample (mL/L)

Reference:

Culberson, C.H. 1991, “Dissolved oxygen” in “WHP Operations and methods”: http://whpo.ucsd.edu/manuals/pdf/91_1/culber2.pdf

# Stratégie d'échantillonnage / Sampling strategy

Automated Winkler Titration for determining dissolved oxygen on board ship

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Post analysis will be required after to collect the data in conjunction with CTD in order to estimate geochemical parameters as AOU, percentage of saturation, and anthropogenic CO2.

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

6.5 SPECIAL  NOTES

- We assumed a blank equal to  zero. We had problems with the blank during 
the Winkler titration.  Apparently, the double point of titration that was 
made to obtain the reagent blank could not be obtained in the used automatic 
system during 
Biosope. 

According to my experience, the  blank usually fluctuated between 0,01-0,05. 
Ignoring the blank will introduce small and systematic errors into the 
oxygen calculations, but these errors will be the same for all depth and 
will not affect the comparison and tendency of the results 

3.-We could not have sufficient bottles to sample all the depths, nor could 
either make replication of sample, this we could not estimate precision or 
other statistical  parameters.

### FICHIERS / FILES

# Nom de fichier de données / file name

oxygene final.xls

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

Ox ctd (ml/l) : 	Concentration O2 donnée par la sonde CTD

Winkler (ml/l) : 	Concentration O2 donnée par la méthode Wrinkler

Flag ODV :

0	good	(Winkler - Oxctd) < 2% Oxctd

4	questionable	2% < (Winkler - Oxctd) < 5%

8	bad	5% < (Winkler - Oxctd)

### RESULTATS PRELIMINAIRES

### REFERENCES

### References

Carpenter, J.H. 1965. The Chesapeake Bay Institute technique for the Winkler dissolved oxygen method. Limnology and Oceanography, 10: 141–143.

Hansen, H.-P. 1999. Determination of oxygen. In Methods of seawater analysis, 3rd edition, pp. 75–89. Ed. by K. Grasshoff et al. Wiley-VCH, Germany.

Weiss, R.F. 1970. The solubility of nitrogen, oxygen, and argon in water and sea water. Deep Sea Research, 17: 721–735.

WOCE. 1994. Operational Manual. Volume 3: The Observational Programme.