FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

Date de mise à jour : Update :  2007-06-12

#### ( A renseigner AVANT la mission )

### PARAMETRES CONCERNES

Macronutrients

28. NO3

29. NO2

31. PO4

33. Silicate Si(OH)4

225. HN4

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération 		PROOF-BIOSOPE

Nom des  campagnes		BIOSOPE

### PROJET  D’ETUDE / PROJECT TITLE

Stocks et flux de matières : estimation des concentrations en éléments minéraux et matières organiques. Quantification des taux d’assimilation du carbone et de l’azote inorganique et des taux de régénération de l’azote. Influence de la structure hydrologique sur la production nouvelle et l’exportation de matière

Pools and flux of matter: estimation of inorganic and organic matter. Quantification of carbon assimilation and nitrogen uptake and regeneration. Impact of the water column structure on new production and export  flux.

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

[ Date de mise à jour : Update :  2007-06-12

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # RAIMBAULT | # COM-OB UMR 535 | # 0491829105 | # 0491821991 | # Patrick.raimbault@univmed.fr |

### ]

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

Nutrients concentrations and biomass stocks will be used to characterize the trophic level of the ecosystem along a latitudinal gradient.

#### ( A compléter APRES  la mission )

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

##### Macronutrients

LOB-CNRS Marseille

Collection and storage of samples

Water samples were collected at different depth according to the water mass stratification and location of chlorophyll maximum. Water was transferred from the Niskin bottles with a Teflon tube into 100 ml litres polyethylene  bottles previously washed with chloride acid 2N and rinsed with MilliQ water before the cruise. 500 µl of mercuric chloride were added to poison the samples which stored at dark until analysis at laboratory.

Analysis

Analysis were performed on board and at the laboratory using an automated colorimetric procedure (Tréguer and Le Corre, 1975) for nitrate, nitrite, phosphate and silicate and fluorescence method for ammonium (Holmes et al., 1999).

Nitrate in µmoles.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Nitrite in µmoles.l-1: detection limit= 0.03 µmoles.l-1   accuracy = ± 0.03µmoles.l-1

Phosphate in µmoles.l-1: detection limit= 0.02 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Silicates in µmoles.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Ammonium in nmoles.l-1: detection limit= 3 nmoles.l-1   accuracy = ± 5 nmoles.l-1

# Stratégie d'échantillonnage / Sampling strategy

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Nitrate in µmoles.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Nitrite in µmoles.l-1: detection limit= 0.03 µmoles.l-1   accuracy = ± 0.03µmoles.l-1

Phosphate in µmoles.l-1: detection limit= 0.02 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Silicates in µmoles.l-1: detection limit= 0.05 µmoles.l-1   accuracy = ± 0.05µmoles.l-1

Ammonium in nmoles.l-1: detection limit= 3 nmoles.l-1   accuracy = ± 5 nmoles.l-1

### FICHIERS / FILES

# Nom de fichier de données / file name

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

| Macronutrients Noms et abréviations utilisées |  |
| --- | --- |
| Nitrates NO3 Nitrite NO2 Phosphates PO4 Silicates SiOH4 |  |

### REFERENCES BIBLIOGRAPHIQUES

Raimbault P., Pouvesle W., Sempéré R., Diaz F, Garcia N, 1999. A simple procedure for simultaneous analysis of total and dissolved organic forms of carbon, nitrogen and phosphorus  in seawater using the wet-oxidation technic. Mar. chem., 66 : 161-169.

Raimbault P., Diaz F., Boudjellal B., 1999 Simultaneous determination of particulate forms of carbon, nitrogen and phosphorus collected on filters using a semi-automatic wet-oxidation procedure. Mar. Ecol. Progr. Ser., 180: 289-295.

Tréguer, P., LeCorre, P., 1975. Manuel d’analyses des sels nutritifs dans l’eau de mer (Utilisation de l’Autoanalyser II), 2ème edn. Laboratoire. de Chimie Marine, Université de Bretagne Occidentale, Brest, 110 pp.

Holmes R.M .,Aminot A., Kerouel R., Hooker B.A., Peterson B.J., 1999. A simple and precise method for measuring ammoniumin marine and freshwater ecosystems. Can J. Fish. Aquat. Sci., 56: 1801-1808

Slawyk G., Raimbault P.,1995. A simple procedure for the simultaneous recovery of dissolved inorganic and organic nitrogen in 15N-tracer experiments on oceanic waters improving the mass balance. Mar. Ecol. Prog. Ser.,124: 289-299

Raimbault P., Slawyk G., Boudjellal B., Coatanoan C., Conan P., Coste B., Garcia N., Moutin T., Pujo-Pay M., 1999. Biomass, new production and export in the equatorial Pacific at 150°W: Evidence for intense nitrogen recycling. J. Geophys. Res. 104, 3341-3356.

Raimbault P., Slawyk G., Garcia N, 2000. Comparison between chemical and isotopic measurements of biological nitrate utilization: further evidence of low new production levels in the equatorial Pacific. Mar. biol., 136 :1147-115