Supporting Information

Updated: Feb 14, 2012

Authors: Dr Peter Croot (IFM-GEOMAR). Sample collection by BONUS GOOD HOPE (BGH) participants (see associated metadata on this cruise for more details).

For more information please contact Dr Peter Croot (croot.peter@gmail.com)

Sample Collection

Samples were collected during the IPY cruise BGH. All samples were collected using trace metal clean GO-FLO samplers. Samples were drawn from the GO-FLO directly into an acid-cleaned Polymethylpentene (PMP) bottles that had been rinsed 3 times with sample water before the final filling of the bottle. Samples were acidified at sea and run later in the laboratory as described below.

Determination of dissolved and total aluminium

Once the sample bottles had reached the laboratory the subsequent sample handling and analysis was performed in a Class 100 clean room (IFM-GEOMAR). The Aluminium measurements were performed using batch mode lumogallion fluorescence using a Hitachi FL-2700 fluorometer as described in Dammshäuser et al. , which was based on the earlier method of Hydes and Liss  and Howard et al. . The analytical performance of the method was assessed by repeat analysis of SAFe intercalibration samples. The reagent blank for each daily run (ranging from 0.5 to 1.7 nM) was measured on samples containing ultra high purity water with the same reagent additions and has been subtracted from the reported results.

References:

Dammshäuser, A., Wagener, T. and Croot, P.L., 2011. Surface water dissolved aluminum and titanium: Tracers for specific time scales of dust deposition to the Atlantic? Geophys. Res. Lett., 38(24): L24601.

Howard, A.G., Coxhead, A.J., Potter, I.A. and Watt, A.P., 1986. Determination of dissolved aluminium by the micelle-enhanced fluorescence of its lumogallion complex. Analyst, 111: 1379-1382.

Hydes, D.J. and Liss, P.S., 1976. Fluorimetric method for determination of low concentrations of dissolved aluminum in natural waters. Analyst, 101: 922-931.