Dissolved Inorganic Phosphate (DIP) turnover time measurements

Thierry MOUTIN, Romain MAURIAC, Agathe TALARMIN

Laboratoire d’Océanographie et de Biogéochimie UMR-6535-CNRS, Centre d'Océanologie de Marseille, Campus de Luminy, 13288 Marseille Cedex 9

romain.mauriac@univmed.fr

Dissolved Inorganic Phosphate Turnover time (TDIP) was measured in 10-ml samples spiked with 100 µl  of a 66.5 pM carrier-free 33PO4 solution (Perkin Elmer). Samples were incubated in polycarbonate vials using on-deck incubators. Incubation (15 min) was stopped by a 100-μl addition of 10 mM non-radioactive KH2PO4 (Cold Chase). Filtration was performed in less than 1 h on 0.2 μm (25 mm diameter) Millipore polycarbonate filters with no more than 200 mbar pression. Radioactivity on filters (cpm) was measured by scintillation liquid counting and TDIP was calculated from the equation:

TDIP=−tln1−Rf−RbRt

with:

TDIP:DIP turnover time (hours)

t:   Incubation time (hours)

Rf:Radioactivity measured on the filter

Rb:Radioactivity for the blank (sample is cold chased before incubation)

Rt:Total radioactivity added to the sample

Detailed protocol can be foud in Thingstad et al. (1993) & Moutin et al. (2002)

- Thingstad, T. F., E.F. Skjoldal & R.A. Bohne, 1993: Phosphorus cycling and algal-bacterial competition in Sandsfjord, western Norway. Marine Ecology Progress Series, 99, 239-259.

- Moutin, T., T.F. Thingstad, F. Van Wambeke, D. Marie, G. Slawyk, P. Raimbault & H. Claustre, 2002: Does competition for nano-molar phosphate supply explain the predominance of the cyanobacterium Synechococcus? Limnology and Oceanography, 47, 1562-1567.