FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

### PARAMETRES CONCERNES

Lipid class tracers in dissolved matter and suspended particles

### OPERATION & CAMPAGNE / OPERATION & CAMPAIN

Nom de l’opération 		BOUM

Nom des  campagnes

### PROJET  ETUDE / PROJECT TITLE

Mediterranean Biogeochemistry

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # GOUTX | # COM-UMR6117 | # 0491829062 | # 0491829051 | # goutx@com.univ-mrs.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

- Lipid class biotracers will be used to characterize and quantify biogenic carbon stocks in surface waters (suspended and dissolved matter).

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

DISSOLVED AND PARTICULATE LIPIDS

LMGEM-CNRS Marseille

Collection and filtration of samples

Water samples were collected at different depth by CTD/rosette casts between 0 and 150 m. Water was transferred from the Niskin bottles with a Teflon tube into 10 litres glass bottles previously washed with chloride acid 2N during 10 hours and rinsed with MilliQ water before the cruise. Four liters were gently filtrated onto pre-cleaned (6h at 450°C) GF/F glass fiber filters using all-glass cylinders and filtration kits to separate suspended particles from dissolved organic material. Filters were stored at -20°C. After addition of dichloromethane (30 ml), filtrates (1,5l) were immediately extracted in the ship laboratory. All glassware was previously washed with RBS detergent, HCl 2N, then rinsed with MilliQ water and burned during 6 hours at 450°C.

Extraction of dissolved lipids

After addition of 100 µl internal standard (hexadecanone solution), dissolved fractions (1,5 l) were liquid-liquid extracted in the laboratory using 4 times (2 times at pH <2) 100 ml dichloromethane (Rathburn Chemical Ltd, HPLC grade). After decantation, the organic phases were combined, the volume reduced with a rotary evaporator and stored at -18°C under nitrogen atmosphere.

Extraction of particulate lipids

Filters were extracted according to Bligh and Dyer (1959). Each filter was pulverised into a monophasic solvent mixture (CH2Cl2 / CH3OH / H2O, 1.25 / 2.5 / 0.8ml) with 100µl internal standard (hexadecanone), Sigma Chemical Ltd, GC grade). After one night extraction at 4°C under nitrogen atmosphere, the monophasic mixture was supplemented with CH2Cl2 and H2O to produce a biphasic mixture. After rinsing twice the aqueous phase with dichloromethane, the dichloromethane phases were combined, evaporated under nitrogen, transferred into 200µl glass insert and stored in dichloromethane under nitrogen atmosphere at -20°C until analysis (less than 3 months).

Lipid class analysis

Dissolved and particulate lipid classes were separated on chromarods and quantified on a thin layer chromatography/flame ionisation detection (TLC/FID) Iatroscan TH10 apparatus model MK-IV (hydrogen flow, 160ml/min; air flow, 2000 ml/min) coupled to a compatible PC equipped with a Boreal integration system (Flotec company, 1989). Samples (4-6µl of  a 30µl solution of the lipid extract in dichloromethane) were spotted using a 2µl Hamilton syringe onto chomarods SIII previously calibrated with standard compounds (Sigma Chemical Ltd, GC grade). Analyses were run in triplicate.

The separation scheme involved five elution steps in solvent systems of increasing polarity: hexane+diethylether+formic acid, acetone, chloroform+methanol and chloroform+methanol+ammonium hydroxide according to the modified procedure (Striby et al. 1999) of Goutx et al. (1990). The use of these elution systems was successful to separate neutral lipid classes (hydrocarbons, sterol esters co-eluting with wax esters, ketone as internal standard, triacylglycerols, free fatty acids, alcohols sterols and diglycerides), chloroplast lipids (pigments, glycolipids and monoglycerides) and non-nitrogen containing phospholipids (diphosphatidylglycerides co-eluting with phosphatidylglycerides) from nitrogen containing phospholipids (phosphatidylethanolamine and phosphatidylcholine). In such conditions, the relative standard deviation of replicate samples (n=3) for Iatroscan TLC-FID analysis was 3 to 11%.

# Stratégie d'échantillonnage / Sampling strategy

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Data on lipids in 0-150 m dissolved profiles and suspended

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

In the above analytical  conditions, the relative standard deviation of replicate samples (n=3) for Iatroscan TLC-FID analysis was 3 to 11%.

### FICHIERS / FILES

# Nom de fichier de données / file name

Lipids_diss_suspended profile_0-160m.xls

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

# Abbrévations ci dessous

| Lipides neutres Noms et abréviations utilisées | Lipides polaires Noms et abréviations utilisées |
| --- | --- |
| Hydrocarbures HC Cires WE Cétones KET Triglycérides TG Acides gras AG Alcools ALC Stérols ST Diglycérides 1,3&1,2DG | Pigments PIG Monoglycérides MG Monogalactosyl-diglycérides MGDG Digalactosyl-diglycérides DGDG Diphosphatidylglycérols DPG Phosphatidylglycérides PG Phosphatidyléthanolamines PE Phosphatidylcholines PC |

Tableau 1 : Les différentes classe de lipides .

### RESULTATS PRELIMINAIRES  / RESULTS

### REFERENCES BIBLIOGRAPHIQUES

Bligh E. G. and Dyer W. J., 1959.-"A rapid method of total lipid extraction and purification."-Can. J. Biochem. Physiol., 37, 911-917 .

Goutx M., Gérin C. and Bertrand J. C., 1990.-"An application of Iatroscan thin-layer chromatography with flame ionisation detection - Lipids classes of microorganisms as biomarkers in the marine environment".-Organic Geochemistry , 16, 1231-1237 .

Striby, L., Lafont, R. and Goutx, M. 1999 Improvment in the Iatroscan thin-layer chromatography - flame ionisation detection analysis of marine lipids. Separation and quantitation of mono- and diacylglycerols in standards and natural samples - submitted to Journal of chromatography A - 849: 391-380.