# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre)

### Nom du DATASET / Data SET NAME

Data set Name : Particulate Nitrogen

### PROJET-ETUDE / PROJECT TITLE

Voir le fichier 	DeWEX_META_INFO_compil.doc

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : 12 Niskin bottles-rosette

Station number-Cast number :

| DEWEX LEG 1 | DEWEX LEG 2 |
| --- | --- |
| Station number/Cast number | Station number/Cast number |
| 002 – 003 – 005 – 007 – 009 – 011 – 014 – 017 – 018 – 019 – 022 – 023 – 025 – 028 – 031 – 035 – 039 – 043 – 045 – 048 – 052 – 059 – 060 – 063 – 066 – 071 | 001– 006 – 009 – 013 – 016 – 019 – 020 – 022 – 025 – 028 – 031 – 037 – 042 – 045 –048– 051 – 055 –061 –067 – 071 – 073 – 074 – 078 – 081 – 083 – 084 – 085 – 087 – 088 – 089 – 091 – 093 – 095 – 098 - 099 |

Operation code : Dx CTD xxx / Niskin x

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Mireille Pujo-Pay | # LOMIC UMR 7621 avenue du Fontaulé 66650 Banyuls/mer | # 04 68 88 73 51 | # 04 68 88 73 95 | # pujopay@obs-banyuls.fr |
| # Pascal Conan | # LOMIC UMR 7621 avenue du Fontaulé 66650 Banyuls/mer | # 04 68 88 73 52 | # 04 68 88 73 95 | # pascal.conan@obs-banyuls.fr |

### DATASET contact

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Mireille Pujo-Pay | # LOMIC UMR 7621 avenue du Fontaulé 66650 Banyuls/mer | # 04 68 88 73 51 | # 04 68 88 73 95 | # pujopay@obs-banyuls.fr |
| # Pascal Conan | # LOMIC UMR 7621 avenue du Fontaulé 66650 Banyuls/mer | # 04 68 88 73 52 | # 04 68 88 73 95 | # pascal.conan@obs-banyuls.fr |

### INFORMATION GEOGRAPHIQUES /  GEOGRAPHIC INFORMATION

Voir le fichier 	DeWEX_META_INFO_compil.doc

### DESCRIPTION DES INSTRUMENTS /  INSTRUMENTS DESCRIPTION

Instrument Type: Autoanalyseur

Manufacturer: Bran-Luebbe - SEAL

Model: AA-III HR

Instrument Features / Calibration: The slope of a calibration curve carried out with deionised water. Deionised water is used for the baseline as reference zero nutrient.

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Samples were collected from Niskin bottles in 500 ml calcinated Schott glass bottles. 200ml of the samples were then filtered through combusted GF/F filter. The filters are put in calcinated glass tubes and dried in an oven at 60°C during 24 hours. Storage in a dessicator until the analysis.

Analytical procedure : (briefly, could be a short recall to a published reference):

Filters were transferred in 30ml Teflon bottles. Following the addition of 20ml of deionised water and 2.5 ml of the oxidative reagent (boric acid + sodium hydroxide + potassium peroxodisulfate), samples were then heated at 120°C during 30 min. After cooling, the samples are filtered before analysis. The concentration of Particulate Nitrogen was determined using continuous flow analysis (AAIII HR): the absorbance of the pink complex formed with the samples and the reagents is measured at 540nm.

Units:  µmol.L-1

Sensor Precision:

Precision : The precision 10%, was the relative standard deviation obtained from 10 determinations (oxidation and colorimetric detection) of the same sample

Limite de détection : 0.02µmol/l

Validation des données obtenues : Accuracy was determined by measuring certified standard CERTIPUR/Merck. For a concentration of 6.5µmol/l the accuracy was 1%

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : October 2013

### REFERENCES BIBLIOGRAPHIQUES

Alain Aminot, Roger Kérouel : Dosage automatique des nutriments dans les eaux marines : méthodes en flux continu. Ed. Ifremer. 2007

Pujo-Pay, M., Conan, P., and Raimbault, P.: Particulate and dissolved organic nitrogen and phosphorus in the north western Mediterranean Sea (EROS 2000 - Discovery cruise 1993), edited by: Martin, J. M., and Barth, H., 79-86, 1995.

Pujo-Pay, M., Conan, P., and Raimbault, P.: Excretion of dissolved organic nitrogen by phytoplankton assessed by wet oxidation and N-15 tracer procedures, Mar. Ecol. Prog. Ser., 153, 99-111, 1997

Wood , E.D. , Armstrong , F.A.J. and Richards, F.A. (1967). Determination of nitrate in seawater by cadmium-copper reduction to nitrite. J.Mar.Biol.Ass. U.K. , 47, 23-31