# KEOPS

# Dissolved iron isotopic composition measurements

F. Lacan(1), A. Radic(1), S. Blain(2)

(1) Laboratoire d'Etude en Géodésie et Océanographie Spatiales, LEGOS, UMR CNRS 5566, Observatoire Midi Pyrénées, 14 av Edouard Belin, 31400, Toulouse.

(2) Laboratoire d'Océanographie Biologique, UMR CNRS 7621, Université Pierre et Marie Curie, Paris 6, avenue Fontaule BP 44, 66651 Banyuls sur mer.

I. Methods for trace metal Sampling

Ten Go-Flo bottles hanged on a 3000m Kevlar line were used to take samples from the surface to the bottom at the stations A1, A3, A5, A7, A8, A11, B1, B3, B5, B7, B8, B11, C1, C3, C5, C7, C9, C11 and KERFIX stations. 25 casts for dissolved trace metal analysis and 7 casts for particulate analysis were realised.

Sub sampling of the Go Flo bottles were performed in a clean container. Go flo bottles were gently pressured with N2 (high purity grade) allowing on line filtration of seawater through 0.2 µm cartridges (SARTOBAN).

II. Methods for the measurement of the dissolved iron isotopic composition.

The analytical protocol is described in Lacan et al. 08 (Geophysical Research Letters, 35(24)).

Briefly, iron is preconcentrated using a Nitriloacetic Acid Superflow resin and purified using an AG1x4 anion exchange resin. The isotopic ratios are measured with a MC-ICPMS Neptune, coupled with a desolvator (Apex-Q), using a Fe-57-Fe-58 double spike mass bias correction.

Concentration is obtained, by isotopic dilution, as a byproduct of the double spike isotopic composition measurement.

III. File description

Column A: station code

Column B: cast code, i.e. GONI number

Column C: bottle number

Column D : isotopic composition of dissolved iron expressed as 56/54Fe relative to IRMM-14 (‰).

Column E: uncertainty for the isotopic composition of dissolved iron expressed as 2 standard deviations (‰).

Column F : concentration of dissolved iron (nM), measured by isotopic dilution on a MC-ICPMS. Cf. Lacan et al. 08 for uncertainties.

Column G : Indicative depth of the sample (m). Cf. cruise basic files for more detailed information.