KEOPS

410 – Virus  Viral abundance  - Rosette

Project Title: Viral abundance

Name: Andrea Malits

Address: 	Laboratoire d'Oceanographie de Villefranche (LOV)

CNRS, UMR 7093, B.P. 28

06234 Villefranche-sur-Mer Cedex, FRANCE

Phone: +33 (0)4 93 76 38 33, Fax: +33 (0)4 93 76 38 34

email address: e-mail:malits@obs-vlfr.fr

Overview of the project: Determination of in situ viral abundance above the Kerguelen plateau and in offshore waters

# Data description

Parameters and methodology: Subsamples (2 ml) were fixed with glutaraldehyd (0.5% final concentration), incubated for 15-30 minutes at 4ºC, subsequently frozen in liquid nitrogen and stored at –80ºC. Viral particles will be quantified by flowcytometry (Brussaard 2004) upon return to the laboratory.

Sampling strategy: Samples for viral abundance were collected at 6-8 depths throughout the water column at all stations visited during the KEOPS cruise.

Planning for data availability: Data have been just partly analyzed since Corina Brussard took samples for viral abundance and measured them already. Samples that have not been measured are stored at –80ºC and will serve as a back-up.

Data file description: Viral abundance (virus L-1), samples that have not been analyzed are marked by a cross, column C.

References:

Brussaard, C. P. D. 2004. Optimization of Procedures for Counting Viruses by Flow Cytometry. Appl. Environ. Microbiol. 70: 1506-1513.