KEOPS

437 – Virus  Infection Lytically  FIC  - Rosette

Project Title: Frequency of lytically infected prokaryotic cells

Name: Andrea Malits

Address: 	Laboratoire d'Oceanographie de Villefranche (LOV)

CNRS, UMR 7093, B.P. 28

06234 Villefranche-sur-Mer Cedex, FRANCE

Phone: +33 (0)4 93 76 38 33, Fax: +33 (0)4 93 76 38 34

email address: e-mail:malits@obs-vlfr.fr

Overview of the project: Determination of the frequency of lytically infected prokaryotic cells (FIC) in two contrasting marine environments: at early and final stages of bloom events caused by natural iron fertilization and at HNLC environments.

# Data description

Parameters and methodology: A virus dilution approach was used to estimate the frequency of lytically infected prokaryotic cells (Weinbauer et al. 2002). Bacteria from 200 ml raw seawater were concentrated using a tangential flow system with a peristaltic pump (Watson-Marlow) equipped with a 0.2 µm cartridge (VIVAFLOW 50). To obtain virus-free seawater, the 0.2 µm pore-size ultrafiltrate was passed through a 100kDalton cartridge (VIVAFLOW 50). The bacterial concentrates were brought up to the original volume with virus-free seawater and incubated in replicates (50ml) at in situ temperature for 24 hours. Subsamples (2ml) for viral abundance of each incubation were taken every 3-4 hours, fixed with glutaraldehyd (0.5% final concentration), incubated for 15-30 minutes at 4ºC, subsequently frozen in liquid nitrogen and stored at –80ºC. Viral particles were quantified by flowcytometry (Brussaard 2004). Dividing the number of produced phages by an assumed burst size of 50, yields the number of lysed cells and thus gives an estimation of FIC (Weinbauer et al. 2002). FIC was calculated as

FIC = 100 x ([V2 – V1] / BS / B)

where BS is the burst size and B is bacterial abundance at the start of the experiment

Sampling strategy: 2-3 depths (within and below the surface mixed layer) at the following stations to cover the centre and borders of each transect: A3, A11, C11, B11, B5, B1 and C3. The main process stations A3 and C11 were sampled twice.

Data file description: Frequency of lytically infected cells (%), column D.

Data availability: Burst sizes of infected cells will be measured by electron microscopy and FIC corrected with actual BS.

References:

Brussaard, C. P. D. 2004. Optimization of Procedures for Counting Viruses by Flow Cytometry. Appl. Environ. Microbiol. 70: 1506-1513.

Weinbauer, M. G., C. Winter, and M. G. Hoefle. 2002. Reconsidering transmission electron microscopy based estimates of viral infection of bacterioplankton using conversion factors derived from natural communities. Aquat. Microb. Ecol. 27: 103-110.