FICHE  META_INFORMATION_PARAMETRES

(à remplir par le responsable du paramètre)

Date  : de dernière mise à jour : last update :  19/11/2007

### PARAMETRES CONCERNES

p314 : TDFe (total dissolvable iron: unfiltered, acidified and analysed by chemiluminescence)

Nom de l’opération 		KEOPS

Nom des  campagnes		KEOPS

### PROJET  ETUDE / PROJECT TITLE

Distributions of total dissolvable Fe (TDFe) over the whole Keops area

### RESPONSABLE SCIENTIFIQUE / PRINCIPAL INVESTIGATOR

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Sarthou Géraldine | LEMAR, Plouzané | # (33) (0)2 98 49 86 55 | # (33) (0)2 98 49 86 45 | # Geraldine.Sarthou@univ-brest.fr |
| # Bucciarelli Eva | LEMAR, Plouzané | # (33) (0)2 98 49 86 58 | # (33) (0)2 98 49 86 45 | # Eva.Bucciarelli@univ-brest.fr |

### BREVE DESCRIPTION DU PROJET / BRIEF DESCRIPTION OF PROJECT

The main objectives are:

- Determination of the vertical profiles of TDFe for stations located above and outside the plateau

- Determination of the TDFe flux

- Determination of the apparent particulate Fe (TDFe-DFe)

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été mesuré et comment / What did you measure and how did you do it (include references for analytical methods)?

TDFe samples: TDFe represent the dissolved fraction plus the labile particulate fraction. Samples were stored at room temperature and analysed 18 months later by flow injection analysis with chemiluminescence detection at the LEMAR/UMR 6539, Plouzané .

# Stratégie d'échantillonnage / Sampling strategy

19 stations located above and outside the Kerguelen plateau were sampled for trace metal determinations Seawater samples from eleven stations (A3, B1, B3, B5, B7, B8, B11, C1, C5, C11 and KF) were collected. Stations A3, B1, B3, B5, B7, C1 and C5 were located above the Kerguelen plateau while stations B11 and C11 were located outside the plateau. Samples were collected with acid-cleaned Go-Flo bottles mounted on a Kevlar cable and tripped by Teflon messengers. The bottles were then brought in a clean van for sub sampling. Unfiltered samples were collected in 125 mL high density polyethylene bottles. Each sample was immediately acidified with ultrapure HCl (250 µl) (Merck).

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

The mean blank was equal to 0.07 ± 0.07 nM (n=9) and the detection limit 0.02 ± 0.02 nM (n=9).

### FICHIERS / FILES

# Nom de fichier de données / file name

“TDFe.xls” is giving the TDFe concentration at each depth of each station

# Explication des têtes de colonne, des unités et des abréviations utilisées dans le fichier de données / data file structure

nv : not validated

nd : not determined

### REFERENCES BIBLIOGRAPHIQUES

Obata, H., H. Karatani, et al. (1993). "Automated determination of iron in seawater by chelating resin concentration and chemiluminescence." Anal. Chem. 65: 1524-1528.