## Phytoplankton Communities Study

## -HPLC pigment analysis-

## Metadata-info

# Julia Uitz1, Joséphine Ras1, Hervé Claustre1 & Brian Griffiths2

1 Laboratoire d’Océanographie de Villefranche

Quai de La Darse - B.P. 8 - 06238 Villefranche-sur-Mer

Tél. : +33 (0)4 93 76 37 22

Fax : +33 (0)4 93 76 38 73

Email : uitz@obs-vlfr.fr; jras@obs-vlfr.fr; claustre@obs-vlf.fr

2 CSIRO Division of Marine Research

GPO Box 1538, Hobart, Tasmania Australia 7001

Tel:  +61 3 6323 5222

Fax: +61 3 6232 5000

Email:  Brian.Griffiths@csiro.au

Determination of the biomass and composition of phytoplankton communities in the two contrasted environments of the KEOPS cruise area of the Southern Ocean.

Détermination de la biomasse et de la composition des communautés phytoplanctoniques dans deux zones contrastées de la zone d’étude de la campagne KEOPS dans l’Océan Austral.

### Overview of the project

The KEOPS cruise offers the opportunity to improve our knowledge of the phytoplankton community composition and distribution in southern waters which tend to favour particular assemblages with respect to those of temperate regions, and in contrasting trophic environments such as the HNLC zone and the bloom region of the Kerguelen Plateau.

The HPLC (High Performance Liquid Chromatography) technique allows the determination of the chlorophyll a (universal indicator of the phytoplankton biomass), and of a suite of accessory pigments (carotenoids and chlorophylls) used as biomarkers of diverse phytoplankton taxa or groups.

Our first objective is to determine the phytoplankton community biomass and composition using HPLC-determined pigments.

Phytoplankton pigment are specific to phytoplankton groups, and can also be assigned to size classes, such as micro- (> 20 µm), nano- (2-20 µm), and picophytoplankton (< 2 µm). Thus, our second objective is to test the reliability of the relationship between size and pigment content, by determining the pigment composition in three size fractions. To allow the comparison with previous studies, and for methodological convenience, the three size fractions chosen here are as follows: (i) > 10 µm, (ii) 2–10 µm, and (iii) 0.4–2 µm.

Our last objective is to study the potential relationships between the phytoplankton community composition and the photosynthetic properties of the algae. Thus, samples for phytoplankton pigment measurements were collected simultaneously (i.e. sampled on same rosettes) as those for P-E experiments and primary production incubations.

### Parameters and Methodology

Both whole samples and size fractions were made during the cruise:

- For the whole samples, between 1.5 L and 2.8 L of sea water were filtered through 25-mm Whatman GF/F glass-fiber filters (pore size = 0.7 µm).

- For size fractions, between 1.5 L and 2.8 L of sea water were filtered through 47-mm Osmonics polycarbonate filters, using filters with pore sizes of 10 µm, 2 µm and 0.4 µm.

The filter pads were placed in cryotubes and stored in nitrogen until laboratory analysis. Filters will be analysed according to the following procedure. Samples are extracted in 3mL HPLC-grade methanol for 1 hour minimum and the clarified extracts are then injected (within 24 hours) onto a reversed phase C8 Zorbax Eclipse column (dimension: 3 x 150 mm, 3.5 µm pore size). Instrumentation comprises an Agilent Technologies 1100 series HPLC system with diode array detection at 450, 667 and 770 nm. The HPLC analytical procedure is derived from the method described by Van Heukelem et al. [2001].

### Sampling Strategy

There were two types of stations:

- Transect stations, where stock CTDs were done to describe the whole water column to depths of 300m.

- Long production stations and transect production stations, for which both production and stock CTDs were done. Production CTDs were done to support 24 hours deck incubation production experiments.

Both whole samples and size fractions were made on each production and stock CTD. Samples for pigment determination and P-E experiments were systematically collected from same CTDs and same Niskin bottles.

The stations, CTD numbers and a summary of sampled depths are given in Table 1.

Table 1: Sampling sites during KEOPS.

| Station |  | CTD |  | HPLC |  |
| --- | --- | --- | --- | --- | --- |
| Type | Number | Type | Number | Whole sample | Size fractions |
| 24h station | A3 #1 | production | 007 | 6 depths | 4 depths |
|  | A3 #1 | stock | 008 | 9 depths |  |
| Transect A | A11 | stock | 010 | 9 depths | 4 depths |
|  | A9 | stock | 015 | 10 depths | surface |
|  | A7 | stock | 018 | 10 depths | surface |
|  | A5 | stock | 021 | 10 depths | 3 depths |
|  | A3 | stock | 024 | 10 depths | surface |
|  | A1 | stock | 026 | 10 depths | 3 depths |
| 24h station | A3 #2 | stock | 030 | 11 depths |  |
| 24h station | C11 #1 | production | 040 | 8 depths |  |
|  | C11 #1 | stock | 041 | 10 depths | 3 depths |
|  | C11 #1 | production | 045 | 8 depths | 3 depths |
| Transect B | B11 | stock | 052 | 10 depths | 3 depths |
|  | B9 | stock | 056 | 10 depths | surface |
|  | B7 | stock | 058 | 10 depths | surface |
|  | B5 | stock | 063 | 10 depths |  |
|  | B5 | production | 064 | 8 depths | surface |
|  | B3 | stock | 066 | 10 depths | surface |
|  | B1 | stock | 069 | 10 depths | 3 depths |
| 24h station | A3 #3 | stock | 075 | 10 depths |  |
|  | A3 #3 | production | 076 | 8 depths | 3 depths |
| 24h station | C11 #2 | stock | 081 | 10 depths |  |
|  | C11 #2 | production | 082 | 8 depths | 3 depths |
| Transect C | C9 | stock | 086 | 10 depths | surface |
|  | C7 | stock | 089 | 10 depths | surface |
|  | C5 | stock | 093 | 9 depths |  |
|  | C5 | production | 094 | 7 depths | 2 depths |
|  | C3 | stock | 098 | 10 depths | surface |
|  | C1 | stock | 101 | 7 depths |  |
|  | C1 | production | 102 | 6 depths | 2 depths |
| 24h station | Kerfix | stock | 105 | 10 depths |  |
|  | Kerfix | production | 107 | 7 depths | 3 depths |
| 24h station | A3 #4 | stock | 111 | 10 depths |  |
|  | A3 #4 | production | 112 | 8 depths | 3 depths |

### Data file description

The measured pigments are listed in Table 2.

Table 2: Pigments measured, their definition and their limits of quantification (LOQ) during analysis of the KEOPS samples. Results are presented in mg pigment m-3.

| Pigment | Definition | LOQ |
| --- | --- | --- |
| Chlorophyll c3 |  | 0.0020 |
| Chlorophyll c2 |  | 0.0020 |
| sum Chld a | Sum of Chlorophyllides a | 0.0006 |
| Peridinin |  | 0.0005 |
| sum Phbd a | Sum of Phaeophorbides a | 0.0003 |
| 19'-Butanoyloxyfucoxanthin |  | 0.0007 |
| Fucoxanthin |  | 0.0007 |
| Neoxanthin |  | 0.0007 |
| Prasinoxanthin |  | 0.0007 |
| Violaxanthin |  | 0.0007 |
| 19'-Hexanoyloxyfucoxanthin |  | 0.0007 |
| Diadinoxanthin |  | 0.0010 |
| Alloxanthin |  | 0.0011 |
| Diatoxanthin |  | 0.0011 |
| Zeaxanthin |  | 0.0011 |
| Lutein |  | 0.0012 |
| Divinyl Chlorophyll b |  | 0.0003 |
| Chlorophyll b |  | 0.0003 |
| TChlb | Chlorophyll b + Divinyl Chlorophyll b | 0.0003 |
| Divinyl Chlorophyll a |  | 0.0004 |
| Chla | Chlorophyll a + allomers + epimers | 0.0004 |
| Tchla | Chlorophyll a + Divinyl Chlorophyll a + sum of Chlorophyllides a | 0.0004 |
| b-Carotene |  | 0.0011 |
| Phaeophytin a |  | 0.0003 |

Size fractions:

Concerning specifically pigment determinations for the three size fractions, a column has been added to the normal database scheme (labelled “Size fraction”). It indicates the name of the corresponding size fraction, as follows:

small: 0.4–2 µm

medium: 2–10 µm

large: > 10 µm

### References for Methodology

Van Heukelem, L. and C. S. Thomas (2001). Computer-assisted high-performance liquid chromatography method development with applications to the isolation and analysis of phytoplankton pigments. Journal of Chromatography A 910: 31-49.