# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter :  Dissolved Rare Earth Elements (REE: La, Ce, Pr, Nd, Sm, Eu, Gd, Tb, Dy, Ho, Er, Tm, Yb, Lu)

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : CTD-rosette

Station number-Cast number :  A3-1 (CTD-005), TNS4 (CTD-012), R2 (CTD-020), E1 (CTD-030), TEW1 (CTD-035), TEW3 (CTD-039,040,041), TEW6 (CTD045), TEW7 (CTD-046), E3 (CTD-055), F_L (CTD-068), G1 (CTD-071,072), G2 (CTD-077), E4_W (CTD-087), A3-2 (CTD-099), E5 (CTD-113, 116)

Seawater samples were collected at the following depths

| STATION | A3-1 | TNS4 | R2 | E1 | TEW1 | TEW3 | TEW6 | TEW7 | E3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sampled depths | 60 | 41 | 41 | 61 | 31 | 101 | 2423 | 41 | 50 |
|  | 152 | 122 | 102 | 102 | 51 | 304 |  | 101 | 106 |
|  | 210 | 203 | 203 | 192 | 71 | 556 |  | 202 | 227 |
|  | 305 | 406 | 508 | 303 |  |  |  | 404 | 404 |
|  | 407 | 761 | 609 | 505 |  |  |  | 606 | 606 |
|  | 508 | 1014 | 812 | 637 |  |  |  | 809 | 810 |
|  |  | 1521 | 1011 | 1010 |  |  |  | 1519 | 1013 |
|  |  | 1805 | 1520 | 1498 |  |  |  | 2523 | 1215 |
|  |  |  | 1831 | 1803 |  |  |  |  | 1519 |
|  |  |  | 2473 | 2042 |  |  |  |  | 1909 |
| STATION | F_L | G1 | G2 | E4_W | A3-2 | E5 |  |  |  |
| Sampled depths | 30 | 305 | 26 | 31 | 51 | 51 |  |  |  |
|  | 107 | 459 | 50 | 52 | 103 | 101 |  |  |  |
|  | 106 | 576 |  | 161 | 151 | 404 |  |  |  |
|  | 304 | 29 |  | 303 | 178 | 606 |  |  |  |
|  | 405 | 151 |  | 607 | 272 | 809 |  |  |  |
|  | 608 |  |  | 809 | 354 | 1012 |  |  |  |
|  | 909 |  |  | 1011 | 354 | 1214 |  |  |  |
|  | 1215 |  |  | 1214 | 405 | 1518 |  |  |  |
|  | 1773 |  |  | 1382 | 455 | 1921 |  |  |  |
|  | 2229 |  |  | 1382 | 511 | 10 |  |  |  |
|  | 2742 |  |  |  |  | 225 |  |  |  |

Operation code : CTD-GEOCHEM,  excepting station TNS4 (CTD-BIOGEO-SHORT) and  G1 and G2 (CTD-RADIUM).

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Projetc Leader: Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :	Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :	Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # Catherine Jeandel | # GEOMAR, LEGOS, Toulouse | # +33.5.61.33.29.33 | # +33.5.61.25.32.05 | # Catherine.Jeandel@legos.obs-mip.fr |
| # Ester Garcia | # GEOMAR, LEGOS, Toulouse | # +33.5.61.33.28.47 | # +33.5.61.25.32.05 | # Ester.Garcia@legos.obs-mip.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling:

A volume of 10 L of seawater were collected from Niskin bottles equipped with teflon coated springs and were immediately filtered onboard through Sartobran 300 (0.2 mm) filtering cartridges. Aliquots of 500 ml bottles for dissolved REE measurements were acidified to pH = 2 with twice-distilled HCl. The samples were stored at room temperature and then transferred to the laboratory on land (LEGOS, Toulouse, France).

Analytical procedure : (briefly, could be a short recall to a published reference):

Could be modified later: The purification and preconcentration of REE were performed following the published methods by (Tachikawa et al. 1999; Lacan and Jeandel 2001). Briefly, the acidified seawater samples were spiked with 150Nd and 172Yb. Then 2.5 mg Fe (dissolved FeCl3) was added. After isotopic equilibration for at least 48 hours, the pH was increased to 7 – 8 by addition of NH4OH, yielding REE-Fe(OH)3 co-precipitation. The precipitate was then extracted by centrifugation and rinsed 3 times with deionized water. An anion exchange column was used to purify the REE from the remaining matrix.

Dissolved Rare Earth Element concentrations have then been measured by Inductively Coupled Plasma Mass Spectrometers (ICP-MS) either by an Agilent 7500 CE or a high resolution Element-XR (using Aridus desolvation introduction system).

All the REEs were determined by the external standard method, whereas Nd and Yb were additionally determined by isotopic dilution. The values obtained for Nd and Yb concentrations by both methods enable us to determine the analytical recovery yields of these two elements in each sample, which typically range between 83-96% for Nd and Yb. Efficiencies of the chemical protocol for the other REE are calculated by linear interpolation. Potential sensibility variations during the measurement session are monitored by In/Re internal standard method so that the final REE concentrations are corrected accordingly.

Units: pmol/L

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Ancillary hydrographic parameters, tracer measurements on particles (filtered on 47mm Supor membranes or ISP filters when done).

Estimated Date of Delivery: second semester 2013

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Could be modified later: Replicate measurements resulted in reproducible concentrations within 1-3 % for all the REE with the exception of Ce (1-12%). Blank values ranged from 0.2 to 2.1 pg for the HREE and from 1 to 20 pg for LREE excepting for cerium (18-46 pg). The external accuracy was assessed by comparison of measurements of the SLRS5 reference material (riverine water, NRC Canada, not certified for REE) with a compilation of analysis performed in the Service d'Analyse des Roches et des Minéraux (SARM, CNRS-CRPG, France). The resulting accuracies averaged 5% from the LREE and 7% for the heavy Yb. Moreover, the measurements have been intercalibrated within the GEOTRACES programme.

### REFERENCES BIBLIOGRAPHIQUES

Lacan F and Jeandel C., 2001. Tracing Papua New Guinea imprint on the central Equatorial Pacific Ocean using neodymium isotopic compositions and Rare Earth Element patterns. Earth Planet. Sci. Lett. 186, 497-512.

Tachikawa K., Jeandel C. and Roy-Barman M., 1999. A new approach to the Nd residence time in the ocean: the role of atmospheric inputs. Earth Planet. Sci. Lett. 170, 433-446.