# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter : Actinium-227 : 227Ac

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : Bouteilles Niskin + Pompe de surface IPEV

Station number-Cast number :

Operation code :

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Projetc Leader: Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :	Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :	Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / phone number | # fax / # fax number | # adresse mél / # email address |
| --- | --- | --- | --- | --- |
| # van Beek | # LEGOS (OMP) | # 05 61 33 30 51 | 05 61 25 32 05 | # vanbeek@legos.obs-mip.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Large-volume samples were collected using either the ship seawater intake (surface samples) or Niskin bottles (vertical profiles). Up to 900 L could be collected for surface samples and circa 260 L (a full rosette for one single sample) were collected to build vertical profiles of Ra isotopes. Seawater samples were then passed through acrylic fibers impregnated with MnO2 (so-called, “Mn fibers”) that retain Ra isotopes and 227Ac.

Analytical procedure : (briefly, could be a short recall to a published reference):

Mn fibers were then analyzed on board using a Radium Delayed Coincidence Counter (RaDeCC; Moore and Arnold, 1996) to determine 223Ra and 224Ra activities and 227Ac.

Units: dpm m-3

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : End 2013

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Counting statistics

### REFERENCES BIBLIOGRAPHIQUES

Geibert, W., Vöge, I., 2008. Progress in the determination of 227Ac in sea water. Marine Chemistry 109, 238-249.

Moore, W.S., Arnold, R., 1996. Measurement of 223Ra and 224Ra in coastal waters using a delayed coincidence counter. J. Geophys. Res. 101, 1321–1329.

Shaw, T.J., Moore, W.S., 2002. Analysis of 227Ac in seawater by delayed coincidence counting. Marine Chemistry 78, 197-203.

van Beek P., Souhaut M., Reyss J-L., 2010. Measuring the radium quartet (226Ra, 228Ra, 224Ra, 223Ra) in water samples using gamma spectrometry, Journal of Environmental Radioactivity, 101, 521–529