# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter :  Isotopic composition of water : 18OH2O

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : Rosette

Operation code : 	CTD (Biogeo)

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Projetc Leader: 	Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :		Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  	Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :		Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / # phone number | # adresse mél / # email address |
| --- | --- | --- | --- |
| # Pierre, C. | # LOCEAN, Paris | # +33(0)1.44.27.51.62 | # catherine.pierre@locean-ipsl.upmc.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Seawater was collected from the Niskin bottles in 25 ml tinted glass bottles.

Analytical procedure : (briefly, could be a short recall to a published reference):

18OH2O samples will be measured at LOCEAN (spring 2013), using a mass spectrometer (ISOPRIME) following the method described by Pierre (1999), based on the CO2–water equilibration method of Epstein and Mayeda (1953).

Units: ‰ (vs. Standard Mean Ocean Water)

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : Summer 2013

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

The analytical precision (2 is 0.01‰ ; the reproducibility varies from 0.02‰ to 0.05‰ (e.g. Archambeau et al., 1998 ; Pierre, 1999).

### REFERENCES BIBLIOGRAPHIQUES

Archambeau, A-S, C. Pierre, A. Poisson, and B. Schauer, 1998. Distributions of oxygen and carbon stable isotopes and CFC-12 in the water masses of the Southern Ocean at 30°E from South Africa to Antarctica: results of the CIVA1 cruise. Journal of Marine Systems, 17 (1-4), 25-38

Epstein, S., and T. Mayeda, 1953. Variation of O18 content of waters from natural sources. Geochimica et Cosmochimica Acta, 4, 213-224.

Pierre, C., 1999. The oxygen and carbon isotope distribution in the Mediterranean water masses. Marine Geology, 153, 41–55.