# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter : Isotopic composition of DIC : 13CDIC

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method : 	Underway

Operation code :

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Projetc Leader: 	Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :		Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  	Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :		Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / # address | # téléphone / # phone number | # adresse mél / # email address |
| --- | --- | --- | --- |
| # Pierre, C. | # LOCEAN, Paris | # +33(0)1.44.27.51.62 | # catherine.pierre@locean-ipsl.upmc.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Surface seawater was collected regularly (every 4-8h) in 125 ml glass bottles and poisoned with 1 ml of saturated solution of HgCl2 for storage.

Analytical procedure : (briefly, could be a short recall to a published reference):

13CDIC samples will be measured at LOCEAN (winter 2013), using a dual inlet-isotopic ratio mass spectrometer (SIRA9-VG), following the method described by Racapé et al. (2010), adapted from Kroopnick (1974).

Units: ‰ (vs. Vienna-Pee Dee Belemnite)

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery : Spring 2013

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

The precision and the reproducibility for this analytical method are respectively close to ± 0.01 ‰ and 0.02‰ (e.g. Vangriesheim et al., 2009; Racapé et al., 2010).

### REFERENCES BIBLIOGRAPHIQUES

Kroopnick, P. 1985. The distribution of 13C of ΣCO2 in the world oceans. Deep-Sea Research, 32 (1), 57-84.

Racapé, V., C. Lo Monaco, N. Metzl, and C. Pierre, 2010. Summer and winter distribution of δ13CDIC in surface waters of the South Indian Ocean (20°S-60°S). Tellus B, 62 (5), 660-673, doi: 10.1111/j.1600-0889.2010.00504.x

Vangriesheim, A., Pierre, C., Aminot, A., Metzl, N., Baurand, F. and co-authors. 2009. The influence of Congo river discharges in the surface and deep layers of the Gulf of Guinea. Deep-Sea Res. II, doi:10.1016/j.dsr2.2009.04.002.