# FICHE  META_INFORMATION_PARAMETRES

# (à remplir par le responsable du paramètre) / (to be filled by the person in charge of the parameter)

### PARAMETRES CONCERNES / Parameters

Name of the Parameter : Phosphate

### OPERATION & CAMPAGNE & PIs / OPERATION & CAMPAIGN&PIs

Sampling method :

22 Niskin bottles-rosette

Station number-Cast number :

| Station number | Cast number |
| --- | --- |
| OISO | 001 ; 002 |
| A3-1 | 004 ; 005 |
| A3-2 | 099 ; 101 ; 102 ; 103 ; 104 ; 105 ; 106 ; 107 ; 108 |
| TNS | 006 ; 007 ; 008 ; 009 ; 010 ; 011 ; 012 ; 013 ; 014 ; 015 |
| R | 016 ; 017 ; 018 ; 020 |
| E1-1 | 023 ; 024 ; 025 ; 026 ; 027 ; 028 ; 030 ; 031 ; 034 |
| E1-2 | 043 |
| E1-3 | 050 ; 051 ; 053 ; 055 |
| E1-4W | 079 ; 081 ; 082 ; 083 ; 084 ; 085 ; 086 ; 087 ; 089 |
| E1-4E | 091 ; 093 ; 094 ; 095 ; 097 |
| E1-5 | 113 ; 114 ; 115 ; 117 |
| E4-W2 | 111 |
| TWE | 035 ; 037 ; 038 ; 039 ; 040 ; 041 ; 042 ; 044 ; 045 ; 046 : 047 |
| NPL-L | 056 ; 057 ; 058 ; 059 ; 060 ; 061 ; 063 ; 064 ; 065 |
| NPF-S | 068 ; 069 |
| GEO-1 | 070 ; 071 ; 072 ; 073 ; 074 ; 075 ; 076 ; 077 |
| IODA-RECOVERY | 120 |

Operation code : CTD

### PROJET  ETUDE / PROJECT TITLE

Campaign  NAME : KEOPS2

Projetc Leader: Stéphane Blain (stephane.blain@obs-banyuls.fr)

Address :	Laboratoire d'Océanographie Microbienne (LOMIC)

UMR 7621 CNRS UPMC

avenue du Fontaulé

66650 Banyuls sur mer

Chief Scientist:  Bernard Queguiner (bernard.queguiner@univ-amu.fr)

Address :	Institut Méditerranéen d'Océanographie

Université d'Aix-Marseille

UMR CNRS 7294/UR IRD 235

Campus de Luminy, case 901

F-13288 Marseille Cedex 09

### RESPONSABLE SCIENTIFIQUE du paramètre / PI of the parameter

| # Nom / name | # adresse / address | téléphone / phone number | # fax / fax number | # adresse mél / email address |
| --- | --- | --- | --- | --- |
| Blain | Laboratoire arago, avenue du fontaulé, 66650 banyuls/mer | 33 (0) 468 887 334 | 33 (0) 468 887 395 | Stephane.blain@obs-banyuls.fr |

### DESCRIPTION DES PARAMETRES /  PARAMETERS DESCRIPTION

# Ce qui a été collecté, mesuré et comment / How was the parameter collected and measured (include references for analytical methods)?

Sampling: Syringes of 50 ml were directly connected to the spigot of the Niskin bottles. The samples were drawn through a 0.45 µm Uptidisc adapted to the syringe. Duplicate samples were collected. One sample was immediately analyzed onboard using the continuous flow autoanalyser (Skalar). The second sample (20 ml) was poisoned with mercuric chloride (HgCl2, 20 mg l-1) and stored in the dark for later analysis.

Reference:

Alain Aminot, Roger Kérouel : Dosage automatique des nutriments dans les eaux marines : méthodes en flux continu. Ed. Ifremer. 2007

Analytical procedure : (briefly, could be a short recall to a published reference):

The absorbance of the blue complex is measured with a spectrophotometer at 820nm. The concentration of the samples is calculated using the slope of the calibration curve. Low nutrient seawater collected after the departure from La Reunion Island is used to prepare the standards and for the baseline. The phosphate concentration of this low nutrient seawater was measured back in Banyuls lab, using deionised water as reference zero nutrient.

Units:  µmol/ l

# Décrire quels types de données sont nécessaires pour vous compléter votre propre jeu de données avant envoi à la base de données, et estimer le délai avant la disponibilité de vos données pour la base de données / Post-cruise data analysis/treatment required, and the time frame for this

Estimated Date of Delivery :

# Estimations des erreurs, précision, sensibilité des données / Error estimates, precision and accuracy of the data

Precision : standard deviation < 1% for ten replicates measured 5 times and 3 replicates measured 15 times during the cruise

Limit of détection : 0.03µmol/l

Accuracy  : Accuracy was determined by measuring certified standard CERTIPUR/Merck during the cruise. For a concentration of 2.1 µmol/l the accuracy was 1.4 %/

REFERENCES BIBLIOGRAPHIQUES

Alain Aminot, Roger Kérouel : Dosage automatique des nutriments dans les eaux marines : méthodes en flux continu. Ed. Ifremer. 2007

Murphy, J. and Riley, J.P., 1962.

A modified single solution method for the determination of phosphate in natural waters,

Anal.Chim.Acta 27, 31-36.